Drycleaner Form DC-06

MONITORING LOG FOR REFRIGERATED CONDENSER (RC)

7/13/98

Make copies of this form for future use.

TEST DATE is the WEEKLY temperature measurement date.

For Washer:

TEMP 1 is the temperature difference between air-perc mixture entering and exiting RC.

OUTLET TEMP (of washer) - INLET TEMP (of washer) = TEMP 1

The thermometer or temperature sensor should measure a range from 0ºC (32ºF) to 48.9ºC

(120ºF) with an accuracy of 1.1ºC (2ºF).  The difference should be greater than or equal to 	11.1ºC (20ºF).

For Dry to Dry, Dryer or Reclaimer:

TEMP 2 is the temperature of air-perc mixture at the outlet of the RC.

The thermometer or temperature sensor should measure up to 7.2ºC (45ºF) with an accuracy of 1.1ºC (2ºF). The temperature should be less than or equal to 7.2ºC (45ºF).

|  | FOR WASHER | FOR DRY TO DRY, DRYER OR RECLAIMER |
| --- | --- | --- |
|  | TEMP, ºC or ºF | TEMP, ºC or ºF |
|  | TEST DATE |

OUTLET

TEMP

INLET

TEMP

TEMP 1

| TEMP 2 |
| --- |
| 1 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 2 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 3 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 4 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 5 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 6 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 7 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 8 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 9 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 10 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 11 | ––––– | ––––– | ––––– | ––––– | ––––– |
| 12 | ––––– | ––––– | ––––– | ––––– | ––––– |

# Text boxes

Minnesota Pollution Control  Agency

Small Business Assisstance Program

1-800-657-3938

(651)282-6143