Notification/Change in Status for Aboveground Storage Tanks

Please type or use black/blue ink and complete all applicable sections as accurately as possible.  If the site has more than 6 tanks, please photocopy this form prior to completion and submit additional sheets as necessary. If you have questions refer to directions or call.

Return the completed and signed form to Attn. Joann Henry at the above address.

UNSIGNED FORMS WILL BE RETURNED.      Please retain a copy for your records.

| A Facility Information |
| --- |
| Tank Location | Tank Owner |
| Site Name | Name |
| Street | Street |
| City | County | City |
| State | Zip | State | Zip |
| Contact Name | Phone | Contact Name | Phone |
| Has the site been registered before? | Yes( No( | Does the site have SPCC plan | Yes( No( |
| Fill in if known | Site # | Major Facility # | Does the facility have a site diagram. | Yes( No( |
| Type of Facility |

Service Station(   Bulk Plant(   Education(   Industry/Manufacturing(   Automotive(   Agricultural Production(   Petroleum Refinery/Terminal(   Transportation( Railroad(   Residence(   Utility(   Gov. Federal(   Gov. State(   Gov. County(   Gov. City(   Food Processing/Storage(   Hospital/Medical /Nursing(   Farm(

| Office Building( Marina/Bait/Resort( Other(__________________________________________ Is this facility located on Native American Lands? Yes( No( |
| --- |
| B. Tank Action | Date | Tank # If unknown assign ( i.e. 1001,1002…) |
|  | DD/MM/YY | # | # | # | # | # | # |
| Site Name/Address Change | ___/___/___ |
| Owner Change | ___/___/___ |
| Substance Stored Change | ___/___/___ | ( | ( | ( | ( | ( | ( |
| Date Installed | ___/___/___ | ( | ( | ( | ( | ( | ( |
| Repaired/Upgraded Tank/Piping | ___/___/___ | ( | ( | ( | ( | ( | ( |
| Removed Tank | ___/___/___ | ( | ( | ( | ( | ( | ( |
| Tank Out of Service | ___/___/___ | ( | ( | ( | ( | ( | ( |
| C. Tank Information |
| 1. Capacity in Gallons (Size of Tank) |
| 2. Substance Stored in Tank? (Gas, Diesel, etc.) |
| 3. Is Tank within 500 ft. of a Class 2 Surface water? | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| 4. Is the Tank Indoors?(check qualification) | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| 5. Is Tank Used for Home Heating? | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| 6. Is Tank Located on a Farm or Used for Noncommercial Residential use? | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| 7. Is Tank and Piping Labeled? | Yes( No( | Yes( N( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| 8. Tank Type |
| Steel | ( | ( | ( | ( | ( | ( |
| Fiberglass/Synthetic/Plastic | ( | ( | ( | ( | ( | ( |
| Stainless Steel | ( | ( | ( | ( | ( | ( |
| Other (please describe) |
| Double-Walled Tank | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| Double-Bottom Tank | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| C. Tank Information Continued | Tank# | Tank# | Tank# | Tank# | Tank# | Tank# |
| 9. Secondary Containment (Dikes) | Side | Bot. | Side | Bot. | Side | Bot. | Side | Bot. | Side | Bot. | Side | Bot. |
| Concrete | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| Steel or Fiberglass | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| Soil (meeting permeability requirements ) | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| Synthetic Membrane | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| Geosynthetic Clay Liner | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| Percent Containment of Tank (i.e. 100%, 110%, etc.) |
| 10. Corrosion Protection |
| Sacrificial Anodes System | ( | ( | ( | ( | ( | ( |
| Impressed Current System | ( | ( | ( | ( | ( | ( |
| Draining Concrete Pad | ( | ( | ( | ( | ( | ( |
| Internal Liner (in accordance w/ API 652 ) | ( | ( | ( | ( | ( | ( |
| Internal Inspection (in accordance w/ API 653) | ( | ( | ( | ( | ( | ( |
| 11. AST Base Material (what is under tank) |
| Concrete Slab or Pad | ( | ( | ( | ( | ( | ( |
| Concrete Ring Wall | ( | ( | ( | ( | ( | ( |
| Asphalt | ( | ( | ( | ( | ( | ( |
| Ground (soils, rock, sand, etc.) | ( | ( | ( | ( | ( | ( |
| Supports (elevated above ground) | ( | ( | ( | ( | ( | ( |
| Impermeable Liner (describe) |
| 12. Overfill Protection |
| High Level Alarm (visible or audible) | ( | ( | ( | ( | ( | ( |
| Automatic Shut-Off | ( | ( | ( | ( | ( | ( |
| Mounted Sight Glass/Gauge (refer to directions) | ( | ( | ( | ( | ( | ( |
| Manual Gauge (refer to directions) | ( | ( | ( | ( | ( | ( |
| 13. Substance Transfer Area |
| Pad | ( | ( | ( | ( | ( | ( |
| Curbed Pad | ( | ( | ( | ( | ( | ( |
| Spill Box | ( | ( | ( | ( | ( | ( |
| Other (please specify) |
| 14. Leak Detection |
| Visual Monitoring (elevated tanks) | ( | ( | ( | ( | ( | ( |
| Interstitial Monitoring (for double-walled tanks) | ( | ( | ( | ( | ( | ( |
| Soil Vapor Monitoring | ( | ( | ( | ( | ( | ( |
| SIR (Statistical Inventory Reconciliation) | ( | ( | ( | ( | ( | ( |
| Monthly Reconciliation | ( | ( | ( | ( | ( | ( |
| D. Piping Information |
| 1. Type of Pipe (steel, flexible, plastic, fiberglass…) |
| 2. Piping Location (aboveground or underground) | Ab( Un( | Ab( Un( | Ab( Un( | Ab( Un( | Ab( Un( | Ab( Un( |
| 3. Double-walled | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( | Yes( No( |
| 4. Corrosion Protection |
| Sacrificial Anodes System | ( | ( | ( | ( | ( | ( |
| Impressed Current System | ( | ( | ( | ( | ( | ( |
| Other (specify in comments box in directions) |
| 5. Pipe Monitoring |
| Tracer Gas | ( | ( | ( | ( | ( | ( |
| Hydrostatic | ( | ( | ( | ( | ( | ( |
| Lock Down Pressures | ( | ( | ( | ( | ( | ( |
| Sump Sensor | ( | ( | ( | ( | ( | ( |
| Other approved method (please specify) |
| E Signature |
| Printed name of owner or authorized representative | Signature of owner or authorized representative | Date |
| I certify under penalty of law that the information submitted is accurate and complete to the best of my knowledge. |

Directions

For Filling Out Aboveground Storage Tank Notification/Change in Status Form

Facility Information.

Fill out site and owner information.  If the site has been registered before please include site number.  For information regarding SPCC plans and if your facility requires one, contact the EPA: 1 (800) 424-9346 or www.epa.gov/oilspil/index.htm.  If the facility has an AST larger than 2000 the facility needs a site diagram.

Tank Action.

Fill in the date and check the box associated with the tank action.

Tank Information.

Fill out the specific tank information and include any additional information in the comments section.

Capacity in gallons.  Fill in the size of the tank in gallons.  Tanks less than 110 gallons are not regulated.

Substance Stored in Tank.  Fill in the box with the substance stored.

3.	Tank is within 500 ft. of a river, lake, pond or stream.  Tanks over 500 gallons within 500 ft. of a Class 2 surface water are required to be: registered, labeled, have secondary containment and a sign at the facility.

4.	Is tank indoors?  To qualify as an indoor tank the tank must be inside a building or enclosed structure resting on or elevated above an impermeable floor surface.  Also to be an indoor tank, a release from the tanks must be entirely contained within a secondary containment structure (i.e. dike or double-walled tank).  Also, a release from the tank must not be able to escape from the building through any doorways, floor drains, or other means.  If a release occurs it must be directed to a drainage system that leads to a permitted onsite or municipal wastewater treatment facility.

5.	Is tank used for home heating?  Farm and residential heating oil tank less than 1,100 gallons do not need to be registered.

6.	Is tank used as farming or noncommercial residential tank?  An aboveground storage tank located on residential property of 1,100 gallons or less capacity used for storing motor fuel for noncommercial purposes is not regulated.  Tanks containing agriculture chemicals regulated by the Department of Agriculture do not need to be registered with the MPCA.

7.	Is tank and piping labeled?

Tanks	Tanks must be clearly labeled indicating the substance stored and the tank's capacity.  If there is more than one tank at a site, each tank must be labeled with a unique tank number.

Lines 	Piping used for loading and unloading a substance from a tank must be labeled so that the person controlling the substance transfer can readily identify which line is connected to which tank.

Signs	A tank facility that does not have a person on site 24 hours a day must have a sign with the name, address, and telephone number of the facility owner, operator, or local emergency response.  The sign must be posted in a conspicuous place and legible from outside any secondary.

8.	Tank Type.  Check the appropriate box if applicable or fill in type in other box.

Secondary Containment (Diking).  Fill out the secondary containment type for dike sides and the bottom (bot.).   Also fill in the percentage of the tank volume that the containment will hold.  ASTs installed before November 1, 1998, or ASTs not exposed to precipitation, must have containment area capacity that is 100 percent of the volume of the largest tank in the containment area.  Also, if these ASTs are exposed to precipitation, they are required to have a total containment area capacity of 110 percent by November 1, 2003.

Corrosion  Protection.  List the corrosion protection method used on the tank.  Tank lining, cathodic protection and internal inspections must be done in accordance with American Petroleum Institute (API) standards 652 and 653.  Concrete pads must be designed to prevent water from accumulation under the tank floor.  Tank liners must be inspected in accordance with the American Petroleum Institute (API) standard 652.

Tanks that do not need additional corrosion protection:  Elevated tanks (only are in contact with the supports), double-walled tanks, double-floored tanks (with a vacuum pull on the interstitial space or an installed cathodic protection system) or indoor tanks.

AST base material.  Describe what the tank is supported by or resting on.

Overfill Protection.  Hi-level alarms must be seen or heard at 95 percent of the tank capacity.  Automatic shut-offs must be set to stop product transfer at no greater than 95 percent of tank capacity.  A sight glass or gauge must be permanently mounted on the tank and visible to the person conducting the transfer.  When using manual gauges, you must use level sticks.  They must be monitored by the person performing the transfer or a person in contact with the person performing the transfer.

Substance Area Transfer Safeguards.  Substance Area Transfer Safeguards must be designed to catch releases that may occur during the transfer of product into or out of the tank.  Safeguards must protect directly beneath and around the house connections of the tank and transfer vehicle.

Tanks that do not need substance area transfer safeguards:

Tanks with a capacity equal to or less than 1,100 gallons, tanks filled with a hand-nozzle, tanks that are filled through a continuous pipeline between tanks on the site or a barge transfer facility regulated by the U.S. Coast Guard.

Leak Detection.

For tanks meeting the 1x10-7 cm/sec permeability requirement

Visual monitoring can be used for:

Elevated tanks

Tanks containing Type A substances on a continuous concrete slab that are impervious to the substance stored:

Tanks containing Type B or Type C substances on a continuous concrete slab

Tanks on containment constructed of fiberglass or fabricated steel.

Interstitial Monitoring

Monitoring between the inner and outer shell of a double-walled tank or tank shell.

Soil vapor monitoring

Vapor monitoring in the soil directly under the tank bottom as well as above the water table.

For tanks not meeting the 1x10-7 cm/sec permeability requirement

SIR    (Statistical Inventory Reconciliation)

Must be MPCA approved

Monthly Reconciliation

Substance measurement must be taken at least every 72 hours and must include transfer.  Any differences of two percent or more in monthly throughput need to be investigated and resolved.

D.	Piping Information

Type.  List the type of piping in the box provided.

Piping location.  Check Ab for aboveground or Un for Underground.

Double-walled.  Is piping double-walled; answer yes or no?

Corrosion Protection.  List the corrosion protection system used on the piping.

Piping Monitoring.  Leak detection on piping must be done annually; please check the appropriate type.

If you have any comments, fill them in the box below and send it in attached to the notification form.

# Footnotes

Type A substances include gasoline, aviation gas, naphtha, denatured ethanol, hazardous materials and mixtures and blends of these substances.

Type B substances include: crude oil, diesel, kerosene, jet fuel, fuel oil types 1-4, waste oil, and mixture and blends of these substances with Type C substance.

Type C substances include asphalt cement, roofing flux, fuel oil types 5 and 6 and other regulated substances.

# Text boxes

For Office Use Only

Site #:

County

Metro District/Regular Facilities, 520 Lafayette Road North, St. Paul, MN  55155

(651) 297-8664 or (800) 657-3864  Fax (651) 282-6247

Comments: