AIR SPARGING PILOT TEST WORKSHEET

Fact Sheet #3.30

April 1996

This completed worksheet provides data collected during a ground water air sparging pilot test, and should be included in the remedial investigation (RI) report for any site where air sparging is proposed.  RI reports proposing air sparging submitted without this worksheet, or with an incomplete worksheet, will be rejected as inadequate. Site specific conditions may prohibit gathering all of the data on this worksheet, but you should obtain prior approval form your Minnesota Pollution Control Agency (MPCA) hyrogeologist for any such omissions.

IMPORTANT: PRIOR TO CONDUCTING AN AIR SPARGING PILOT TEST YOU MUST EVALUATE THE POTENTIAL FOR EXPLOSIVE HAZARDS.  Identify all possible conduits for vapor migration, such as basements, utilities, backfilled areas, etc.  If such conduits exist, vapor monitoring points and/or vapor control measures must be used to identify and prevent vapor impacts.  If control measures or vapor monitoring points were necessary during the pilot test, describe in detail on an attached sheet.

Where attachments are requested, please check off that the item requested has been attached.

MPCA leak ID #_______		Site Name: ___________________________________________

FIGURES

___	Attach a site map showing the location of injection points, monitoring points and all possible vapor migration conduits.

___	Attach a cross section of the proposed sparging area showing major geologic features, contaminant distribution, and location of injection and monitoring points.

___	Attach air injection and monitoring point construction diagrams.

TABLES

___	Complete the attached tables provided.  Attach additional tables if necessary.  These data are to be used in the graphs requested below.

PLOTTING DATA

The following graphs will aid you in optimizing the system design and will aid MPCA staff in evaluating the potential effectiveness and efficiency of your proposed corrective action design (CAD).  Plot graphs on normal/normal graph paper unless noted otherwise.

___	Attach a graph of well head pressure vs. time at the injection point for each step in air flow rate.

___	Attach a graph of pressure (in inches of water) vs. distance from the injection point for each step conducted.  Plot the graph on semi-log paper, using the log scale for pressure.

___	Attach a graph of maximum dissolved oxygen concentration for each step vs. distance from the injection point.

___	Attach a graph of water level rise vs. distance from the injection point for each step conducted.  Note that water level at the air injection point can only be accurately collected from a SEALED well.  Do not collect this data at the air injection point if you cannot adequately seal the air injection well.

NOTES

A -	Conduct the air sparge test as a step test.  Increase the air flow rate in a series of steps to determine the most efficient design parameters.  Conduct at least three steps for each test.  The duration of each test depends on the time it takes for the measured parameters at the monitoring points to reach equilibrium.

B -	Although frequency of data collection is largely based on site specific factors, data collected at 30 minute intervals is normally adequate.

C -	Conduct field screening for hydrocarbons with a Flame Ionization Detector  field instrument or a combination of a Photoionization Detector and Explosimeter (% lower explosive limit).

D -	Collect gas samples for field screening in a Tedlar type gas-bag.

E -	The use of gas tracers may be useful in identifying short circuiting, impacts to utilities and other conduits, and area of influence.  You must obtain approval from the MPCA project hydrogeologist prior to the use of tracers.

F -	If requested information is not available, include an explanation or discuss with the MPCA project hydrogeologist prior to the pilot test.

G -	During final system design, we recommend that you allow for vapor extraction system air removal rates that are at least five times greater than sparge system air injection rates.  This should help to eliminate possible explosive hazards from developing during system operation.

H - Special consideration should be give to sites with iron concentration greater than or equal to 10 mg/l.  Sites with iron concentration equal to 10 mg/l will require periodic maintanence to keep the system running.  Sites with iron concentrations exceeding 20 mg/l may not be conducive to air sparging system unless.

Upon request, this document can be made available in other formats, including Braille, large print and audio tape.  TTY users call 612/282-5332 or Greater Minnesota 1-800/657-3864

Printed on recycled paper containing at least 10 percent fibers from paper recycled by consumers.

TABLE:  AIR INJETION POINT DATA

Air injection point #______

Static Data

Screened interval (feet) _____ to _____

Static Water Level (to 0.1 feet) _____   date ________ time ______

Dissolved oxygen (mg/l) _____  date ______ time ______

Test Data

Time Test Started:______

Time

Air Flow Rate (Standard

Cubic Feet per minute)

Pressure at Well-Head

(inches H2O)

Water Level*

(to 0.1 ft.)

Attach additional sheets if necessary

* Collect water levels only if well is properly sealed.

TABLE:  MONITORING POINT DATA

Monitoring point number ____

(Complete one table for each monitoring point)

Monitoring points may be monitoring wells or specially installed monitoring points.

Static Data

Screened interval (feet) ____ to ____

Distance from injection point (feet) _____

Static water level (to 0.1 feet) ____  date ______ time _____

Dissolved oxygen (mg/l) ______ date ______ time _____ method ______________

Field screening measurement at well-head (ppm) ______ date _____ time ____

Field instrument used (circle one): FID    PID w/ Explosimeter

Static pressure (inches H2O) ______ date _____ time _____

Test Data

Time test started:_____

Time

Dissolved O2

(mg/l)

Water Level

(to 0.1 ft.)

Pressure

| (in. H2O) | FID/PID | LEL | Visual Observations |
| --- | --- | --- | --- |

Attach additional sheets if necessary.