DRAFT GUIDELINES FOR INVESTIGATION OF  GROUND WATER CONTAMINATION AT PETROLEUM RELEASE SITES IN KARST AREAS

Fact sheet #3.42

April 1996

Introduction.

This guidance document outlines procedures and techniques that should be used to implement accurate, reliable, and cost-effective ground water investigations in settings where the hydrogeologic characteristics depart significantly from those of porous media.  Variances from conventional hydrogeologic site characterization practices are necessary in karst areas, because these settings have hydrogeologic features that cannot be characterized by porous media approximations.  There are a  large number of petroleum release sites under technical oversight of the Leaking Underground Storage Tank (LUST) program in the karst region of southeastern Minnesota.  Many of these sites have initially been incompletely characterized by conventional methods, with resulting inadequate monitoring systems, and even failed remedial systems.  By the time the situation at such sites is remedied, it has usually resulted in waste of time and money.  The overall quality of the petroleum release response, both in terms of effectiveness as well as timeliness, is also greatly reduced.  This technical guidance document addresses the basics of characterizing karst hydrogeology and will enable the consulting and regulated communities to produce more cost-effective and technically acceptable ground water investigations at petroleum release sites in the karst areas.

This guidance document is based in part on an adaptation of the American Society for Testing and Materials ( ASTM ) Standard D 5717-95, ‘Standard Guide for Design of Ground-Water Systems in karst and Fractured Bedrock Aquifers’, to the hydrogeologic conditions in Minnesota and the scope of investigations needed at a typical petroleum release site.  This guidance document fills a long-standing need, for specific guidance about how to better protect these  sensitive geologic settings, and aid in efficient utilization of resources by both the state and responsible parties.  Adopting such technical approaches to a specific region of the state also reflects the MPCA's commitment to geographically based strategic management.

This document refers to the scope of ground water investigations in karst areas only.  All other aspects of site characterization and specific ground water investigation techniques not covered here should follow standard LUST technical guidance.

Criteria for applicability of these guidelines to site ground water investigation.

The carbonate bedrock in southeastern Minnesota has been subjected to at least 400 million years of karstification processes.  Consequently, all these formations are karstified, with a wide range in the intensity of the karstification.  This range is very poorly understood, is not established, and is only now beginning to be mapped in the state.  However, this is largely irrelevant to ground water contamination issues, since the presence of even minor solution features can lead to significant deviations from the porous media approximations on which conventional ground water investigations are based.  Essentially, all of the unconfined carbonate bedrock aquifers are karst aquifers and both ground water and contaminant movement is best described and managed under discrete-flow or dual-porosity models.

Figure 1 highlights the southeastern portion of Minnesota underlain by soluble carbonate bedrock of the Ordovician Prairie du Chien Group and stratigraphically higher carbonate formations.  This area is subject to karst processes.  Note that this ‘southeastern portion of Minnesota’ includes all but the northwestern portions of the Twin Cites metro area and extends as far southwest as Mankato and the corner of Martin County.

Figure 2 shows the extent of the latest Wisconsin age glacial ice cover in southeastern Minnesota’s karst lands.  The areas covered by Wisconsin age ice are often, but not always, covered with relatively thick layers of glacially derived sediments.  The sediments cover in areas not covered by Wisconsin ice tend to be thin.  All except the extreme eastern parts of Winona and Houston counties have been glaciated at least once during the Pleistocene.  Even though all of the carbonate bedrock has been subject to karst dissolution and contains karst features, the most visible karst features are concentrated in the areas not covered by Wisconsin ice, and hence these are also the regions of highest susceptibility to ground water contamination. As shown in the figure, this area covers all or parts of the following counties :

Dakota		Goodhue		Rice

Dodge			Houston		Steele

Fillmore		Mower		Wabasha

Freeborn		Olmsted		Winona

Areas lying outside this region of higher sensitivity are also underlain by the same geologic formations, but usually the presence of a significant thickness of glacial till serves to reduce the potential of ground water impact.  For this reason, the application of these guidelines will not be strictly necessary in these areas.  However, exceptions may exist, and if an unconfined carbonate bedrock unit is found to have been impacted, it should be investigated as a karst aquifer.

In the previously listed 12 counties, the following geologic units should be treated as karst aquifers, and the ground water investigations should be based on the guidelines set forth in this document :

GEOLOGIC		APPROXIMATE MAXIMUM		KARST

UNIT			THICKNESS					AQUIFER

______________________________________________________________________________

Cedar Valley			300 feet

Formation

Maquoketa			70 feet					UPPER

Formation								CARBONATE

AQUIFER

Dubuque			35 feet

Formation

Galena			230 feet

Group

----------------------------------------------------------------------------------------------------------------------	Decorah Confining Layer

----------------------------------------------------------------------------------------------------------------------

Platteville			35 feet					PLATTEVILLE AQUIFER

Formation

----------------------------------------------------------------------------------------------------------------------Glenwood Confining Layer

St. Peter Aquifer

----------------------------------------------------------------------------------------------------------------------

Prairie								PRAIRIE DU CHIEN

Du Chien Group		360 feet				AQUIFER

_____________________________________________________________________________

Conducting the ground water investigation.

Many of the  procedures described in the following portion of the document have been field proven at petroleum release sites in southeastern Minnesota, and most are based on the ASTM standards.  Professional judgment may still need to be exercised in selecting the applicable procedures at specific sites.  MPCA staff should be consulted for site specific decisions.  However, in the MPCA’s experience, some of these procedures have proven to be essential for a minimal characterization of a karst site, and the MPCA expects these to be performed at all appropriate sites as part of the remedial investigation ( RI ). Application of further karst specific methods can be decided upon based on the data obtained from these basic procedures.  All these required procedures are marked with an asterisk ( * ), and MPCA staff should be consulted beforehand if it is planned to exclude any of them from the RI.

1.  Evaluating background information on regional geology

* Pre-existing information for the area must be examined and available information compiled and presented. Information commonly available includes, but is not limited to:

- Geologic Maps

- Stratigraphic Cross sections

- Topographic Maps

- Topographic Cross Sections

- Water Table or Potentiometric Maps

- Water Level Records

- Water Quality Records

- Geophysical Logs

- Cave Maps

2.  Conducting the ground water and vapor receptor  survey

* Initially obtain locations for all wells located within a mile radius of the site.  This must be done not only by a search of the computerized County Well Index ( CWI ) database available from the Minnesota Geological Survey ( MGS ), but also by an actual examination of well records available with the MGS.  This is important since the data in the CWI is not always complete.  A field survey to locate properties that may have wells, and contact with the landowners to verify the presence of such wells ( both potable and non-potable ) should also be carried out.

* Ground water discharge points must be located and characterized.  Any receiving surface water bodies also have to be treated as receptors. Any impact, or the potential 	thereof, must be assessed and, if required, mitigated.

* The general receptor survey process as outlined in the appropriate MPCA fact sheet should also be followed along with these additional procedures.

* Use the information about ground water movement obtained by the subsequent site characterization methods described below to identify those receptors that are at particular risk of intercepting contaminant transport from the site. Assess the need to take measures to protect these receptors, and implement suitable steps.

* Information of distribution of conduits in the bedrock unit, and the degree of interconnection of these conduits with the surface or near surface should also be used to evaluate vapor risk to receptors like building structures and utility conduits.

3.    Evaluating site geology

* Field reconnaissance should be completed early in the project to identify features such as bedrock outcrops, open fractures, swallets, sinkholes, caves, and  springs, which offer an insight into the hydrology of the site.

In areas of thin or absent overburden, high-angle fractures and the location of large karst features can be determined from topographic maps and aerial photographs.

Bedrock outcrops should be examined to determine the stratigraphic position of seeps, springs, caves, zones of dissolution, and zones of fracturing.  Determine relationship of shale beds or other low-permeability units to hydrologic features.

In absence of any suitable outcrops, this information can be obtained from core drilling.  In case of inadequate core recovery, or if destructive drilling is used, this information can be obtained with applicable geophysical techniques (such as gamma, resistivity, or conductivity for stratigraphy; and caliper or television for fractures ).

Determine any major structural features that may be present in the formation of interest in the area of the site.  Actual field identification of features such as anticlines, synclines, major joint sets, and faults should be done if possible, or existing geological literature for the area should be studied for this information.

4.   Evaluating basic site hydrogeology

* Record the presence within a radius of at least one mile of the site of karst landforms such as sinkholes, sinking streams, blind valleys, and subsurface karst features such as caves and dissolutionally enlarged joints.

* Variations in water quality parameters : Observe and record at least two (preferably all) of the following, at any nearby wells and natural monitoring points such as springs:  Discharge and hydraulic head, turbidity, specific conductance, pH and temperature.  These measurements must be conducted during, and a week after major recharge events.  If the post-recharge measurements still show significant influence of the event, another measurement should be done a week later to establish the time needed by the aquifer to recover.  This must be done for at least three major recharge events during the initial site characterization.  These must also be measured at all other routine site monitoring events to establish background values, so that comparisons can be made to determine system variability and response times. These measurements must also be conducted at site monitoring wells once they are installed, according to the same schedule as described above.

The elevations of local base-level surface water bodies should be regarded as possible alternate data points for a potentiometric map.  Water levels in monitoring wells should be checked against these, as well as against any nearby wells to screen out any anomalous or non-representative water levels caused by vertical gradients or fracture flow.  Evaluate 	the water table configuration.  For example, ‘stair step’ or ‘v’ patterns versus smooth patterns can yield important information about discrete flow pathways.  Potentiometric maps should be extended significantly beyond property boundaries in order to determine the likely extent and direction of contaminant travel, and to increase the accuracy of the map.

Use the potentiometric surface as a first approximation for delineation of ground water flow directions and basin boundaries.  Can also be confirmed by properly conducted tracer tests.

Determine flow rates and directions from the results of aquifer-scale or site-scale tracer tests.

5.  Establishing the monitoring system

A.  Preferred methods

* Natural monitoring points such as springs, cave streams, and seeps must be incorporated into the monitoring network, as these discharge points intercept flow from a larger area than a monitoring well.

* A select number of samples for background water quality should also be collected at springs, cave streams, and off-site wells that yield water that is geochemically representative of the aquifer.  These upgradient/background monitoring points can even be located in an adjacent ground water basin or surface watershed, since in fractured rock and karst aquifers ground water conduits can cross surface drainage divides.

* When sampling from alternative monitoring points, sample as close to the discharge point as possible.  Spring discharge must be determined during all sampling events, even if only based on a stage height measurement or a relative visual estimate.  Visual parameters (such as turbidity, coloration, iron staining, sheen or odors ) and the standard field parameters (such as temperature, pH, specific conductance ) must also be recorded.

B.  Conventional Methods

* Placement of monitoring wells must be based on the interpretation of data gathered during site characterization.  Well placement and construction should account for the significant fluctuations in water table elevation that are typical of karst aquifers, as well as for the presence of discrete high-permeability zones that may transport the majority of ground water.  The location of high permeability zones should guide the placement of monitoring wells even if this means at considerable distances off-site.  Horizontal zones of high permeability along bedding planes are the most important in carbonate rocks.  If site characterization has identified such zones of enhanced permeability, the wells should be designed to intersect them.  If no such zones could be identified, the well should be cased to the depth where competent rock is encountered and left open below that.  In settings where the matrix blocks also have appreciable porosity, it will be necessary to monitor the blocks as well as the high-permeability zones, since the blocks may function as storage reservoirs for the contaminants.

* Careful records should be maintained of stratigraphic zones where circulation was lost during drilling, where enhanced yields were obtained during well development or aquifer tests, and where open or mud-filled cavities were encountered during drilling.

It is recommended that video logging be used to determine the location and orientation of fractures and conduits to aid in the proper placement of monitoring well screen (s).

* In most karst terranes, substantial flow occurs at the soil bedrock interface and within the subjacent epikarst.  Wells placed across this interface, or within the epikarst may only be intermittently saturated.  However, these wells are likely to intercept the early movement of contaminants from the overlying source.  At least one such well must be placed at or near the source area of contamination, if significant contamination exists in the overburden.

* At most sites, it will be acceptable to install one monitoring well into the aquifer and one epikarst well, both at the source area.  The RI should focus on combining the determination of source area contamination, flow dynamics, and overall risk.  The need for expanding the monitoring well network, and installing remedial systems should be based on this information.

* The hydraulic connection of any additional monitoring wells with the contamination should be verified and demonstrated by hydraulic or tracer tests. ‘Downgradient’ monitoring wells cannot be assumed to intercept flow from the site unless a positive connection from the site to the monitoring point is demonstrated. Tests can be:

(a)  Hydraulic tests:  Packer tests and borehole logging techniques should be used to locate both high-conductivity and low-conductivity zones within the aquifer.  Pumping tests should be used to test the hydraulic connections between the various parts of the system.  Using a pumping well at the source of the contamination, the response of individual monitoring wells to pumping (both rate of response and overall drawdown) should be used to determine connection to the monitoring site.

(b) Tracer tests:  Tracer tests that monitor the presence or absence of tracer at 	monitoring points can also be used for determining flow directions and validating hydraulic connections.  At sites with multiple potential discharge points or receptors, tracer tests should be used to eliminate those points from the monitoring scheme that do not receive the tracer.  Some types of tracer tests are regulated by Minnesota Department of Health, and there also exists the potential of interference with other tracer tests in the area.  For this reason, consult MPCA staff prior to conducting any tracer tests.

Boreholes drilled onsite or offsite to obtain geologic information can be used as environmental boreholes to determine the variations in hydraulic head in the aquifer as well as be used as monitoring points for aquifer tests. If any of these later prove to be capable of providing ground water samples representative of contaminant migration, they can be used as monitoring wells, and classified as such, with the necessary retrofitting.

Drilling methods and well construction techniques should be chosen so as to 	minimize loss of drilling fluids, cuttings, or construction materials to the formation.  Air rotary is preferred, if circulation can be maintained.  Rotary drilling should be conducted 	with over-shot casing to reduce loss of fluids to the formation.

High turbidity, especially after recharge events, are indicators that the well intersects a major conduit.  Such wells will therefore require periodic development and maintenance to remove the accumulated sediments.

6.    Determining aquifer characteristics

The more productive portions of the aquifer can be identified by examining cores and borehole logging data. Packer tests in wells at successively lower depths can also be 	used for estimates of depth of karstification and location of higher permeability zones.

Packers can be used to segregate specific zones within the wells.  Slug tests and single-well pumping tests can then be performed to determine transmission characteristics of different portions of the aquifer. Borehole fluid logging can also help to characterize the producing zones within fractured-rock aquifers.

Surface geophysical methods such as ground-penetrating radar, electromagnetic or electrical resistivity surveys, natural potential ( SP ), microgravity, and seismic can be 	inexpensive and non-destructive means for establishing subsurface features such as depth 	to rock, depth to water table, buried channels, structural features, fracture orientations, areal variations in water quality, and major conduits.  Significant features indicated by surface geophysics can then be used to site borings and wells.

Borehole logging methods such as natural gamma, gamma-gamma, resistivity ( or conductivity ), and spontaneous potential can be used to identify strata and correlate between boreholes.  These can be used to determine water bearing zones within a borehole and for determining hydraulic properties of inclined and horizontal fractures.

Borehole methods such as video, temperature, caliper, acoustic viewer, flow meter, borehole fluid logging, and cross-hole tomography are best suited for locating and characterizing fractures and conduits.

* Any proposed corrective action design for direct remediation of ground water should be based on a thorough characterization of aquifer properties conducted using one or more of the above recommended approaches.

7.    Sampling schedule and frequency

* In order for samples to be representative of the conditions in the karst aquifer, frequency of sampling needs to be selected to reflect the inherent variability rather than at prespecified, fixed intervals as is typically done. Therefore, during the RI the standard quarterly frequency must be supplemented by sampling conducted initially for at least three major recharge events. these should be the same three events used to measure the parameters for determining basic site hydrogeology.  The basic quarterly sampling will be expected to continue, unless specified otherwise by the MPCA, while further recharge event sampling requirements should be decided based on the results of the preliminary three rounds, in consultation with the MPCA.

* Recharge event sampling should consist of a sample taken during the event, and another taken a week after its termination. Again, if the field parameters during the post-recharge sampling show significant ongoing influence of the recharge event, another sample should be taken the following week.  This is the same schedule as the one for measuring the basic hydrogeologic parameters, and should be done during the same site visits.  At the start of a recharge event, it is not possible to know how significant it will be.  At the middle or end, it is too late to collect samples that will characterize its beginning.  Accordingly, it is always necessary to commence sampling at the start of an event.  After the event, the decision to analyze the samples or not can be based on professional judgment and an evaluation of the significance of the event.

8.    Information sources - The following is a general compilation of selected information about karst, as well as specific Minnesota karst areas.  This list includes both published works, as well as individuals and organizations who can be consulted for information about the area in which the site being investigated is located:-

General karst hydrogeology

Alexander, E., Davis, M., and Dalgleish, J. (1986)  Dye tracing through thick unsaturated zones. Proceedings of the 5th International Symposium on Underground Water Tracing, Athens, Instit. of Geol. and Mineral Expl., Athens, Greece, pp. 181-188.

Alexander, E.C., Jr. and Quinlan, James F. (1992)  Practical Tracing of Groundwater with Emphasis on Karst Terranes (A Short Course Manual for the 1992 Geol. Soc. America Meeting) G.S.A., 2 volumes, ~275 pp. [available from 1st author]

ASTM D 5717-95 (1995) Standard Guide for Design of Ground-Water Monitoring Systems in karst and Fractured-Rock Aquifers, Amer. Soc. Testing & Materials, West Conshohocken, PA, 17 p.

Beck, Barry F. & Wilson, William L. (eds.) (1987)  Karst Hydrogeology: Engineering and Environmental Applications; Proceedings of the Second Multidisciplinary Conference on Sinkholes and the Environmental Impacts of Karst, Orlando, Florida, 9-11 February, 1987, Balkema, Rotterdam, 467 p

Beck, Barry F. (ed.) (1984) Sinkholes:  Their Geology, Engineering and Environmental Impact; Proceedings of  the First Multidisciplinary Conference on Sinkholes Orlando, Florida, 15-17 October, 1984, Balkema, Rotterdam,429 p.

Beck, Barry F. (ed.) (1989) Engineering and Environmental Impacts of  Sinkholes and Karst; Proceedings of the Third Multidisciplinary Conference on Sinkholes and the Engineering and Environmental Impacts of Karst, St. Petersburg Beach, Florida, 2-4 October, 1989, Balkema, Rotterdam, 384 p.

Beck, Barry F. (ed.) (1993)  Applied Karst Geology; Proceedings of the Fourth Multidisciplinary Conference on Sinkholes and the Engineering and Environmental Impacts of Karst, Panama City, Florida, 25-27 January, 1993, Balkema, Rotterdam, 295 p.

Beck, Barry F. (ed.) (1995) Karst Geohazards:  Engineering and Environmental Problems in Karst Terrane; Proceedings of the Fifth Multidisciplinary Conference on Sinkholes and the Engineering and Environmental Impacts of Karst, Gatlinburg, Tenn., 2-5 April, 1995, Balkema, Rotterdam, 295 p.

Ford, Derek and Williams, Paul (1989) Karst Geomorphology and Hydrology, Chapman and Hall, London, 601 p.

Kingston, S.P., Contamination of Water Supplies in Limestone Formation, Journal of the American Water Works Association, Vol.35, No. 11, November 1943.

Magner, J.A., Book, P.R., and Alexander, E.C.Jr. (1986)  A Waste Treatment/Disposal Site Evaluation Process for Areas Underlain by Carbonate Aquifers.  Ground Water Monitoring Review, v. 6, no. 2, pp. 117-121.

NGWA/USEPA (1991) Proceedings of the Third Conference on Hydrogeology, Ecology, Monitoring and Management of Ground Waters in Karst Terranes, December 4-6, 1991, Nashville, Tenn., National Ground Water Association, Dublin, Ohio, 793 p.

NWWA (1986) Proceedings of the Environmental Problems in Karst Terranes and Their Solutions Conference, October 28-30, 1986, Bowling Green, Kentucky, National Water Well Association, Dublin, Ohio, 525 p.

NWWA (1988) Proceedings of the Second Environmental Problems in Karst Terranes and Their Solutions Conference, November 16-18, 1988, Nashville, Tenn., National Water Well Association, Dublin, Ohio, 441 p.

Quinlan, J.F. and Alexander, E.C., Jr. (1987)  How often should samples be taken if relevant locations are to reliably monitor for pollutants from an agricultural, waste disposal, or spill site in a karst terrane?  A first approximation.  in: (Beck, B.F. and Wilson, W.L. eds.)Karst Hydrogeology:  Engineering and Environmental Applications, A.A. Balkema, Rotterdam, pp. 277-286.

Quinlan, James F., Peter L. Smart, Geary M. Schindel, E. C. Alexander, Jr., Alan J. Edwards and A. Richard Smith (1992)  Recommended Administrative/Regulatory Definition of Karst Aquifers, Principles for classification of carbonate Aquifers, Practical Evaluation of Vulnerability of Karst Aquifers, and Determination of Optimum Sampling Frequency at Springs.  in: (Quinlan, J. and Stanley, A., eds.) Proceedings of 3rd Conference on Hydrogeology, Ecology, Monitoring and Management of Ground Water in Karst Terranes. Nashville, TN, Dec. 4-6, 1991.  NGWA, Dublin, Ohio, pp. 573-635.

White, William B. (1988) Geomorphology and Hydrology of Karst Terrains, Oxford Univ. Press, New York, 464 p.

Minnesota karst literature

Alexander, E. Calvin, Jr. (1989)  Karst hydrogeology and the nature of reality:  The Minnesota experience.  Distributed by the NWWA, Dublin, Ohio, 63 pp.

Alexander, E. Calvin, Jr. and Richard Lively (1995)  Karst hydrogeology in: Geological Atlas of Fillmore County, Minnesota, County Atlas Series, Atlas C-8, Part B, Minn. Dept. of Natural Resources, St. Paul.

Alexander, E. Calvin, Jr., and Maki, Geri L. (1988)  Sinkholes and Sinkhole Probability, Plate 7, Balaban, N.H., (ed)., Geologic Atlas Olmsted County, Minnesota.  Minn. Geol. Survey, St. Paul, Minnesota.  (1 to 100,000 scale map with text.)

Alexander, E. Calvin, Jr., Jeffrey A. Green, Scott C. Alexander and Ronald C. Spong (1995) Springsheds. Plate 9 in Geological Atlas of Fillmore County, Minnesota, County Atlas Series, Atlas C-8, Part B, Minn. Dept. of Natural Resources, St. Paul.

Alexander, E.C., Jr. (1985)  Karst in the Upper Mississippi Valley.  Program Abstracts and Field Guide to "Pleistocene Geology and Evolution of the Upper Mississippi Valley" Aug. 13-16, 1985, Winona, MN, pp. 3-4.

Alexander, E.C., Jr. (1987)  Karst Hydrogeology of southeastern Minnesota. in: (Balaban, N.H., ed.) Field Trip Guidebook for the Upper  Mississippi Valley, Minnesota, Iowa, and Wisconsin. Minn. Geol. Sur. Guidebook Series No. 15, pp. 1-22.

Alexander, E.C., Jr. (ed.) (l980)  An Introduction to Caves of Minnesota, Iowa and Wisconsin: Guidebook for the l980 National Speleological Society Convention (NSS Convention Guidebook #2l). 190 pp + v + 5 maps in pocket.

Dalgleish, J. and Alexander, E.C., Jr. (1984)  Sinkhole distribution in Winona County, Minnesota.  in: Beck, B. (editor) Sinkholes:  Their Geology, Engineering and Environmental Impact, A.A. Balkema, Rotterdam, The Netherlands, pp. 79-85.

Dalgleish, J. and Alexander, E.C., Jr. (1984)  Sinkholes and Sinkhole Probability, Plate 5, Balaban, N.H. and Olsen, B.M., eds., Geologic Atlas of Winona County:  Minn. Geol. Survey, St. Paul, Minnesota (1 to 100,000 scale map with text).

Green, Jeffrey A.; Alexander, Scott C., and Alexander, E.Calvin Jr. (1996)  The Leroy Minnesota Karst Area. GSA Abstracts with Programs, Vol.28, No.6, April 1996.

Hedges, J. and Alexander, E.C., Jr. (1985)  Karst-related features of the Upper Mississippi Valley Region.  Studies in Speleology, v. 6, pp. 41-49.

Magdalene, Suzanne and E. Calvin Alexander, Jr. (1995)  Sinkhole distribution in Winona County, Minnesota revisited. in: (Beck, Barry F. and Felicity M. Person, eds.) Karst Geohazards, Proceedings of the Fifth Multidisciplinary Conference on Sinkholes and the Engineering and Environmental Impact of Karst, Gatlinburg, Tenn., 2-5 April, 1995, A.A. Balkema, Rotterdam, pp. 43-51.

Mohring, E. and Alexander, E. (1986)  Quantitative tracing of karst groundwater flow: Southeastern Minnesota, North Central, U.S.A. Proceedings of the 5th International Symposium on Underground Water Tracing, Athens, Instit. of Geol. and Mineral Expl., Athens, Greece, pp. 215-227.

St. Ores, J., Alexander, E.C., Jr., and Halsey, C.F. (1982)  Groundwater pollution prevention in Southeast Minnesota's Karst region. Extension Bulletin 465-l982, Ag. Ext. Ser., Univ. of Minn. l8 pp.

Witthuhn, Kate and E. Calvin Alexander, Jr. (1995)  Sinkholes and Sinkhole Probability. Plate 8 in Geological Atlas of Fillmore County, Minnesota, County Atlas Series, Atlas C-8, Part B, Minn. Dept. of Natural Resources, St. Paul.

Resource Organizations

Department of Geology & Geophysics			Minnesota Department of Natural Resources

University of Minnesota					Division of Waters

Minneapolis. MN						South East Region

( Contact:  Dr. Calvin Alexander )				Rochester, MN

(Contact:  Jeff Green)

Department of Geology					Minnesota Pollution Control Agency

Winona State University					South East Regional Office

Winona. MN						Rochester, MN

( Contact : Dr. Nancy Jannik ) 				(Contacts:  Sandeep Burman, David Morrison)

Upon request, this document can be made available in other formats, including Braille, large print and audio tape.  TTY users call 612/282-5332 or Greater Minnesota 1-800-657-3864 (voice/TTY).

Printed on recycled paper containing at least 10 percent fibers from paper recycled by consumers.