Spills and Leaks Reporting

Fact Sheet #3.2

April  1996

Minn. Stat. § 115.061 which has been in effect since 1969, describes the duty of people to notify the Minnesota Pollution Control Agency (MPCA) of spills and leaks.

116.061 Duty to Notify and Avoid Water Pollution

(a)   Except as provided in paragraph (b), it is the duty of every person to notify the agency immediately of the discharge, accidental or otherwise, of any substance or material under its control which, if not recovered, may cause pollution of waters of the state, and the responsible person shall recover as rapidly and thoroughly as possible such substance or material and take immediately such other action as may be reasonably possible to minimize or abate pollution of waters of the state caused thereby.

(b)   Notification is not required under paragraph (a)for a discharge of five gallons or less of petroleum, as defined in section 115C.02, subdivision 10.  This paragraph does not affect the other requirements of paragraph (a).

The law provides penalties of up to $10,000 per day for violations.

To Report a Spill or Leak Call:

612/649-5451  or  800/422-0798

The Minnesota Department of Public Safety, Division of Emergency Management operates a    24-hour State Duty Officer service establishing a one call system for all state reporting requirements.  The Duty Officers record all pertinent information and then make the appropriate notifications to the state agencies.  Reportable spills should be directed to the State Duty Officer.

Report:

Spills of toxic, flammable, corrosive, and otherwise dangerous industrial chemicals.  Also report spills of environmentally damaging materials including milk, coal, animal parts, batteries, etc.

Reportable Quantity:

Minnesota has a five gallon minimum quantity for reporting petroleum spills.  Spills of all other chemicals or materials, any quantity is reportable.  If in doubt report.

Spills and Leaks Reporting

Page 2

April 1996

Who is required to report?

EVERY PERSON who has “any substance or material under its control.”

This includes:

*Property owners who discover contamination.

*Individuals, partnerships, companies, corporations.

*Governmental subdivisions, including officers of these entities.

*Owners of substances being stored or transported by another company.

*Contractors that are in physical control of a discharged substance.

Sometimes a fire department, police agency or other local or state agency responds to a spill or leak and they choose to report the incident to the MPCA.  In some circumstances, such a report by them may be required.  However, in no case does a report from someone else stand in lieu of your responsibility to report to the MPCA if a substance is in your control.

Be aware that there may be other reporting requirements imposed by local ordinances, state or federal law, or permits.  Understanding all reporting requirements is the responsibility of those who handle substances which can pollute.

For more information on spill prevention, cleanup and disposal call MPCA at 
612/296-6300 or 800/657-3864 and ask for a member of the Emergency Response Team for more information.

This document can be made available in other formats, including Braille, large print and audio tape.

TTY users call 612/282-5332 or 800/657-3864 (voice/TTY).

Printed on recycled paper containing at least 10 percent fibers from paper recycled by consumers.