Investigation Report Form

Fact Sheet #3.24

=====================================================================

Complete this form to document remedial investigation (RI) activities, including Limited Site Investigations (LSIs) and full RIs. Do not revise or delete any text or questions from this report form.  Include any additional information that is important for making a site cleanup decision.  If only a LSI is necessary, you may skip Section 6 and Section 7 of this report form.

Refer to Minnesota Pollution Control Agency  (MPCA) fact sheet 3.1 Leaking Underground Storage Tank Program for the overall RI objectives, and to other MPCA fact sheets for details on investigation methods.  When a tank has been excavated, refer to fact sheets 3.6 Excavation of Petroleum Contaminated Soil During Tank Removal and 3.7 Excavation Report Worksheet for Petroleum Release Sites for reporting requirements.  Document the occurrence of free product using fact sheet 3.3 Free Product: Evaluation and Recover, and fact sheet 3.4 Free Product Recovery Report Worksheet.

=====================================================================

MPCA Site ID: Leak:	 000     	 Date:

Responsible Party:      	R.P. phone #:

Consultant:          Consultant phone #:

Facility Name:

Facility Address:       City:

County:        Zip Code:

Site location: The required coordinate scheme for reporting site location is Universal Transverse Mercator (UTM), Extended Zone 15, 1983 North American Datum (NAD83). Refer to http://www.ot.state.mn.us/ot_files/handbook/standard/std17-1.html for Minnesota spatial data standards, or http://mac.usgs.gov/mac/isb/pubs/factsheets/fs15799.html for more information about UTM Coordinates.

X coordinate (Easting)       meters

Y coordinate (Northing)        meters

What feature does the coordinate represent?  (i.e. center of parcel, approximate center of source area, etc.  Please describe)

What method was used to determine the coordinate?  (i.e. GPS receiver, map interpolation, address matching, etc.  Please describe)

If a paper map, digital map, aerial photo or digital orthophotoquad was used to find the site location, please provide the scale of the map or photo (i.e. 1:24,000, etc.)

Section 1: Emergency and High Priority Sites

| 1. Is an existing drinking water well impacted or likely to be impacted within a two-year travel time? | YesNo |
| --- | --- |
| 2. Are there existing vapor impacts? | YesNo |
| 3. Is there an existing surface water impact as indicated by 1) a product sheen on the surface water or 2) a product sheen or volatile organic compounds in the part per million (ppm) range in ground water in a well located close to the surface water. | YesNo |
| 4. Has the release occurred in the last 30 days? | YesNo |
| 5. Has free product been detected at the site? If YES, attach fact sheet 3.4 Free Product Recovery Report Worksheet. | YesNo |
| 6. Is sand or gravel aquifer impacted which is tapped by water wells within or potentially within 500 feet from the release source or does impacted soil overlie a geologically sensitive area? If YES, explain: | YesNo |

If you answered YES to any of questions 1 through 6 above describe below the actions taken to date to reduce or eliminate the risk posed by the release.

Section 2: Site and Release Information

2.1  Attach Table 1 - Tank Information.  Describe the status of the other components of the tank system(s), (i.e., piping and dispensers).

2.2a  Describe the land use and pertinent geographic features within 1,000 feet of the site.

2.2b  List other potential leak sources within 500 feet of the site.

2.3  Identify and describe the source or suspected source(s) of the release.

2.4  What was the volume of the release? (if known):       gallons

2.5  When did the release occur? (if known):

Section 3: Excavated Soil Information

  - Include the Fact Sheet 3.7 Excavation Report Worksheet in Appendix A

3.2  Was soil excavated for off-site treatment? YesNo

Date excavated:

Volume removed:      cubic yards

3.3 Indicate soil treatment type:		land treatment

thermal treatment

composting/biopiling

other (     )

Name and location of treatment facility:

Section 4:  Extent and Magnitude of Soil Contamination

| 4.1 Were soil borings conducted in or immediately adjacent to all likely source areas, sources including: dispensers, underground storage tank basins, above ground storage tank areas, piping, remote fill pipes, and known spill areas | YES NO YES NO NOT PRESENT yes no not present yes no not present yes no not present yes no not present yes no not present |
| --- | --- |
| 4.2 To adequately define the vertical extent of contamination, soil borings should be completed at least five feet below the water table or ten feet below the deepest measurable (field screening and visual observation) contamination, whichever is deeper. Were all soil borings completed to the required depth? | YES NO |
| 4.3 To adequately evaluate site stratigraphy complete at least one boring to 20 feet below the water table, or to 20 feet below the deepest site contamination, whichever is deeper. If a confining layer is present, drill the boring in an uncontaminated area. Was this done? | YES NO |

If you answered NO to any of  the three previous questions, explain why the borings were not conducted in the required locations or to the required depths (see fact sheet #3.19, Soil and Ground Water Investigations Performed During Remedial Investigations regarding exceptions and MPCA approval for depth of drilling):

4.4  Indicate the drilling method:	hollow-stem auger

sonic drilling

push probes

other      .

Note: MPCA staff hydrologist approval is required before use of flight augers

  - Discuss soil borings drilled and provide rationale for their locations.  Attach boring logs in Appendix D.

  - Attach Table 2 - Results of Soil Headspace Screening,  In Appendix C, discuss soil headspace screening method and describe any deviation from recommended and/or required methods and procedures.

  - Attach Table 3 - Analytical Results of Soil Samples.  Provide analytical results in Appendix B.  In Appendix C, discuss soil sampling and analytical methods used and describe any deviation from recommended and/or required methods and procedures

  - Describe the vertical and horizontal extent and magnitude of soil contamination. Provide a plan-view map and two cross-sections that illustrate both soil head space and laboratory analytical results. See Section 13.

  - Attach Table 4 - Other Contaminants Detected in Soils (Petroleum or Non-petroleum Derived).  Discuss the possible sources of these compounds.

| 4.10 Is contaminated soil in contact with ground water? | Yes No |
| --- | --- |

If YES or if ground water contamination appears likely, then complete Section 5.

| If NO (contaminated soil is not in contact with ground water), what is the distance separating the deepest contamination from the surface of the water table? Was this distance measured during site activities, referenced from geologic information, or estimated based on professional opinion during a site visit? | feet |
| --- | --- |

  - Describe observations of any evidence of a fluctuating water table and a seasonal high water table (e.g., mottling).  Also, from other sources of information describe the range of natural water table fluctuations in the area.

| 4.12 In your judgment, is there a sufficient distance separating the petroleum contaminated soil (or an impacted non- aquifer) from the underlying aquifer to prevent petroleum contamination of the aquifer? Please explain in detail. In your explanation, consider the data and information of this section as well as the nature of the petroleum release (i.e., volume, when it occurred, petroleum product). | Yes No |
| --- | --- |

If YES, a ground water contamination assessment is not necessary as part of the LSI.

If NO, a ground water contamination assessment is necessary.  Complete Section 5.

Section 5:  Aquifer Characteristics/Ground Water Contamination 				Assessment

Complete Section 5 if groundwater has been contaminated or may become contaminated.  Aquifer determination is made during the LSI.  It is based upon the stratigraphy and a hydraulic conductivity measurement calculated from grain size distribution analysis.  The site stratigraphy gives the context within which the hydraulic conductivity measurement can be interpreted.  Please refer to Fact Sheet 3.19, Soil and Ground Water Investigations Performed During Remedial Investigations for methods and requirements.

5.1  Provide an average hydraulic conductivity value (K) measured:

K =     ft/day

Indicate the method of measurement (i.e., Hazen, Masch and Denny, Kozeny-Carmen, etc.):

Grain-size distribution approximations by       method(s).

Indicate the locations and depths of soil samples submitted for grain size analyses.  Provide the results of grain size analyses and other information used for the determination of K-values in Appendix F.

  - Calculate a range for aquifer transmissivity (T) using the equation T = Kb, where b is the thickness of the aquifer:

THigh =        ft2/day

TLow =        ft2/day

Determine the aquifer thickness (b) from geologic logs of soil borings, water well logs, and available published information.  Attach water well logs in Appendix D. If the transmissivity of a contaminated hydrogeologic unit is greater than 50 ft2/day, it is considered an aquifer (for the purpose of the LUST program), and monitoring wells will be necessary.

  - Discuss in detail the site geology and stratigraphy, including a discussion of local and regional hydrogeology, using soil boring data and cross sections, geologic logs of near-by water wells, and available published information.

  - Attach Table 5- Water Level Measurements and Depths of Water Samples Collected from Borings.  Indicate the method used to measure the water levels in borings, and the depth water samples were collected from borings.  Allow water levels in borings to equilibrate to static conditions, and the adjust the effective screened intervals in borings to intercept the static water table prior to water sample collection.  Discuss groundwater flow direction.

  - Attach Table 6 - Analytical Results of Water Samples Collected from Borings.  Summarize the analytical results of groundwater samples collected as part of an LSI.  Discuss the extent and magnitude of groundwater contamination.  Also provide a discussion on QA/QC, including information on the samples collected and laboratory analyses performed.

  - Attach Table 7 - Other Contaminants Detected in Water Samples Collected from Borings (Petroleum or Non-petroleum Derived).  Discuss the possible sources of these contaminants and provide a discussion of QA/QC information.

  - Laboratory certification number:

Additional Ground Water Investigation

Complete Section 6 only if: 1) an aquifer has been impacted at or above Minnesota Department of Health HRLs, 2) an aquifer has been impacted below the HRLs, but the levels are likely to reach the HRLs, or 3) there is an insufficient distance separating the petroleum contaminated soil (or an impacted non- aquifer) from the underlying aquifer.  Complete Section 7 only if remediation is anticipated.  Regardless of whether you are submitting a LSI or a full RI, all sections following Section 7 must be completed.

Section 6.	Extent and Magnitude of Ground Water Contamination

  - Discuss drilling and installation of wells, including the rationale for their locations.  Attach boring logs in Appendix D.

  - Attach Table 8 - Monitoring Well Completion Information.

  - Attach Table 9 - Summary of Water Levels Measured in Wells.

  - Attach Table 10 - Analytical Results of Water Samples Collected from Wells.  Indicate here whether samples were purged or unpurged (see fact sheet 3.23).  If purged, indicate purging method.

  - Attach Table 11 - Other Contaminants Detected in Water Samples Collected from Wells (Petroleum or Non-Petroleum Derived).  Indicate here whether samples were purged or unpurged (see fact sheet 3.23).  If purged, indicate purging method.

  - Describe the extent and magnitude of the ground water contamination.  Discuss the presence of non-petroleum compounds, if detected, and identify possible sources of these compounds.  Also provide a discussion on QA/QC, including information on the samples collected and laboratory analyses performed.

| 6.7 Is there a clean or nearly clean (below HRLs) down-gradient monitoring well located along the longitudinal axis of the contaminant plume? (approximately 20 degrees plus or minus the axis) | YesNo |
| --- | --- |
| 6.8 Is there a worst case well completed through the source area(s) of the release? | YesNo |

If you have answered NO to any of  the above two questions, please explain why a well was not completed in the required location.

| 6.9 Provide an estimate of the longitudinal length of the dissolved contaminant plume: | feet |
| --- | --- |

6.10  Calculate groundwater flow velocity (based on Darcy's Law) using the average K-value, average horizontal hydraulic gradient, and effective porosity.  Provide documentation in Appendix F.

Hydraulic Conductivity (K) =       Method

Porosity (n) =        method/reference

Average horizontal gradient (dh/dl) =

Calculated GW velocity (v) =       cm/s       ft/day

| 6.11 Using the calculated groundwater flow velocity (above), is there a receptor within a five-year travel time? | YesNo |
| --- | --- |

If YES, provide the unique well number and identify the location of the receptor(s).

| 6.12 Were any deep monitoring wells completed at the site? | YesNo |
| --- | --- |

If YES, list them and indicate their depths:

Contact the MPCA project hydrologist before installing a deep monitoring well.  A deep monitoring well may be necessary if: 1) Contamination exists more than 10 feet below the water table or 2) the impacted aquifer is a drinking water aquifer or is hydraulically connected to the aquifer(s) presently utilized by a water supply well located within 500 feet of the release source.

If contamination is present at depth in the aquifer or in deeper aquifers, additional deep wells may be required.  Provide the following information if deep wells are installed:

| Vertical Gradient (dv/dl) |  |
| --- | --- |
| Inferred GW Flow Direction |  |
| Provide the following information for the deep aquifer unit if it appears to be hydrogeologically distinct from the upper unit. |
| Porosity (n): |  |
| Hydraulic Conductivity (K) |  |

Submit this RI report after completing a minimum of two quarterly sampling events.  Groundwater monitoring should continue until MPCA response is received.

Section 7: Evaluation of Natural Attenuation

Refer to the fact sheet #3.21 Assessment of Natural Attenuation at Petroleum Release Sites.  Note:  Evaluation of natural attenuation is not required unless requested by MPCA staff.

7.1  Attach Table 12 - Natural Attenuation Parameters.  Discuss the results.  Specifically, compare the concentrations of the inorganic parameters inside and outside the plume.

| 7.2 In your judgment, is natural biodegradation occurring at this site? Please Explain. | YesNo |
| --- | --- |

If active remediation is anticipated, discuss reasons why natural attenuation (including biodegradation) can not adequately remediate the contaminants to acceptable risk levels.

Section 8:  Well Receptor Information/Assessment

Include in Appendix E, copies of the water supply well logs obtained from MGS, MDH, drillers, and where applicable, from County well management authorities.

8.1  Attach Table 13 - Properties Located Within 500 Feet of the Release Source.  Provide a map identifying the features listed in Table 13.

| 8.2 Were all property owners within 500 feet of the release source successfully contacted to determine if water wells are present? If NO, please explain. | YesNo |
| --- | --- |

  - Attach Table 14 - Water Supply Wells Located within 500 Feet of the Release Source and Municipal or Industrial Wells Within ½ Mile.

  - Discuss the results of the ground water receptor survey and any analytical results from sampling conducted at nearby water wells.  Comment on the risks to water supply wells identified within 500 feet from the release source as well as the risk posed by or to any municipal or industrial wells found within ½ mile.  Specifically indicate whether water supply wells identified utilize the impacted aquifer.  (Note: an impacted aquifer separated from another aquifer by a clay lens may not be considered a separate aquifer).

| 8.5 Is municipal water available in the area? | YesNo |
| --- | --- |

| 8.6 Are there any plans for ground water development in the impacted aquifer within 1/2 mile of the site, or one mile down-gradient of the site if the aquifer is fractured? Please give the name, title and telephone number of the person that was contacted for this information (below). | YesNo |
| --- | --- |

Telephone

Section 9:  Surface Water Risk Assessment

| 9.1 Are there any surface waters or wetlands located within ¼ mile of the site? | YesNo |
| --- | --- |

If YES, list them:_________________________________________________________

| 9.2 If surface water is present down-gradient of the site, is there a clean down-gradient monitoring well (temporary or permanent) located between the site and the surface water? | YES NO N/A |
| --- | --- |

9.3  If you answered NO to question 9.2, we assume that contamination discharges to surface water.  Therefore, complete the following information:

| Name of receiving water: |  |
| --- | --- |
| Receiving water classification |  |
| ORVW? | YesNo |
| Plume width, (W): | feet |
| Plume thickness, (H): | feet |
| Hydraulic conductivity, (K): | gal/day/ft2 |
| Horizontal gradient, (dh/dl): | (unitless) |
| Discharge, (Q) = H*W*K*(dh/dl)/1440 | gal/min |
| Applicable chronic standard (7050 or 7052) |  |
| Applicable max. standard (7050 or 7052) |  |
| Applicable FAV (7050 or 7052) |  |
| Contaminant concentration in ground water |  |

9.4  If you answered YES to question 9.2, identify the clean down-gradient boring or monitoring well, the distance to the surface water feature, and discuss the contamination risk potential.

Section 10:  Vapor Risk Assessment/Survey

| 10.1 Is there a history of vapor impacts in the vicinity of the site ? | YesNo |
| --- | --- |

If YES, describe:

| Is there any indication that free product or contaminated ground water may be traveling off-site within the utility corridors? | YesNo |
| --- | --- |
| If YES, utility backfill investigation is required (refer to Fact Sheet 3.19). Discuss the investigation rationale and results. |

  - Discuss the potential for vapor migration/accumulation near the site.  Your discussion should consider: Soil types, product type, presence and distribution of free product or high concentrations of dissolved product.  Also, using cross-sections to illustrate the relationship, compare the depth of contamination with the location of underground utility lines, location and depth of storm and sanitary sewers, and location of nearby basements and sumps.

  - Conduct a vapor survey if the vapor risk assessment indicated a risk of vapor impacts to buildings or utilities.  Ask occupants of nearby buildings if they have smelled petroleum odors.  See fact sheet 3.20 Potential Receptor Surveys and Risk Evaluation Procedures at Petroleum Release Sites.  Identify all vapor monitoring locations on an attached site map by labeling each monitoring location with a number.  Tabulate the list of vapor monitoring locations in Table 15.  Vapor monitoring methods, including instruments used, must be discussed in Appendix C.  Provide a detailed description of each vapor monitoring location and an interpretation of the vapor monitoring results below.

  - Attach Table 15 - Results of Vapor Monitoring.

Section 11:  Discussion

11.1  Discuss the risks associated with the remaining soil contamination:

11.2  Discuss the risks associated with the impacted ground water:

11.3  Discuss other concerns not mentioned above:

# Section 12: Conclusions and Recommendations

12.1  Recommendation for site:		site closure

additional vapor monitoring

additional ground water monitoring

active remediation

  - Base the recommendation above on fact sheet #3.1 Leaking Underground Storage Tank Program.  Describe below how you applied the policy to support your recommendation.  If closure is recommended, please summarize significant site investigative events and describe how site specific risk issues have been adequately addressed or minimized to acceptable low risk levels.

  - If additional monitoring is recommended, indicate the proposed monitoring schedule and frequency.  Conduct quarterly monitoring until the MPCA responds to this report.

  - If active remediation is proposed, then recommend a conceptual approach by listing the remedial technologies or combination of technologies that are likely feasible.  MPCA staff will review this RI report at a higher than normal priority to determine if active remediation is required.  We will respond with either a request for proposal for additional monitoring or a Corrective Action Design report.

Section 13: Figures

Attach the following figures in order of discussion in the text:

|  | Site location map using a U.S. Geological Survey 7.5 minute quadrangle map. |
| --- | --- |
|  | One or more site map showing: Structures Locations and depths of on-site buried utilities All past and present petroleum storage tanks, piping, and dispensers Extent of soil excavation Boring and well locations (including any drinking water wells on site) Horizontal extent of soil contamination Horizontal extent of ground water contamination Location of end points for all geologic cross sections. Distinguish sequential elements of investigations by dates, symbols, etc. in the key. |
|  | Ground water gradient contour maps (for sites with monitoring wells) for each gauging event. |
|  | Well receptor survey map showing 1/2 mile radius, 500 foot radius, water supply wells, other potential sources of contamination, using a U.S. Geological Survey 7.5 minute quadrangle. |
|  | Vapor survey map showing utilities and buildings with basements and monitoring locations (if a survey was required). |
|  | Provide at least two (2) geologic cross sections, including utilities. |

Section 14: Tables

| Table 1 Tank Information |
| --- |
| Tank # | UST or AST | Capacity | Contents | Year Installed | Status* | Condition |

*Indicate:  removed (date), abandoned in place (date), or currently used

Notes:

| Table 2 Results of Soil Headspace Screening |
| --- |
| Depth (ft) | Soil Boring 1 2 3 4 5 6 7 8 9 |

List instruments used and discuss field methods and procedures in Appendix C.

Notes:

| Table 3 Analytical Results of Soil Samples |
| --- |
| Boring, Depth(ft) | Date Sampled | Benzene | Toluene | Ethylbenzene | Xylenes | GRO | DRO | Lab Type |

Report results in mg/kg.  Use less than symbols to show detection limit.  Indicate mobile or fixed based in the lab type column.

Notes:

| Table 4 Other Contaminants Detected in Soils (Petroleum or Non-petroleum Derived) |
| --- |
| Boring, Depth (ft) | Date Sampled |  |  |  |  |  | Lab Type |

Report results in mg/kg.  Indicate other contaminants (either petroleum or non-petroleum derived) detected in soil collected from borings.

Notes:

| Table 5 Water Level Measurements and Depths of Water Samples Collected from Borings |
| --- |
|  | Soil Boring 1 2 3 4 5 6 7 8 9 10 |
| Static Water level depth (ft) |  |  |  |  |  |  |  |  |  |  |
| Sampled Depth (ft) |  |  |  |  |  |  |  |  |  |  |

Describe in Appendix C, the methods and procedures used to measure water levels in borings.

Notes:

| Table 6 Analytical Results of Water Samples Collected from Borings |
| --- |
| Boring Number | Date Sampled | Sampled Depth | Benzene | Toluene | Ethyl benzene | Xylenes | MTBE | GRO | DRO | Lab Type |
| Trip Blank |  |  |  |  |  |  |  |  |  |  |
| Field Blank |  |  |  |  |  |  |  |  |  |  |
| Lab Blank |  |  |  |  |  |  |  |  |  |  |
| HRL |  |  | 10 | 1000 | 700 | 10000 |  |  |  |  |

Report results in ug/L.  Use less than symbols to show detection limit.  Indicate mobile or fixed based in the lab type column.

Notes

| Table 7 Other Contaminants Detected in Water Samples Collected from Borings (Petroleum or Non-petroleum Derived) |
| --- |
| Boring Number | Date Sampled | 1,2 DCA | EDB |  |  |  |  |
| Trip Blank |  |  |  |  |  |  |  |
| Field Blank |  |  |  |  |  |  |  |
| Lab Blank |  |  |  |  |  |  |  |
| HRL (ug/L) |  | 4 | 0.004 |  |  |  |  |

Report results in ug/L.  Indicate other contaminants (either petroleum or non-petroleum derived) detected in water samples collected from the borings, temporary wells or push probes.

Notes:

| Table 8 Monitoring Well Completion Information |
| --- |
| Well Number | Unique Well Number | Date Installed | Surface Elevation | Top of Riser Elevation | Bottom of Well (Elevation) | Screen Interval (Elev. - Elev.) |

Notes: (location and elevation of benchmark)

| Table 9 Water Level Measurements in Wells |
| --- |
| Well Number | Date Sampled | Depth of Water from Top of Riser | Product Thickness | Depth of Water Below Grade | Relative Groundwater Elevation | Water Level Above Screen (Y/N) |

Describe in Appendix C, the methods and procedures used to measure water levels.

Notes:

| Table 10 Analytical Results of Water Samples Collected from Wells |
| --- |
| Well # | Date Sampled | Benzene | Toluene | Ethyl benzene | Xylenes | MTBE | GRO | DRO | Lab Type |
| MW-1 |  |  |  |  |  |  |  |  |  |
| MW-2 |  |  |  |  |  |  |  |  |  |
| MW-3 |  |  |  |  |  |  |  |  |  |
| MW-4 |  |  |  |  |  |  |  |  |  |
| Trip Blank |  |  |  |  |  |  |  |  |  |
| Field Blank |  |  |  |  |  |  |  |  |  |
| Lab Blank |  |  |  |  |  |  |  |  |  |
| HRL(ug/L) |  | 10 | 1000 | 700 | 10000 |  |  |  |  |

Report results in ug/L.  Use less than symbols to show detection limit.  Indicate mobile or fixed based in the lab type column.

Notes

| Table 11 Other Contaminants Detected in Water Samples Collected from Wells (Petroleum or Non-petroleum Derived) |
| --- |
| Well Number | Date Sampled | 1,2 DCA | EDB |  |  |  |  |
| MW-1 |  |  |  |  |  |  |  |
| MW-2 |  |  |  |  |  |  |  |
| MW-3 |  |  |  |  |  |  |  |
| Field Blank |  |  |  |  |  |  |  |
| Trip Blank |  |  |  |  |  |  |  |
| Lab Blank |  |  |  |  |  |  |  |
| HRL (ug/L) |  | 4 | 0.004 |  |  |  |  |

Report results in ug/L.  Indicate other contaminants (either petroleum or non-petroleum derived) detected in water samples collected from the borings, temporary wells or push probes.

Notes:

| Table 12 Natural Attenuation Parameters |
| --- |
| Monitoring Well | Sample Date | Temp. (C | pH | Dissolved Oxygen (mg/L) | Nitrate (mg/L) | (Fe II) (mg/L) | (H2S, HS-) (mg/L) |
| MW-1 |  |  |  |  |  |  |  |
| MW-2 |  |  |  |  |  |  |  |
| MW-3 |  |  |  |  |  |  |  |
| MW-4 |  |  |  |  |  |  |  |

In Appendix C, describe the methods and procedures used.

Notes:

| Table 13 Properties Located Within 500 Feet of the Release Source. |
| --- |
| # (From Map) | Property Address | Water Well (Y or N) | How Determined* | Well Use** | Public Water Supply (Y or N) | Confirmed By City (Y or N) | Basement Or Sumps (Y or N) | Possible Petroleum Sources (Y or N) | Comments (including property use) |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |

*E.g.,  visual observation, personal contact, telephone, returned postcard, assumed (i.e., no postcard returned).

**E.g., domestic, industrial, municipal, livestock, lawn/gardening, irrigation.

| Table 14 Water Supply Wells Located Within 500 Feet of the Release Source and Municipal or Industrial Wells Within ½ Mile |
| --- |
| Unique Well # | Ground Elevation | Total Depth (ft) | Base of Casing (ft) | Static Elevation | Aquifer | Use | Owner | Distance & Direction from source |

Notes:

| Table 15 Results of Vapor Monitoring |
| --- |
| Location # and description | Date | PID reading (ppm) | Percent of the LEL |

Notes: Location numbers must match locations on the site map.  Provide a brief description of the monitoring point (e.g., sump, basement corner, sanitary sewer manhole, storm sewer basin, etc.).

Section 15: Appendices

Attach the following appendices.

|  | Appendix A | Excavation Report Worksheet for Petroleum Release Sites. |
| --- | --- | --- |
|  | Appendix B | Laboratory Analytical Reports for Soil and Ground Water. Include laboratory QA/QC data and laboratory certification number. |
|  | Appendix C | Methodologies and Procedures, Including Field Screening of Soil, Other Field Analyses, Soil Boring, Soil Sampling, Well Installation, and Water Sampling. |
|  | Appendix D | Geologic Logs of Soil Borings, Including Construction Diagrams of Temporary and Permanent Wells, and Copies of the Minnesota Department of Health Well Record. |
|  | Appendix E | Copies of Water Supply Well Logs With Legible Unique Numbers. |
|  | Appendix F | Grain Size Analysis, Hydraulic Conductivity Measurements, and Other Calculations. |

Section 16:  Consultant (or other) Information

By signing this document, I/we acknowledge that we are submitting this document on behalf of  and as agents of the responsible person or volunteer for this leak site.  I/we acknowledge that if information in this document is inaccurate or incomplete, it will delay the completion of remediation and may harm the environment and may result in reduction of reimbursement awards.  In addition, I/we acknowledge on behalf of the responsible person or volunteer for this leak site that if this document is determined to contain a false material statement, representation, or certification, or if it omits material information, the responsible person or volunteer may be found to be in violation of Minn. Stat. § 115.075 (1994) or Minn. R. 7000.0300 (Duty of Candor), and that the responsible person or volunteer may be liable for civil penalties.

MPCA staff are instructed to reject unsigned investigation reports or if the report form has been altered.

| Name and Title: | Signature: | Date signed: |
| --- | --- | --- |
|  | ______________________________ |  |
|  | ______________________________ |  |
|  | ______________________________ |  |
|  | ______________________________ |  |

Company and mailing address:

Phone:

Fax:

Upon request, this document can be made available in other formats, including Braille, large print and

audio tape. TTY users call 651/282-5332 or Greater Minnesota 1-800/657-3864.

Printed on recycled paper containing at least 10 percent fibers from paper recycled by consumers.