Air Emission Controls for Soil Venting Systems and

Air Strippers

Fact Sheet 3.32

This document outlines procedures for evaluating air emissions from soil venting systems and air strippers and describes sampling, analyses, and control requirements. Please note: Soil venting systems and air strippers are considered to be air emissions units.  If you currently have an air emissions permit, or have other sources at your site that trigger the need for an air emissions permit, you will need to include the remediation system in your air emissions permit.  Please call the MPCA Air Quality Helpline at 651-282-5844 if you need further information.

I.  SOIL VENTING SYSTEMS

The Minnesota Pollution Control Agency (MPCA) has developed Screening Emission Rates (SERs) based on toxicological information and the characteristics of typical soil venting systems. If contaminant emission rates exceed the SERs, emission controls may be necessary.

### A.  INITIAL SAMPLING

- Initial Sampling Schedule:

- Sample the vent stack during the pilot test to determine whether emission controls are likely necessary.  If system emissions may exceed the SERs, provisions may be necessary in the system design.

- After system startup, sample the vent stack within the first 12 hours (regular laboratory turnaround time).

- Resample seven days after system startup (two-week turnaround time).

- Resample 14 days after system startup (one-week turnaround time).

- Deactivate the soil venting system after the third sampling event.

2.	Analytical Requirements:

Analyze air samples for benzene, ethyl benzene, toluene, total xylenes (BETX), and for other compounds detected during the remedial investigation.  Collect and analyze the air samples using U.S. Environmental Protection Agency (EPA) method 18 (or the appropriate method as shown on Form 2, Column A).

B.  EMISSION RATE CALCULATIONS

1.	Air Emission Concentration (EC): Write the contaminant concentrations (in micrograms per cubic meter [µg/m3]) on Form 2, Column B under "Emission Concentration."

2.	Gas Flow Rate (GF):

a.  Measure the GF rate through the venting stack at the same time that the vent stack samples are collected.

b.  Write the flow rate (in cubic meters per second [m3/sec]) on Form 2, Column C under "Gas Flow Rate Through Vent Stack."

3.	Emission Rate (ER):

a.  Compute the ER for each contaminant using the following formula:

ER = EC x GF or Column B x Column C

b.	Write the ER (in micrograms per second [µg/sec]) on Form 2, Column D under "Emission Rate."

C.  REQUIREMENTS FOR AIR TOXIC EMISSION CONTROLS

1.	If the ERs for the second and third sampling events are all below the SERs, the soil venting system may be restarted immediately without emission controls.

2.	If the ER for any one contaminant is above the SER for both the second and third sampling event, then emission controls are necessary.  SERs for contaminants are given on Form 2, Column E.

If contaminants are encountered for which the SERs are not listed on Form 2 under Column E, contact MPCA LUST project staff for the appropriate SER values.  The soil venting system must remain shut down until emission controls have been installed.

3.	If the ER for any one contaminant is above the SER for either the second or third sampling events, immediately submit a recommendation regarding future actions by telephone to the MPCA hydrologist.  Possible recommendations include:

- Additional sampling.

- Emissions control installation.

The soil venting system must remain shut down until it is determined that emission controls are not needed or until emission controls are in place.

4.	Permissible Emission Control Technology: Any air emission control device that can be shown to be effective and cost efficient may be acceptable (contingent upon MPCA approval).

D.  SYSTEM MONITORING

1.	Pre-treatment Air Quality Monitoring: Collect pre-treatment soil venting system vent stack samples quarterly, regardless of whether air emission control devices are necessary.  Analyze samples for BETX, plus any contaminants present in previous testing.  Calculate the emission rates as instructed above.  If the ER for any contaminant is found to be above the SER, see Section C, parts 3-4 for emissions control criteria.

2.	Post-Treatment Air Quality Monitoring:

a.  Sample post-treatment air emissions at least quarterly.  If carbon filters are used as the emission control devices, determine the rate of consumption.  To determine the need for carbon unit replacement, collect air quality samples from the post-treatment portion of the vent stack.

b.	Sample and analyze the post-treatment air quality samples using EPA method 18 (or appropriate method).  Analyze samples for BETX and other contaminants present.  Record ECs on Form 2 in Column B in micrograms per cubic meter (µg/m3). Measure the GF rate through the vent stack and record it on Form 2, Column C in m3/sec.

c.	ER = EC x GF.  Record this value (µ/sec) on Form 2, Column D.

d.	If post-treatment ECs for any compound are above the SERs (Form 2, Column E), upgrade the emission controls.

e.	Emission controls can be removed if the ERs for all contaminants are below the SERs for two consecutive quarters, or if ERs are consistently below the SERs.  Notify the MPCA project manager if emission controls are removed.

f.	Proper disposal or recycling of carbon filtration units is required.  Provide disposal/recycling documentation with the progress reports.

E.   REPORTING:

Submit annual monitoring reports for all soil venting systems associated with petroleum storage tank sites.  Please refer to fact sheet 3.31 Corrective Action Design System Monitoring Worksheet for reporting requirements.

### F.  SITES WITH BOTH SOIL VENTING SYSTEMS AND AIR STRIPPER SYSTEMS

1.	The need for air toxic emission controls is based upon the total contaminant volume emitted from the site.  If the added ERs for the soil venting system and the air stripper system are above the SERs for any one contaminant, then air emissions controls are required on one or both of the systems so that total emissions are below the SERs.

2.	If the ground water stripper system and the soil venting system discharge through the same stack, determine the need for emission controls using the criteria listed above.

II.  AIR STRIPPERS

The MPCA has developed SERs based on toxicological information and the characteristics of typical air stripper systems.  If contaminant emission rates exceed the SERs, emission control may be necessary.

A.  INITIAL SAMPLING

1.  Initial Sampling Schedule:

- Evaluate contaminant concentrations in monitoring wells during system design to determine whether emission controls are likely to be necessary.

- Sample influent and effluent water at the end of first week of operation (two-week laboratory turnaround).

- Resample at the end of the second week (one-week laboratory turnaround).

- Deactivate the stripper system after the second sampling event.

2.  Analytical Requirements:

- Minnesota Department of Health (MDH) 465F analyte list for ground water (monitoring well sampling prior to system design).

- MDH list 465F analyte list for air stripper influent and effluent samples during the first year of operation.  Analyte list may be reduced during subsequent sampling if approved by MPCA site hydrologist.

B.  EMISSION RATE CALCULATIONS

1.	Ground Water Concentration (GC): Record the influent contaminant concentrations (in micrograms per liter [µg/l]) on Form 1, Column A under "Ground Water Concentration."  Contact site hydrologist if contaminants are encountered which are not on the form.

2.	Stripper Influent Flow Rate (IFR):

a.  For continuously operating systems, measure the water flow rate through the air stripper at the time of ground water sampling.

b.  For systems operating cyclically, calculate the average water flow rate over a representative period.

c.	Record the flow rate (liters per second [l/sec]) on Form 1, Column B under "Stripper Influent Flow Rate."  This value will likely be the same for every entry in the column.

3.	Removal Factor (RF):

a.  Compute the RF using the following formula:

RF = (influent concentration - effluent concentration) influent concentration

b.	List the RF for each contaminant on Form 1, Column C.  If the RF is not known, use a value 1.0.

4.	Emission Rate (ER) Calculation:

a.  Compute the ER for each contaminant using the following formula:

ER = GC x IFR x RF or Column A x Column B x Column C

b.	Write the ER (in µg/sec) on Form 1, Column D under "Emission Rate."

C.  REQUIREMENTS FOR AIR TOXIC EMISSION CONTROLS

1.	If the ERs fall below the SERs, then the stripper system may be restarted immediately without emission control.

2.	If the ER for any contaminant is above the SER for both of the initial sampling events, then emission controls are required.  SERs for contaminants are given on Form 1, Column E.

If contaminants are encountered for which the SERs are not listed on Form 1 under Column E, contact Greg Pratt  (651-296-7664 or 1-800/657-3864) for the appropriate value).

The stripper system must remain shut down until emission controls have been installed.

3.	If the ER for any one contaminant is above the SER for just one of the sampling events, telephone a recommendation regarding future actions to the appropriate MPCA project manager immediately after receiving the second round of sampling results.  The options for future actions might include:

a.  Additional sampling.

b.  Emissions control installation.

The air stripper must remain shut down until either it is determined that emission controls are not needed, or until emission controls are in place.

4.	Permissible Emission Control Technology:

Any air emission control device that can be shown to be effective and cost efficient may be acceptable.

D.  SYSTEM MONITORING

1.	Water Quality Monitoring: Sample influent and effluent ground water quality on a quarterly basis, regardless of whether air emission control devices are in place.  Analyze samples for BETX plus any other contaminants previously detected.  Calculate the ER for all contaminants each quarter from the water quality data.  If the ER for any one contaminant is found to be above the SER, see Section C, parts 3-4 above for emissions control criteria.

2.	Air Quality Monitoring if Air Emission Controls are In Place:

a.  Quarterly sampling of post-treatment air emissions is required.  If carbon filters are used as the emissions control devices, determine the rate of consumption. Collect air samples from the vent stack intervals frequently enough to determine the need for carbon unit replacement.

b.	Sample and analyze air samples using U.S. EPA method 18 or appropriate method (see Form 2, Column A).  Analyze samples for BETX and any other contaminant determined to be present in the ground water.  Record ECs on Form 2, Column B, in units of µg/m3.  Measure the GF rate through the vent stack and record on Form 2, Column C in units of m3/sec.

c.  ER = EC x GF.  Record (in units of µg/sec) on Form 2, Column D.

d.  If post-treatment ECs for any compound are above the SERs (Form 2, Column E), upgrade the emission controls.

e.	Emission controls may be removed if the stripper emission rates calculated from influent and effluent ground water samples are below the SERs for two consecutive quarters, or if the ERs are consistently below the SERs.  Notify the MPCA project manager if emission controls are removed.

f.	If carbon filtration units are used, proper disposal or recycling is required; include documentation of disposal/recycling procedures with the annual report.

E 	REPORTING:

Annual monitoring reports to the MPCA staff are required for all air stripper systems associated with petroleum storage tank sites. Please refer to fact sheet 3.31, Corrective Action Design System Monitoring Worksheet for reporting requirements.

##### Web pages and phone numbers

MPCA staff 		http://data.pca.state.mn.us/pca/emplsearch.html

MPCA toll free		1-800-657-3864

LUST web page		http://www.pca.state.mn.us/programs/lust_p.html

MPCA Infor. Request	http://www.pca.state.mn.us/about/inforequest.html

PetroFund Web Page	http://www.commerce.state.mn.us/mainpf.htm

PetroFund Phone		651-297-1119, or 1-800-638-0418

State Duty Officer	651-649-5451 or 1-800-422-0798

Upon request, this document can be made available in other formats, including Braille, large print and audio tape. TTY users call 651/282-5332 or Greater Minnesota 1-800/657-3864.

Printed on recycled paper containing at least 10 percent fibers from paper recycled by consumers.