Form 1: Air Stippers

Fact Sheet #3.32a

| Site Name | Responsible Party Contact | Form Completed By: |
| --- | --- | --- |
| Address: | Name: |  |
|  | Affiliation | Date From Completed: |
| MPCA Leak #: | Phone#: |  |

A		     B		           C		      D	                E

| Contaminant (CAS#) | Ground water concentration (ug/liter) | Stripper influent flow rate (liters/sec) | Removal Factor | Emission Rate (ug/sec) | Screening Emission Rate (ug/sec) | Is ER > SER? |
| --- | --- | --- | --- | --- | --- | --- |
|  | GC | IFR | RF | ER | SER | (YES/NO) |
| benzene (71-43-2) |  |  |  |  | 4,447 |  |
| chloroform (67-66-3) |  |  |  |  | 1,784 |  |
| dichlorodifluoromethane (74-71-8) |  |  |  |  | 767,200 |  |
| 1,1-dichloroethane (75-34-3) |  |  |  |  | 889,632 |  |
| 1,2-dichloroethane (107-06-2) |  |  |  |  | 1,784 |  |
| 1,1-dichloroethylene (75-35-4) |  |  |  |  | 892 |  |
| 1,2-dichloroethylene (540-59-0) |  |  |  |  | 2,083,900 |  |
| dichlorofluoromethane (75-43-4) |  |  |  |  | 105,300 |  |
| ethylbenzene (100-41-4) |  |  |  |  | 509,040 |  |
| methylenne chloride (75-09-2) |  |  |  |  | 80,600 |  |
| 1,1,2,2-tetrachloroethane (79-34-5) |  |  |  |  | 892 |  |
| tetrachloroethylene (127-18-4) |  |  |  |  | 76,512 |  |
| 1,1,1-trichloroethane (71-55-6) |  |  |  |  | 509,050 |  |
| 1,1,2-trichloroethane (79-00-5) |  |  |  |  | 2,662 |  |
| trichloroethylene (79-01-6) |  |  |  |  | 26,247 |  |
| trichlorofluoromethane (75-69-4) |  |  |  |  | 3,113,694 |  |
| 1,1,2 trichlorotrifluoroethane (76-13-1) |  |  |  |  | 3,113,694 |  |
| toluene (108-88-3) |  |  |  |  | 254,520 |  |
| vinyl chloride (75-01-4) |  |  |  |  | 446 |  |
| xylene [mixed] (1330-20-7) |  |  |  |  | 50,400 |  |
| other¹ |  |  |  |  |  |  |