September 16, 2009

Mr. Troy Bech, EHS Supervisor

Sanimax, LLC
505 Hardman Avenue South
South Saint Paul, MN  55075
RE:
September 10, 2009, Air Quality Compliance Inspection at Sanimax – South Saint Paul Facility
Dear Mr. Bech:

On September 10, 2009, the Minnesota Pollution Control Agency (MPCA) staff conducted a routine air quality inspection of the Sanimax, LLC facility (Regulated Party) located at 
505 Hardman Avenue South, South Saint Paul, Minnesota. No violations of Air Emission Permit No. 03700070-005 or applicable Minnesota air quality rules were observed at the facility during the inspection.

During the inspection, it was discovered that the facility was not properly documenting all the permit required variables in regards to pressure drop and visible emission readings. Additionally, at the time of the inspection Diesel No. 2 fuel certifications were not located on site. Please review the air permit and address these issues. For your reference, according to the MPCA permit engineer who issued permit number 03700070-005, the hazardous air pollutants monthly emissions calculations do not need to be kept until initial glycerin and biodiesel testing are conducted for GP001 Combustion Equipment.   
I appreciated your time, patience and assistance during the inspection process. If you have any questions concerning the inspection, this letter, Minnesota air quality rules, or your air permit requirements, please contact me at 651-757-2620.

Your continued cooperation is appreciated.
Sincerely,

Sean W. O'Connor

Pollution Control Specialist

Compliance and Enforcement Section

Industrial Division
SWO:rrh

cc:
AQ File No. 578
