Freeway Landfill 2015 Soil and Groundwater Investigation

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Analytical Tasks** | **Method number** | **Matrix** | **Detection Limits** | **Quantity** |
| VOCs  | 8260B | W |       | 24 |
| GRO | WI MOD GRO | W |  | 24 |
| DRO | WI MOD DRO | W |  | 24 |
| SVOC plus TIC | 8270 | W |       | 24 |
| PCBs | 8082 | W |       | 24 |
| PfCs | 555 | W |       | 24 |
| Total Metals (As, Ba, Cd, Co, Cr, Cu, Fe, Mg, Mn, Ni, Pb, Sb, Se, Zn | 200.7/200.8/6010/6020 | W |       | 24 |
| Dissolved Metals (As, Ba, Cd, Co, Cr, Cu, Fe, Mg, Mn, Ni, Pb, Sb, Se, Zn | 200.7/200.8/6010/6020 | W |  | 24 |
| Total Hg | EPA 245.2 | W |  | 24 |
| Dissolved Hg | EPA 245.2 | W |  | 24 |
| Chloride |  | W |  | 24 |
| Nitrate |  | W |  | 24 |
| Biological Oxygen Demand |  | W |  | 24 |
| Total Organic Carbon |  | W |  | 24 |
| Cation/Anion balance |  | W |  | 24 |
| TCLP 8 RCRA metals |  | Soil |  | 4 |
| PAHs |  | Soil |  | 4 |
| VOCs |  | Soil |  | 4 |
| GRO |  | Soil |  | 4 |
| DRO |  | Soil |  | 4 |