|  |  |
| --- | --- |
| pca_logo&address | Closed Landfill ProgramField Notes |

|  |  |  |  |
| --- | --- | --- | --- |
| Site Name: | Freeway | Date: | 11/14/17 |
| Personnel: | Dan McNamara |
| Time period on site: |
| From: | 1000 | To: | 1100 |
| Reason for Site Visit: |
| To get readings/inspection of gas probes on US Salt property. |
|       |
| Weather conditions (temperature, wind, precipitation, etc.): |
| 42 F, Cloudy, 5-10 S, BP-30.05 |

## **Site Notes**

|  |
| --- |
| **Site Activities:**Check in with US Salt staff upon entering site. Used Envision Meter, serial # 1506201Factory Calibration on 9/14/17Successful field calibrationGas Probe Readings/Inspection -Locks on Gas Probes are 3438.-Lubricated locks with WD-40. Getting rusty from salt.-No issues found on gas probe inspection.  |

##