|  |  |
| --- | --- |
| pca_logo&address | Closed Landfill Program  Field Notes |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Site Name: | Freeway | | Date: | | 2/14/18 |
| Personnel: | Dan McNamara | | | | |
| Time period on site: | | | | | |
| From: | 1030 | To: | | 1130 | |
| Reason for Site Visit: | | | | | |
| To get readings/inspection of gas probes on US Salt property. | | | | | |
|  | | | | | |
| Weather conditions (temperature, wind, precipitation, etc.): | | | | | |
| 30 F, Clear, 5-10 S, BP-29.83 ↓ | | | | | |

## **Site Notes**

|  |
| --- |
| **Site Activities:**  Check in with US Salt staff upon entering site.  Used Envision Meter, serial # 1506201  Annual Factory Calibration on 9/14/17  Successful field calibration    Gas Probe Readings/Inspection    -Locks on Gas Probes are 3438.  -Lubricated locks with WD-40. Getting rusty from salt.  -No issues found on gas probe inspection. |

## 