|  |  |
| --- | --- |
| pca_logo&address | Closed Landfill ProgramField Notes |

|  |  |  |  |
| --- | --- | --- | --- |
| Site Name: | Freeway | Date: | 7/17/18 |
| Personnel: | Dan McNamara |
| Time period on site: |
| From: | 1100 | To: | 1200 |
| Reason for Site Visit: |
| To get readings/inspection of gas probes on US Salt property. |
|       |
| Weather conditions (temperature, wind, precipitation, etc.): |
| 77 F, Clear, 5-10 NE, BP-30.13 |

## **Site Notes**

|  |
| --- |
| **Site Activities:**Check in with US Salt staff upon entering site. Used Envision Meter, serial # 1803213BAnnual Factory Calibration on 5/24/18Successful field calibrationGas Probe Readings/Inspection -Locks on Gas Probes are 3438.-Wasp nest in GP-9. Had to spray with wasp spray. Surprisingly big nest in it.The fiber optic upgrade to the scale area is complete now. See old field notes below from 5/16/18.*US Salt is improving the scale area and putting in fiber optic along the border with Freeway. They are digging down around 2 ft and running the fiber optic through 2 inch piping.*  |

##