[image: image1.wmf][image: image2.png](SZ) Minnesota Pollution Control Agency
-—





Emergency Response 

Work Request


May 2002


To:  
Bernard Hawn

4429 Otter Lake Road

White Bear Township, MN 55110

     
RE:
Spill TBD
LEAK #TBD


The Minnesota Pollution Control Agency (MPCA) has determined the following emergency conditions exist at the above-referenced site:  Above ground home heating oil tank tipped over next to house, causing the line to be sheered off, resulting in the release of about 200 gallons of fuel oil to the ground.  The residence is served by city water and sewer             

The following actions should be taken within 48 hours to remediate the emergency conditions: 

 FORMCHECKBOX 
  Recovery and control of pooled petroleum on land.

 FORMCHECKBOX 
  Recovery and control of petroleum on surface or ground waters.

 FORMCHECKBOX 
  Recovery and control of petroleum infiltrating a sanitary or storm sewer.

 FORMCHECKBOX 
  Recovery and control of petroleum infiltrating a building or structure.

 FORMCHECKBOX 
  Removal and control of petroleum vapors in a building, structure or sewer.

 FORMCHECKBOX 
  Relocation of affected residents.

 FORMCHECKBOX 
  Excavation of petroleum contaminated soil to eliminate emergency conditions.

 FORMCHECKBOX 
  Product removal from a tank.

 FORMCHECKBOX 
  Soil borings/monitoring well installation to assess the emergency conditions.

 FORMCHECKBOX 
  Collecting and analyzing surface water, ground water, soil or air samples to assess or monitor the emergency situation.

 FORMCHECKBOX 
  Providing an alternate water supply to an affected well owner.

 FORMCHECKBOX 
  Report of emergency actions taken, findings and recommendations for additional work.

 FORMCHECKBOX 
  Other, specify: be in contact with MPCA ER Team during excavation to determine amount of excavation needed.
If you plan to seek Petrofund reimbursement for any eligible corrective action costs, in accordance with Minn. Rule 2890.0089, the MPCA may assist in documenting that the emergency conditions at this site posed a threat to the public health and welfare or the environment and that there was not sufficient time to obtain bids or proposals for the services requested above.  Reimbursement determinations are made by the Petrofund Board.

Competitive bids are required for any other corrective action services.  In addition, competitive bids will be required for any corrective action services checked above that are not commenced within 14 days of issuance. For further information, including copies of the most recent bid forms, please contact Petrofund staff at 651/297-1119 or (outside the Twin Cities) toll-free at 1-800-638-0418.    

Authorization:

sign and date

Craig D. Schafer   

507-537-6378 office, 507-828-5065 Cell

print name and telephone #

Emergency Response Team

Minnesota Pollution Control Agency

 FORMCHECKBOX 
 Fax only
 FORMCHECKBOX 
 Mail only           FORMCHECKBOX 
 Fax and Mail
Minnesota Pollution Control Agency, 520 Lafayette Road North, St. Paul, Minnesota  55155-4194

(651) 296-6300, toll-free (800) 657-3864, TDD (651) 282-5332
This material can be made available in alternative formats for people with disabilities.

[image: image1.wmf]  Printed on recycled paper containing at least 20 percent fibers from paper recycled by consumers.


