APPENDIX A

A

EXAMPLE SAMPLING PROTOCOL

FOR MONITORING WELLS

(revision date 12 March 1997)

( The sampling protocol presented in this appendix is only an example.

( A sampling protocol used for real projects should be tailored according to data quality objectives and other project objectives.

( When sampling for regulatory compliance, the appropriate regulatory program should be consulted.  They may have created their own example sampling protocol or recommend significantly different sampling methods based on their program objectives.

FOREWORD

This example sampling protocol is not a stand-alone document.  It was designed to be used as a component of, and in concert with, the complete MPCA Ground Water Sampling Guidance Document.  This version (revised 12 March 1997) of the Example Sampling Protocol reflects very minor editing of the original January 1995 version.  In Table A-1, the fill method for collecting a filtered (and acidified) trace metals sample was changed to indicate that sampling personnel should “Leave head space”.   No other substantial changes in technical content were made.  Please note that the version date shown in the footer is automatically updated to facilitate the end user’s draft review process and does not indicate when this document was revised by the MPCA.

The Example Sampling Protocol is a generic example and requires modification to become suitable for application to a real site.  Refer to the guidance in Chapter 3 of the guidance document and the “Instructions” near the beginning of Appendix A.  Your program- or scenario-specific data quality objectives should play a major role in determining how you modify the Example Sampling Protocol.  Data quality objectives are defined in the guidance document.  Topics in Chapters Four and Five are presented chronologically to parallel the structure of this example protocol.  The parallel structure is intended to assist the user in cross-referencing technical background information while considering alternatives and customizing the example protocol.

An electronic copy of the Example Sampling Protocol is provided on diskette in the back pocket of the complete 1995 guidance document and in the MPCA library to facilitate modification of the example protocol with word processing software.  The native format of the document is Microsoft( Word for Windows version 6.0.  In the future, copies of the most current version may also be available in other formats and via E-mail or the MPCA Web site at http://www.pca.state.mn.us.

INSTRUCTIONS

The Example Sampling Protocol must be modified before it can be applied to an actual site.  This section provides instructions on how to customize the Example Sampling Protocol for program- or scenario-specific needs.  More general, but important guidance on using this example protocol can be found in Chapter Three of the main body of this guidance document.

This example sampling protocol was designed to assist user’s with the creation of program-specific example protocols and scenario-specific protocols.  Regulatory Programs are encouraged to customize the Example Sampling Protocol to create their own program-specific example protocol.  Private organizations and individuals can then use the regulatory agency standard example sampling protocol to create a site- and/or event-specific protocol.

Refer to the technical guidance presented in Chapters Four and Five of the guidance document for assistance in evaluating proposed modifications.  To the extent that it does not interfere with creation of an appropriate, scenario specific protocol, changes to the example protocol should be held to a minimum.

IMPORTANT:  Remember that the Example Sampling Protocol in Appendix A does not necessarily ensure compliance with a specific state or local regulatory program.  Always consult the applicable regulatory program to determine whether a particular sampling protocol meets their program requirements.

HOW TO EDIT THE EXAMPLE SAMPLING PROTOCOL

IMPORTANT:  To save time and effort, a copy of the example sampling protocol will be available at the MPCA library on computer diskette.  Anyone can obtain a copy to save the effort of typing the protocol.  The example protocol is designed to be easily edited and customized into a scenario-specific protocol.

Most necessary modifications to the example protocol are likely to occur in tables or appendices.  Square brackets “[ ]” are used to indicate where scenario-specific choices must be made, while braces “{ }” are used to indicate editorial comments.

Because brackets “[ ]” are used to make the example easy to edit, an explanation follows each syntax example to help you understand how to customize the Example Sampling Protocol for your application:

[single option]:  Brackets around a single option with no adjacent replacement text outside the brackets:  You must decide whether the material within the brackets applies to your situation or scenario.  Perhaps there is a more appropriate alternative.

preferred [less preferred] or [less preferred] preferred:  When brackets enclose text that can replace adjacent text, the text outside the brackets would normally be the preferred (most technically sound) choice.  Choose the option that best fits your situation or scenario.

[more preferred, less preferred, even less preferred]:  When several choices appear within the brackets, the choices are listed in descending order of normal preference (technical merit).  Choose the option that best fits your situation or scenario.

[equally preferred] [equally preferred]:  Two or more adjacent sets of brackets indicate either an equal preference for a typical scenario or a preference that depends heavily on scenario-specific factors.

[?]:  When brackets appear around a question mark, enter the necessary site- or event-specific information, or enter additional detail if appropriate.

l. Begin editing the Example Sampling Protocol.  The editing should reflect the sampling objectives stated in the Sampling Plan.  Do not delete the Table of Contents; it should be retained in the final protocol.  Do not delete the editorial comments in advance; they should be read as you are editing each section.  It is normally best to begin by customizing only the tables and appendices that include the lists of analytes (parameters to be analyzed).  Then proceed to the main body of the protocol.

IMPORTANT:  Changing text in one part of the document, even when it is associated with brackets “[ ]”, may require additional changes in related text located in other parts of the document.  To avoid overusing the brackets, (subsequent) related text is often unmarked.  When any text is changed, use the Table of Contents or use the “search” (or “find”) function of your word processor to locate other occurrences of key words for modification or deletion.  For example, when changing the word “pump” to “bailer”, use “search” to locate other places where obvious changes are required.

2. When you have finished customizing your program- or site-specific sampling protocol, use a word processing “search” function to look for all “{ }”s and “[ ]”s to ensure that all of them were found.

All brackets “[ ]”, braces “{ }” and editorial comments must be removed from the actual (final) protocol before use in the field.  Specific choices must be selected from the alternatives located within or adjacent to the “[ ]”s.  This rule is intended to prevent improper use of an unmodified example protocol and to encourage consideration of important scenario-specific factors.

3. Next delete the “Foreword” and the “Instructions” (if included on the diskette).

4. Finish editing any of the appendices, tables and text that were not customized earlier.

-----------------------------------------------------------------------

REVIEW/APPROVAL

NOTE:  Regulatory programs may require that significant, proposed changes to example protocols be marked to facilitate review and approval.  Consider highlighting or otherwise marking all proposed changes or deletions for reviewers/approvers.  Modern word-processing software can make this entire process very easy.  Software such as Microsoft( Word includes “revision” features that can automatically mark all proposed deletions and additions to an original document.  “Annotations” can also be imbedded within the text to provide explanations for the proposed changes.

When the proposal author and the reviewer agree on a final proposed protocol, the acceptable revisions can be implemented in seconds.  A print out of the proposed changes can be produced before implementation as a record of how the scenario-specific protocol differs from the default program-specific protocol.

Two types of alterations can be made that are not considered changes:

( deleting an editorial comment along with the braces that enclose it after final approval

( deleting alternate text between brackets while retaining the preferred alternative outside of (and adjacent to) the bracketed text (as in the second syntax example given above)

-----------------------------------------------------------------------

EXAMPLE SAMPLING PROTOCOL FOR MONITORING WELLS

TABLE OF CONTENTS

1.0 INTRODUCTION	a-

2.0 ADVANCE PREPARATION FOR SAMPLING	A-

2.1 Selection Of Analytical Parameters	A-

2.2 Detection Limits	A-

2.3 Quality Assurance For Field Procedures	A-

2.4 Sampling Containers And Preservatives	A-

2.5 Purging And Sampling Equipment	A-

2.6 Decontamination, Storage And Transport Of Equipment	A-

2.7 Selection Of Sample Collection Techniques	A-

2.8 Order Of Sampling	A-

3.0 PRELIMINARY FIELD WORK	A-

3.1 Field Inspections And Field Decisions	A-

3.2 Detection Of Immiscible Layers	A-

3.3 Water-Level Measurements	A-

3.4 Field Water-Quality Measurements	A-

Specific Conductance	A-

Temperature	A-

pH	A-

Dissolved Oxygen	A-

Turbidity	A-

3.5 Well Purging And Stabilization	A-

4.0 SAMPLE COLLECTION	A-

4.1 Pump Setting	A-

4.2 Sample Filtration	A-

4.3 Filling Sample Containers	A-

Major and Minor Ions	A-

Nitrate	A-

Cyanide	A-

Trace Metals	A-

Chromium VI	A-

Miscellaneous Parameters	A-

Volatile Organics	A-

Non-Volatile Organics	A-

Dioxin and Dibenzo Furans	A-

Equilibrium Geochemistry Parameters	A-

Coliform Bacteria	A-

Total Organic Carbon	A-

Total Phosphorus	A-

Sulfide	A-

Radium, Gross Alpha, Gross Beta	A-

4.4 Field Blanks, Replicates And Split Samples	A-

Field Blank Samples	A-

Field Replicate Samples	A-

Field Split Samples	A-

5.0 DOCUMENTATION OF SAMPLING EVENT	A-

5.1 Sample Identification	A-

5.2 Chain Of Custody	A-

Field Chain of Custody Documentation	A-

Chain of Custody During Shipping and Transfer of Samples	A-

5.3 Field Sampling Log	A-

5.4 Exceptions To Sampling Protocol	A-

5.5 Field Conditions	A-

6.0 SAMPLE PRESERVATION, HANDLING AND TRANSPORT	A-

6.1 Sample Preservation	A-

6.2 Sample Handling And Transport	A-

LIST OF TABLES

Table A - 1: Sample Containers, Filling Method, Preservation and Holding Times	A-

Table A - 2: Order of Purging and Sampling of Wells	A-

Table A - 3: Estimated Sample Collection Depths, Purging Rates and Sampling Rates for Individual Wells	A-

LIST OF FIGURES

Figure A - 1: Location of Sampling Points	A-

LIST OF APPENDICES

APPENDIX A1: SELECTED ANALYTICAL PARAMETERS, METHOD NUMBERS AND REPORTING LIMITS	A-

APPENDIX A2: EQUIPMENT DESCRIPTIONS AND SPECIFICATIONS	A-

APPENDIX A3: PURGING AND SAMPLING EQUIPMENT INSPECTION AND MAINTENANCE SCHEDULE	A-

APPENDIX A4: EXAMPLE FORMS	A-

APPENDIX A5: SUPPLEMENT TO FIELD WATER QUALITY MEASUREMENT PROCEDURES	A-

EXAMPLE SAMPLING PROTOCOL

FOR GROUND WATER MONITORING WELLS

1.0 INTRODUCTION

This document defines procedures to be used for ground water quality measurements and for collecting and handling ground water samples obtained from monitoring wells at [SITE NAME] during the time period [specify sampling dates].  Deviations from these procedures may be required by unforeseen circumstances that develop during the program.  Such deviations will be approved by the project manager or the field crew leader as described below.  When approvals cannot be obtained in advance, deviations from the established procedures will be evaluated as soon as possible after sampling and needs for re-sampling will be evaluated.  Deviations from the specified procedures will be clearly noted on the sampling information form (SIF) used for the sampling of each well and will be included in the Sampling and Analysis Report as described below.

2.0 ADVANCE PREPARATION FOR SAMPLING

{For technical guidance, refer to page 37 of the MPCA Ground Water Sampling Guidance document: Chapter Four, Section 4.2: “ADVANCE PREPARATION FOR SAMPLING”}

Selection of analytical parameters, laboratory arrangements, the order of sampling wells, field measurement and sampling techniques, equipment selection and other quality assurance measures are based on the sampling objectives presented in the main body of the Sampling Plan.

2.1 Selection Of Analytical Parameters

Analytical parameters were selected based on regulatory requirements and a review of site history.  Samples will be collected for analysis of the parameters shown in Appendix A-[1] to fulfill requirements of the [?] program. {In order to create this appendix, edit (customize) Appendix B from the main body of the MPCA Ground Water Sampling Guidance Document or insert a table of parameters required by the applicable program.  Indicate what analytical method and reporting limit will apply for each parameter.}  Additional parameters, listed in Appendix [A-[?]] are believed likely to occur as a result of past practices at this site.  Samples will be collected and analyzed for these additional parameters to further assess the presence [extent] of ground water contamination.  [Samples will also be collected and analyzed for the parameters listed in Appendix A[?];  they were selected to facilitate the overall hydrogeochemical analysis of the site.] {It may be more convenient to place all analytical parameters in one appendix; however, the essence of the above text should be retained to clearly state the basis upon which the parameters were selected.}  Samples will be collected and analyzed for the above parameters at all wells listed in Table A-2.

Analytical techniques for trace metals and organic compounds were selected primarily on the basis of ability to [detect potential contaminants at low levels] [positively identify contaminants detected as opposed to achieving the lowest detection levels].

2.2 Detection Limits

Practical quantitation limits are shown in Appendix A1 [Appendices A1 to ?].  [In all cases, these detection limits are at or below applicable action levels.]  {Here, identify the action levels by reference to an appropriate list specified by or agreed upon with the applicable regulatory agency.}.

2.3 Quality Assurance For Field Procedures

Particular care will be exercised to avoid the following common ways in which cross contamination or background contamination may compromise ground water samples:

( improper storage or transportation of equipment

( contaminating the equipment or sample bottles on site by setting them on or near potential contamination sources such as uncovered ground, a contaminated vehicle, or vehicle exhaust

( handling bottles or equipment with dirty hands or gloves

( inadequate cleaning of well purging or sampling devices

Special care will be exercised to prevent cross-contamination of sampling equipment, sampling bottles, or anything else that could potentially compromise the integrity of samples.  Field methods quality assurance verification procedures are described below in Section 4.4, “Field Blanks, Replicates and Split Samples”.  Field personnel will work under the assumption that contamination exists in land surface soil and vegetation near sampling points, wash water, etc.  Therefore, exposure to these media will be minimized by taking at least the following precautions:

( minimizing the amount of rinse water left on washed materials

( minimizing the time sampling containers are exposed to airborne dust or volatile contaminants in ambient air

( placing equipment on clean, ground-covering materials instead of on the land surface

Clean gloves made of appropriately inert material will be worn by all field crew.  Gloves will be kept clean while handling sampling-related materials.  The gloves will be replaced by a new pair when soiled and between each sampling site.

2.4 Sampling Containers And Preservatives

Laboratory-supplied sampling containers and preservatives to be used for samples from all wells are shown in Table A-1.  The Laboratory Quality Assurance Project Plan (Lab-QAPjP) includes specific procedures for the following: sample container cleaning, testing, labeling and storage; preparation and addition of preservatives.  Preservatives for volatile organic samples are added to the sample container in the field.  All other chemical preservatives are added in the laboratory before samples are collected.

2.5 Purging And Sampling Equipment

Well purging and sampling equipment includes the following:

( two-inch nominal diameter stainless steel positive displacement submersible bladder pumps with Teflon(  bladder: [provide manufacturer name, model name/number and optional equipment used]

( pump discharge lines: [new, decontaminated] Teflon( tubing

( regulators and compressed nitrogen [air] tanks

( [ {list other equipment such as}bailers, rope, other pumps, generators, air compressors (with air/oil filter), etc.]

Equipment description and specification details are presented  in Appendix A2.  Equipment inspection and maintenance schedules are given in Appendix A3.

2.6 Decontamination, Storage And Transport Of Equipment

{The user is responsible for verifying that the example procedures and materials discussed below present no potential health, safety, or materials incompatibility problems for the scenario-specific situation.  At highly contaminated sites, additional measures may be necessary to minimize the spread of contaminants on site or beyond site boundaries.}

{When practical, the following alternatives can substantially reduce the time spent on field decontamination and may result in considerably less opportunity for cross-contamination.: 1) permanently installing sampling pumps and tubing, 2) discarding bailer and bailer line or dedicating bailer and bailer line to individual wells, 3) discarding pump tubing or dedicating tubing to individual wells (place in labeled plastic bag for next sampling event), 4) for bladder pumps: discarding bladder or dedicating bladder to individual wells.  If one of these approaches is to be used, specify such here.  Delete field decontamination steps that have become unnecessary due to the change in approach.  Replace these field decontamination steps by specifying “laboratory” or manufacturer’s decontamination procedures used to prepare equipment for the field.  For convenience, the “laboratory” or manufacturer’s procedures may be specified by reference to an appendix attached to this protocol.}

New pump tubing will be used [the first ]time each well is sampled.  [Tubing will be dedicated to a single well for subsequent sampling events.  Between sampling events, the tubing will be stored in a sealed, chemically inert plastic bag.  The bag will be labeled with the well name and stored in a secure, clean location.]  Pump bladders will be [discarded after use at each well; dedicated, labeled, and stored in the same manner as tubing; decontaminated by circulating decontamination fluids through the pump as described below]

All sampling-related equipment including filtration devices, personal protection gear and materials coming into contact with actual sampling equipment or with sampling personnel will be decontaminated.  {If using bailers, sampling pumps and tubing that are permanently installed or dedicated to individual wells, state that they are exempt from field decontamination.}  Decontamination will be performed before, between and after working at each sampling point.  {Here specify where decontamination will be performed for all equipment:} [....in a lab or controlled “clean” room, at a decontamination station in the field, at each individual sampling point in the field]  All equipment will be handled in a manner that will minimize cross-contamination between wells and avoid introducing surface or ambient air contamination into a well.  Equipment used during purging or sampling will be thoroughly cleaned prior to use in each individual well even when the wells are located close to each other.  After cleaning, the equipment will be visibly inspected to detect sticky residues or other substances that may survive normal cleaning.  If inspection reveals that decontamination was insufficient, additional measures will be implemented as needed and documented.

Before mobilizing for field work or performing any decontamination, a source of “control” water and organic-free reagent grade deionized water for decontamination will be selected and evaluated.  The evaluation process will include sufficient laboratory analysis to assess the suitability of the proposed water.  The proposed decontamination water will only be used for decontamination if analyses indicate it is appropriate for the complete set of project analytical parameters.  The inorganic desorbing agent described below will be 10% [nitric {avoid when nitrogen species are the focus of the investigation}] [hydrochloric] acid solution made from reagent grade acid and deionized water {a 1% solution is safer for low carbon steel equipment}.  The organic desorbing agent described below will be pesticide grade [isopropanol] [acetone] [methanol].  Equipment will be decontaminated in the following manner:

Equipment that does not contact sample water or the inside of the well

clean (inside and out where possible) with a hot water pressure washer [steam cleaner] filled with clean water

[clean (inside and out ) with an Alconox/clean-water solution - applied with a scrub brush where practical]

rinse with clean control water

inspect for remaining particles or surface film and repeat cleaning and rinse procedures if necessary

B.  Equipment that contacts sample water or the inside of the well

clean (inside and out where possible) with an Alconox/clean-water solution - applied with a scrub brush made of inert materials

rinse with clean control water

inspect for remaining particles or surface film and repeat cleaning and rinse procedures if necessary  {If the sampling objective is only to obtain a gross, qualitative evaluation of contamination, the above procedures may be sufficient.  If parameter-specific evaluation at trace level concentrations is necessary, addition of the following procedures are suggested to meet data quality objectives.}

rinse with an inorganic desorbing agent {delete if samples will not be analyzed for inorganic chemicals.}

rinse with clean control water

rinse with an organic desorbing agent {delete if samples will not be analyzed for organic chemicals}

rinse thoroughly with laboratory controlled deionized water

shake off remaining water and allow to air dry

The internal surfaces of pumps {here specify any other equipment that should be decontaminated internally} and tubing that cannot be adequately cleaned by the above methods alone will also be cleaned by circulating decontamination fluids through them.  The fluids will be circulated through this equipment in the order shown above under “B”.  Special care will be exercised to ensure that the “rinse” fluids will be circulated in sufficient quantities to completely flush out contaminants, detergents and desorbing agents.

When transporting or storing equipment after cleaning, the equipment will be protected in a manner that minimizes the potential for contamination.  Sampling pumps will be totally enclosed in a clean [PVC] case capped at both ends.  If the case is used to transport used pumps, the case will undergo the same decontamination process as the pump before being used again.  The tubing will be placed in a clean, inert plastic bag.  {Here specify other equipment to be wrapped in inert plastic or aluminum foil}.

2.7 Selection Of Sample Collection Techniques

Sample collection techniques as detailed in this document have been tailored to the goals of this sampling event and the individual characteristics of this site.  A summary of the sampling goals and the pertinent site/well/contaminant characteristics is given in the Sampling Plan.  The techniques described herein are scientifically sound and widely used in this industry [except for the following innovative techniques:.(specify those techniques here)].  {If bailers are proposed in place of pumps for purging or sampling, specific recommendations for their use can be found in “Optimal Bailer Operation” beginning on page 54 of the main body of the MPCA Ground Water Sampling Guidance Document}

2.8 Order Of Sampling

Where water quality data are available, purging and sampling of wells will begin with the least contaminated wells and proceed to increasingly contaminated wells.  Where the distribution of contaminants is not known, purging and sampling activities will begin with wells considered to be upgradient from likely source(s) of contamination and finish with downgradient wells closest to suspected contamination.  Where application of the term “upgradient” may not be applicable and previous water quality data are not available, wells considered to be background wells will be purged and sampled first.

For each set of equipment, for example, a pump and tubing, both the purging and the sampling will be completed for the first well without removing the pump or tubing before beginning purging at subsequent wells.  The order in which wells will be sampled is shown in Table A-2.

3.0 PRELIMINARY FIELD WORK

{For technical guidance, refer to page 61 of the MPCA Ground Water Sampling Guidance document: Chapter Four, Section 4.3: “PRELIMINARY FIELD WORK”}

The following procedures will be implemented to ensure representativeness of samples collected by methods in Section 4, “Sample Collection”.

3.1 Field Inspections And Field Decisions

Before purging or sampling, all wells will be inspected to verify well depth and that the annular seal is intact at the surface.  The well depth will be measured with the same instrument used to measure the water level, however, a weight may be attached to the measurement device for sounding the well bottom.  This sounding device will also be decontaminated in the same manner as specified for making water-level measurements (Section 3.3).  The well depth will be recorded to the nearest 0.1 feet.  In addition, the condition of any relevant facts regarding the general physical condition of the well, the surrounding soil and vegetation or other objects in the immediate vicinity of the well will be inspected. Any unusual condition including the presence of wind-blown dust or odor in the ambient air will be recorded on the Sampling Information Form (SIF) (Appendix A4).  Details will be noted in the field sampling log and summarized in the Sampling and Analysis Report.  More specifically, any hint of odor or free product in the well will be noted on the SIF and in the Sampling and Analysis Report.  If any condition that may interfere with obtaining representative analytical results is discovered, the condition will be rectified before sampling of the dissolved phase of well water proceeds.

Field decisions to make minor changes to this protocol can be made by the field crew leader.  The decision will be reviewed with the project manager (in consultation with the lead technical staff person if appropriate) at the end of the day to decide whether or not any wells need to be re-sampled.  For significant changes to this protocol, approval will be obtained in advance from the project manager.  The project manager will review any changes to the protocol that may adversely affect results with the appropriate regulatory staff before proceeding.  The decision and exact change of procedure will be recorded on the SIF and reported in the Sampling and Analysis Report in a manner that clearly indicates which data sets may have been affected by the change in protocol.

3.2 Detection Of Immiscible Layers

Immediately upon opening the well, and before purging, the air inside the well will be tested with an organic vapor detecting device.  [specify the device here].  The measurement will be recorded on the SIF.  If immiscible layers of contaminants (free product “floaters” or “sinkers”) are suspected or seen or if odors or an oil sheen are observed, special procedures will be followed to characterize the distribution of contaminants in the water-yielding zone adjacent to the well screen.  Because free product can accumulate anywhere from the top to the bottom of the water column, the normal sequence of purging and sampling will be preceded by a free-product evaluation step to allow for the best characterization of nearby contamination.

Based on site-and well-specific information, a decision will be made regarding the number and depth of discrete, depth-specific, samples needed.  If free product is suspected but the source not clearly defined, separate samples will be collected from at least the top and the bottom of the water column before purging.  The discrete interval samples will be collected in a manner that disturbs the water column as little as possible; sampling will begin with the interval closest to the top of the water column and proceed downward.

More specifically, a bailer will be used to collect any pre-purging samples from the water table surface and a thief sampler will be used to collect any pre-purging discrete-interval samples from below the top of the water column.  The thief sampler will remain closed (sealed) while being lowered through the water column, will be opened at the bottom of the well and will be completely closed again while being raised back up through the water column.  In addition to any discrete-interval samples collected, an additional sample will be collected from near the middle of the water column after normal purging.  Analytical needs for these three samples will be reviewed with the appropriate regulatory agency representative to determine which analyses are required for each sample.  Visual screening or sequential analysis of samples may eliminate the need to analyze all samples collected in some circumstances.

The presence and characteristics of any detected immiscible layers will be noted on the SIF.  An attempt to measure the thickness of any free product will be made using the following equipment: [e.g., an interface probe].  General procedures for detection and sample collection of immiscible layers will be in accordance with guidance provided in the U. S. EPA Technical Enforcement Guidance Document (U.S. EPA, 1986, page 100-102); specific detailed procedures actually used in response to site/well conditions will be recorded on the SIF and included in the Sampling and Analysis Report.

3.3 Water-Level Measurements

Prior to any well evacuation or sampling, initial static water levels will be measured and recorded for all wells.  This is done to facilitate selection of the proper pump intake depths for purging and sampling and calculation of the ground water flow direction.

During initial static water level measurement, a minimum of two water level measurements will be made at each well.  If there is poor agreement between the first and second static water level measurements (i.e., a difference of more than 0.01 feet), data will be re-evaluated for measurement errors, unsuspected pumping that may be causing transient changes in gradient, etc.  If the disagreement cannot be rectified, a third static water level measurement will be made at each questionable sampling point to assess the true water level, verify non-steady state conditions, etc.

The sampling crew will make water-level measurements at all applicable site monitoring wells and piezometers within the shortest time interval practical to provide comparable numbers by which to calculate the ground water gradient.  A time limit exceeding [one] hour will be considered a reportable protocol exception for this sampling event.  An additional water level measurement will be taken immediately before purging at each well and a third will be taken immediately after sampling. These water levels will be entered on the SIF.

Water level probes will be decontaminated by triple-rinsing with clean control water and drying with clean [Kim Wipes tissue] before use in each well.  {for a disinfection procedure to minimize the possibility of cross-contamination of bacteria between wells, see Chapter Five, page 104, “Disinfection of Equipment” }  Water levels will be measured with an electric water-level sensor probe [steel tape] that has been calibrated within the last month and recorded to the nearest 0.01 foot.  The electric water-level sensor probe will be lowered down the well until the meter dial moves [or a tone sounds] indicating contact of the probe with the water surface.

The depth-to-water will be referenced to the measuring point marked at the top of the innermost well casing.  Where a measuring point has not been marked at the top of the casing, the measuring point will be assumed to be at the top of the innermost casing on the north side of the casing.  When reporting absolute water level elevation, this measurement will be converted to water level elevation (MSL) from the surveyed elevation of the top of the well casing.  The water-level data form shown in Appendix A4 will be completed for all wells where water level measurements are made:  Data will be entered in all applicable columns on this form.

3.4 Field Water-Quality Measurements

Specific conductance, pH, temperature, turbidity and dissolved oxygen [redox potential] will be measured in the field immediately before sample collection.  Calibration information and all measurements will be recorded on the Well Purging - Field Water-Quality Measurements Form (Appendix A4).  Measurement conditions and the steady-state value for each field water-quality parameter will also be noted on the SIF.

{ Editorial note: Without use of a well designed flow cell, procedures required to obtain meaningful field water quality data are much more complex.  Acquisition of reliable data requires a thorough understanding of factors affecting field readings, extensive training, and a lot of care and patience.  A limited amount of background information to facilitate the design of such procedures is provided in Chapter Four, page 64, “Measurements Without a Flow Cell” in Section 4.3 of Chapter Four.   If a flow cell is not used for any field water quality measurement other than turbidity, then the procedures used to make the measurements must be detailed in this section.}

All measurements except for turbidity will be taken within a closed flow cell designed to allow measurement of these parameters while minimizing changes in temperature, pressure, and dissolved gases from the in -situ aquifer environment.  The flow cell has the following characteristics:

( Air tight fittings for installation of all probes.

( Intake is connected directly to the pump discharge line.

( Resides in a water bath kept at a temperature close to the in-situ ground water temperature.

( A discharge line at least 3 feet long that is connected to the flow cell with an air tight connection.

( A maximum volume of no greater than five times the per minute volumetric rate of inflow to the cell to maintain measurement sensitivity to temporal changes in water quality.

( A minimum volume of 500 ml to provide enough thermal mass to minimize external temperature effects.

( The flow cell will be shielded from strong winds and on hot days it will be shielded from direct sunlight.

The operation of the probes will be as follows:

1. the flow of extracted ground water through the flow cell will be maintained as continuous and steady as practical throughout the measurement period.

2. discharge velocities through the flow cell are kept low enough to prevent streaming potential problems with probes.

3. all probes will be fully immersed without touching the sides of the air tight, non-metallic flow cell.

4. all probes will be allowed to equilibrate with fresh well water for five minutes before recording measurements.

Specific procedural details for measurement of individual field water quality parameters are specified below.  General care, maintenance, calibration procedures, and operation of each measurement device will also follow manufacturers specifications as detailed in the instruction/owner’s manual for each device. [Selected excerpts from manuals providing procedural details are provided in Appendix A5].  Where there are differences in procedures as defined in this document compared to manuals accompanying measurement devices, the procedures in this document will take precedence. [The procedures in this document have been checked to be at least as rigorous as those defined in the manuals.]

Specific Conductance

The conductivity cell will be soaked (stored) in distilled or deionized water for at least one hour before use.  The conductivity meter will be calibrated each day before taking measurements at the first site.  The conductivity cell will be inspected to be sure it is in good condition with no chips in the coating.  While the meter is still off, the needle will be checked to see that it points to zero.  If not, the needle will be adjusted to point to zero.  Next, the selector will be set to “red line’. and the needle will be adjusted to the red line, if necessary.

To find the cell constant (k), the probe will be immersed in ASTM D1125 standard potassium chloride reference solution.  A standard solution with a conductance value relatively close to that expected in the ground water to be tested will be used: [usually 1000 micro-Mhos per cm2].  The conductivity standard calibration solution will be labeled to show the date of preparation, check-marked to show the number of times used and replaced at regular intervals of no more than three months or 10 uses which ever comes first.  The probe will be fully immersed but will not be allowed to touch the non-metallic container.  After selecting the appropriate magnitude scale, the reading taken in the calibration standard will be recorded.  This reading will be compared with the chart value for the standard reference solution at the temperature of the solution.  The cell constant is calculated as follows:

k = value from the chart divided by the meter reading.

While making field measurements, the true electrical conductivity, (EC) = meter reading x k will be recorded.  Before taking conductivity measurements in the field the mechanical zero and red line settings will be checked at each sampling point as explained above.  The meter will be left in the “on” position and the probe will be fitted into the flow cell for measurement of fresh ground water.  The probe will be fully immersed without touching the sides of the non-metallic flow cell.  Each measurement will be calculated in the following manner:

meter reading x scale magnitude x cell constant = EC (micro-Mhos/cm).

Both the EC and specific conductance (SC) measurements will be recorded on the appropriate field forms.  The specific conductance (EC corrected to 25 degrees Celsius) will be calculated from the EC and the water temperature.  The SC value will be taken from the conversion table provided in the EC meter instruction manual and recorded in micro-Mhos/cm to three significant digits.  The SC (not EC) will be used to determine when stabilization is reached.  {If the instrument automatically corrects EC to 25 degrees Celsius, then this paragraph should be modified}.

Temperature

At the beginning of each day of field operations, the temperature probe will be inspected and compared in a water bath to a mercury thermometer capable of being read to the nearest 0.1 degrees Celsius to assure it is in good operating condition.  The measured ground water temperature will be recorded to the nearest 0.1 degrees Celsius.

pH

Personnel using pH measuring equipment will read the manufacturer’s instruction manual carefully before recording any measurements.  Special care will be taken to protect the fragile glass bulb on the end of the pH electrode.  Careful handling includes all steps from the manner in which the cap is taken off the electrode and includes keeping the electrode tip moist between sampling points.

Before sampling is begun for the day, the pH meter will be calibrated by a two-point calibration method.  If the meter is shown to hold its slope well over time, routine calibration later in the day can be accomplished by calibrating the meter with only one buffer.  The single buffer calibration will normally be accomplished using a pH = 7 buffer for natural waters.  At a minimum, the pH meter will be calibrated by a single-point calibration method before taking measurements at each new sampling point or every two hours, whichever comes first.  Before calibration and before the first measurement at each sampling point, the electrode will be held by the cap and given a few downward shakes to clear any bubbles.  Then the bulb will be checked visually to verify that the bulb has not dried out and that there are no air bubbles.

For the two-point calibration method, two buffers with pH values representative of the range of values expected in the field will be used to check the slope (span) of the meter.  Typically, a pair of buffers with pH = 4 and 7 or, alternately, of pH = 7 and 10 will be used for the two-point calibration.

Because the pH of buffer solutions vary with temperature, the actual pH (e.g., pH = 4.07 vs. 4.00) of the buffer solution at its current temperature will be used for calibration.  The actual pH of the buffer at its temperature of measurement will be determined from manufacturer documentation accompanying the buffer.  The exact pH of the buffer solutions at 2- to 5-degree intervals for the range of buffer temperatures expected will be recorded in indelible ink on the buffer solution bottles.  Under extreme or variable temperature conditions, the buffers will be placed in a water bath (from the well discharge when practical) to minimize temperature-correction errors.  Only fresh buffer solutions will be used.  Care will be taken not to dilute or contaminate the buffer solutions.  Buffer solutions will be discarded after the tenth calibration or four weeks after the first use of the solution, whichever occurs first.  pH meter calibration will be performed as follows:

The pH meter’s temperature compensation control will be set to the current temperature of the buffer solution.

The pH meter electrode will be rinsed with distilled water and the excess water will be shaken off.

The electrode will then be stirred and left immersed in the buffer container until it stabilizes.

While immersed in the first buffer solution, the calibration control will be adjusted until the display matches the known pH of the buffer.

Steps 2 and 3 will then be repeated to prepare for the second buffer.

Step 4 will be repeated for the second buffer.

If measurement of the second buffer does not give a satisfactory reading the slope control will be adjusted.

Steps 2-7 will be repeated until both buffer solutions yield satisfactory readings (within approximately 0.02 pH units of the actual value on both ends of the measured scale).

After calibration is complete, step 2 will be repeated before measuring the pH of well water.

After allowing the pH probe to equilibrate with a continuously replenished supply of fresh aquifer water for a minimum of five minutes, the first pH measurement will be recorded.

Dissolved Oxygen

Personnel using dissolved oxygen measuring equipment will read the manufacturer’s instruction manual carefully before making dissolved oxygen measurements.  Special care will be taken to store the probe in a humid environment and to otherwise protect the delicate membrane on the end of the probe.  The membrane will be replaced every two to four weeks.

The dissolved oxygen meter will be calibrated according to manufacturer’s specifications before taking measurements at each new sampling point or every two hours, whichever comes first.  When dissolved oxygen readings less than or equal to approximately 1.0 mg/L are expected, the meter will be calibrated in a mode (if available) that enhances accuracy at low concentrations. { For example, YSI’s dissolved oxygen meter does this by offsetting the meter zero.}  The calibration method will be recorded on the Well Purging - Field Water Quality Measurements Form.  Measurements will be taken as follows:

The membrane at the tip of the probe will be checked visually to verify that it is in good condition.

A submersible stirring device will be operated adjacent to the membrane during dissolved oxygen measurements.

After allowing the dissolved oxygen probe to equilibrate with a continuously replenished supply of fresh aquifer water for a minimum of five minutes, the first measurement will be recorded.

Readings should appear stable on the display to be considered valid.  If unstable readings are recorded, they will be footnoted when recorded and the non-stable measurement conditions will also be clearly stated in the final Sampling and Analysis Report.  Readings will be reported to the nearest 0.01 mg/L dissolved oxygen.

Turbidity

Turbidity meter calibration and measurement techniques will follow manufacturer recommendations except where they conflict with statements in this paragraph.  Measurements will be made inside a glass or transparent plastic bottle filled directly from well discharge in the same manner as samples are collected.  Measurements will be taken immediately after filling the container to minimize bias due to particulate settling.

3.5 Well Purging And Stabilization

Only wells that were properly installed and developed at least two weeks in advance will be sampled.  Before a well is sampled for the dissolved phase, it will be evacuated to ensure that samples contain fresh formation water.  While the well is being purged, water quality parameters described above in Section 3.4, “Field Water-Quality Measurements”, and the quantity of water evacuated will be recorded on the Well Purging - Field Water Quality Measurements Form.

If the turbidity during purging cannot be reduced to 5 Nephelometric turbidity units (NTU) or less, additional well development will commence to reduce turbidity to a level acceptable for sampling.  After the monitoring well has been developed to yield water of acceptable turbidity, at a rate indicating good hydraulic communication with the targeted water-yielding zone, a period of two weeks will be allowed to pass before purging and sampling commences.  If well completion follows initial well development, the two week minimum waiting period will begin when well completion is finished.  During development and evacuation, no water will be added to the well.  One or more of the following techniques will be used for well development:  mechanical surging with a surge block, cycles of bailing followed by intervals of well recovery, and pumping followed by intervals of well recovery.  Air jetting will not be used.

The drawdown response of wells versus withdrawal rates will be tested before the first day that samples are collected for chemical analysis.  Guidance on the reverse side of the Purging and Sampling Rate Test Form (Appendix A4) will be followed to select appropriate purging and sampling rates for each well.  The test will provide a plot of specific capacity (pumping rate per foot of drawdown, e.g., gallons per minute/foot of drawdown) versus pumping rate for each well.  A purging rate (Table A-3) that will result in a minimum of drawdown while still allowing the well to be purged in a reasonable length of time will be used and recorded on the SIF.  However, the maximum purging rate will be 500 ml per minute.  Care will be taken to avoid any significant amount of cascading or turbulence in the well.

Wells with extremely slow recharge rates due to tight formation materials, may require alternate purging and sampling methods.  If normal purging is clearly impractical, the well will be pumped to near dryness and allowed to partially recover (a reasonable amount of time) two times before sampling.  Sampling will then commence as soon as possible after the third evacuation.  {The maximum recommended limit is two hours, however, data for sensitive parameters may be considered questionable unless sampling occurs very soon after purging}  The conditions and procedures actually used will be clearly noted on the SIF and in the Sampling and Analysis Report as an exception to protocol.

Wells that do not have extremely slow recharge rates will be purged and sampled as described below.  Purging will be conducted in a manner that, to the extent practical, removes all the “old” water in the well so it is replaced by fresh ground water from outside the well installation.

The well will be purged by withdrawing water from within two feet of the top of the water column.

Repeated vertical adjustment of the purging equipment intake may be necessary as the water level drops.

Positive displacement submersible bladder pumps will be used for both purging and sampling.

Sampling will immediately follow purging.

Well evacuation will be continuous between purging and sampling.

The same pump will be used for both purging and sampling at each individual well.

Neither air lift pumps or any other method device that significantly aerates well water or otherwise creates significant turbulence will be used at any time during the purging or sampling of wells.

Field water quality parameters will be measured for stabilization after each water-column volume is purged.  One water-column volume is defined here as equal to the volume of a cylinder with a height (h) equal to that of the Static Water Column inside the well and a diameter (d) equal to the diameter of the well casing (Volume = ((d/2)2h). The following target criteria for three consecutive measurements (one water-column volume apart) will be used to demonstrate stabilization:

( pH +/- 0.04 units

( temperature +/- 0.1 degrees Celsius

( specific conductance (temperature corrected EC) +/- 5%

( dissolved oxygen +/-0.5 mg/L [redox potential +/-20 mv]

( turbidity: less than or equal to 5 NTU {10 NTU may be acceptable when not sampling for sensitive parameters such as trace metals or trace organics.}

Samples for laboratory analysis will be collected only after a minimum of three water-column volumes have been purged and stabilization of field water-quality parameters has been demonstrated by meeting the target criteria defined in the preceding paragraph.  If field parameters do not stabilize after approximately five water-column volumes, then field staff will check operator procedures, equipment functioning and well construction information for potential problems.  In particular, field staff will re-evaluate whether or not water is being withdrawn from the appropriate depth to effectively evacuate the well.

If all the checks produce no new insight, a decision might be made to collect samples after five or more water-column volumes have been purged even if field measurements have not stabilized.  Before authorizing the laboratory to analyze samples, the meaningfulness and value of completing laboratory analysis of the sampling suite will be evaluated by reviewing the results of field measurements, well construction data, site hydrogeology, etc.  Where such data is presented, it will be clearly documented that stabilization was not achieved; at a minimum, this fact will be reported on the SIF and in the Sampling and Analysis Report.

As with water from well development, purge water will be properly stored, tested, and disposed of in accordance with all applicable rules including Minnesota Rule 7060.  Fifty-five gallon drums will be located at each of the wells to collect water removed from the wells during development or evacuation.  No significant amount of well water will be emptied or discharged onto the ground surface unless analytical data are available and indicate that the water is not contaminated.  After water analyses become available, and appropriate disposal alternatives are evaluated, the water will be disposed of in an environmentally safe manner that does not conflict with any applicable rules.

4.0 SAMPLE COLLECTION

{For technical guidance, refer to page 75 of the MPCA Ground Water Sampling Guidance document: Chapter Four, Section 4.4: “SAMPLE COLLECTION”}

This section describes procedures for setting the sampling pump and collecting ground water samples.  Field data for these items will be recorded on the SIF for each sampling point.

4.1 Pump Setting

A two-inch submersible bladder pump [insert actual sampling device to be used] [provide type and model #] will be used as the default device for sample collection.  If well recovery is so slow that a satisfactory water column height (for normal pump operation) is not reached in a reasonable amount of time, a zero submergence bladder pump [Teflon( bailer] will be used for sample collection.  The SIF will show what type of pump [or bailer] was used to sample each well.  If any device other than the one described above is used, it will be reported as a protocol exception.

Following purging, the water level will be checked with a clean measurement device (cleaned according to the decontamination procedures above).  The pump intake will be adjusted, if necessary, so it is set inside the screened interval at approximately two feet below the water surface inside the well to collect samples.  The water level measurement will be compared to the static water level and the pump intake setting.  This comparison will be used to verify that drawdown is minimal at the purge rate and that the pump intake is located approximately two feet below the top of the water column.  [In very slowly recharging wells, the pump intake will be set approximately two feet from the bottom of the well to minimize aeration problems]  {Note for alternate scenario where static water level is sufficiently above the top of the screen: the sampling pump intake should be set at approximately two feet above the top of the screen and at least two feet below the top of the water column.}

The same pump will be used for sampling as was used for purging.  Pumping will be continuous and sampling will immediately follow purging.  If pumping is not continuous it will be noted on the SIF.  The sample collection pumping rate will be less than or equal to the purging rate.  The sampling rate will be based on the purging and sampling rate test and will be less than or equal to 500 ml per minute.

Any final rinse water remaining in any portion of the sampling pump or discharge lines will be completely purged with fresh well water before filling sampling containers.  To insure this, at least two tubing-volumes will be purged from discharge lines before sample collection begins.

4.2 Sample Filtration

Table A-1 identifies which sample containers will be filled with sample water that has been filtered in the field.  Sample filtration will be completed as follows:

The filter holder and new filter will be thoroughly pre-rinsed with laboratory-controlled deionized or distilled water before use.

The new filters will be flushed with fresh sample water a minimum of two minutes before collecting samples.

The filter will be connected directly to the well sampling pump discharge line using positive pressure to force the sample through the filter.

From the filter, the flow will be routed directly into the sample collection container.

A [0.45] micron pore size filter will be used.

The flow rate will not exceed 500 ml per minute.

Agitation and aeration of the sample will be minimized.

Teflon( tubing will be used for the pump and filter discharge lines.

4.3 Filling Sample Containers

Table A-1 summarizes the sample container type, filling  method, preservation method and holding time for each analytical parameter set.  To clarify and supplement the summary in Table A-1, the manner in which containers will be filled is described below in subsections of 4.3.

Individually prepared bottles will not be opened until they are to be filled with water samples.  Special care will be taken to ensure that the procedures listed below are followed:

The area surrounding the wellhead will be kept as clean as practical to minimize the potential for contamination of samples.

Care will be exercised to minimize the potential for airborne contamination of sample water during collection.  If vehicles or generators are left running during sample collection, containers will be filled upwind from engine exhaust sources.  If conditions are dusty, an effort will be made to shield the sample collection area from windborne contamination.  {Protocol developers may want to specify that a sampling chamber be used for maximum protection against ambient background contamination, dust, wind, intense sunlight, etc. while sample containers are being filled.  At its simplest, a sampling chamber could be a box-like container constructed of an appropriately inert and rigid material with one side panel open.  Thoroughly flush the container with fresh air between samples (or use a disposable container, e.g., an inert plastic bag) to prevent carryover contamination from vapors trapped inside the chamber.}.

A clean and dry sheet of relatively inert plastic shall be placed on the ground surface in the wellhead area.  If materials used in the sampling process must be put down, they will be placed on a clean portion of the plastic sheet instead of the ground surface.

A clean pair of [ ] {specify glove type: appropriate gloves should be specified in the Health and Safety plan but should be made of material that will not contribute contaminants to sample containers} gloves will be put on at the onset of sampling activities at each new sampling point.

Sampling personnel will keep their hands as clean as practical and replace gloves if they become soiled while performing sampling activities.

Sampling personnel will not touch the inside of sampling containers, inside of bottle caps or rim of sample containers.  If contact occurs, sample containers will be replaced.

At the well, bottles will be labeled and chain-of-custody sections will be filled out by the field personnel according to procedures described below in Section 5: “Documentation of Sampling Event”.  To prevent a mix up with sample bottle identification, no sampling-point specific information such as “well name” will be filled out in advance.  Chain of custody information will be completed before leaving the sampling point.  Laboratory-prepared bottles will be used to assure quality control.

The order of filling bottles with water to be analyzed will be as follows:

major and minor ions

nitrates

cyanide

trace metals

chromium VI

“miscellaneous” parameters

volatile organics

non-volatile organics

dioxin and dibenzo furans

coliform bacteria

total organic carbon

total phosphorus

sulfide

radium, gross alpha, and gross beta

[This order will be reversed in very slowly recharging wells.  This reversal will be noted on the SIF.]  Replicate samples will be collected sequentially as described in Section 4.4: “Field Blanks, Replicates and Split Samples”.  Methods for filling sample containers for individual analyses are described below.

The sample water discharge point at the end of the tube will be held as close as possible to the sample container without allowing the sample tubing to contact the container.  [The exception to this rule is for dissolved oxygen and chemical oxygen demand samples where the container is filled from the bottom up by inserting the tube into the bottom of the container.]  At a minimum, sampling personnel will use their body to shield the sampling container from wind and airborne dust while filling.  When strong winds, heavy rain, or dusty conditions are present, additional measures will be implemented to guard against background interference.

Major and Minor Ions

Sample containers used for analysis of major and minor ions will not be rinsed.   {Rinsing is optional (but unnecessary) if containers have been properly cleaned and do not contain preservatives.}  Containers will be filled completely with unfiltered sample water.

Nitrate

Sample containers for nitrate analysis will be prepared in advance by the laboratories with H2SO4 as a preservative.  The containers will be filled approximately 95% full with unfiltered water.  Containers will not be rinsed or overfilled at anytime in the field.  Samples will be checked with pH paper in the field to verify that the pH has been lowered to less than or equal to pH = 2.

Cyanide

Sample containers for cyanide analysis will be prepared in advance by the laboratories with NaOH as a preservative.  The containers will be filled approximately 95% full with unfiltered water.  Containers will not be rinsed or overfilled at anytime in the field.  Samples will be checked with clean pH paper in the field to verify that the pH has been raised to greater than or equal to pH = 12.

Trace Metals

Sample containers for general trace metals analysis will be prepared in advance by the laboratories with HNO3 as a preservative.  This will insure that samples will be acidified as soon as they are collected.  Containers will be filled approximately 95% full.  Containers will not be rinsed or overfilled at anytime in the field.

Two samples will be collected for general trace metals analysis.  The sample bottles will be clearly labeled as “filtered” and “unfiltered.”

The unfiltered sample will be analyzed automatically.

The filtered sample will only be analyzed if judged necessary after reviewing the unfiltered metals results.  Sample water for the second (i.e., the filtered sample) trace metals analysis container will be filtered through a [0.45] micron pore size filter unit before filling the laboratory prepared bottle.  New filters will be used for each sample.

[If sample water is too turbid to field filter and a protocol exception has been pre-approved by the appropriate regulatory agency, it will be collected in a new unacidified container, put on ice, and immediately delivered to the laboratory for filtration and acidification.  Unacidified metals sample bottles will be filled completely.]

Whether filtered or not, samples for metals analysis will be collected in a manner that minimizes turbulence and aeration and then acidified immediately as described above.  Plastic containers will be used for sample collection.  The acid will be produced/controlled within the applicable QA/QC program to ensure that it is pure enough (e.g., Ultrex or pure acid diluted with triple distilled water) with regards to metals to avoid a false positive analytical result.  {Although water for mercury analysis will be collected in the same container as the general trace metals, it has a separate listing in Table A-1 because its holding time, 28 days, is much shorter than the other metals.}  Ground water samples for Chromium VI analysis are collected in separate containers as described below.

Chromium VI

Sample containers for chromium VI will be completely filled with sample water. Containers will not be rinsed.  As with general trace metals, one filtered and one unfiltered sample will be collected.  The filtration method will be the same as for other trace metals.  Chromium VI samples will not be acidified.  These samples will be delivered to the laboratory quickly to allow analysis within the 24-hour holding time.

Miscellaneous Parameters

The sample containers for laboratory analysis of miscellaneous parameters - total dissolved solids, total suspended solids, specific conductance, and turbidity - will not be rinsed in the field or allowed to overflow excessively during sample collection.  The containers will be filled completely.

Volatile Organics

Forty ml purge and trap vials will be filled in a manner that minimizes turbulence, entrapment of air and overfilling.  They will not be rinsed in the field but will be completely filled in a manner that leaves a positive meniscus at the top of the vial.

Hydrochloric acid prepared specifically for volatile organics analysis by the laboratory will be used to preserve samples.  [The acid will be added to vials at the laboratory in advance of sampling.  Extra caution will be exercised to minimize overfilling.]  [After completely filling vials, the acid will be added immediately with an eye dropper.  Field personnel will add the number of drops specified by the laboratory to bring the pH to less than or equal to pH = 2.]  Following acidification, the vials will be capped immediately.  To avoid unwanted volatilization, the samples will not be checked with pH paper in the field.]

Non-Volatile Organics

As defined here, “non-volatile organics” (meaning organic compounds that are not highly volatile) include the following sets of parameters: base-neutral/acid extractable organics, phthalate esters, polychlorinated biphenyls (PCBs), phenols, polyaromatic hydrocarbons, chlorinated herbicides, organochlorinated pesticides & PCBs, and organophosphorus pesticides.  Sample containers used for non-volatile organics analysis will not be rinsed in the field or allowed to overflow excessively during sample collection.  Containers will be filled completely.

Dioxin and Dibenzo Furans

Dioxin and dibenzo furans will be collected in a separate one-liter amber glass container.  Collection and preservation techniques are the same as for the other non-volatile organics as described above.

Equilibrium Geochemistry Parameters

As defined here, equilibrium geochemistry parameters collected for laboratory analysis include the following parameters:  pH , alkalinity, [dissolved oxygen], and [Eh]. Samples will be collected by delivering sample water to the bottom of containers via tubing until approximately two container-volumes have overflowed from the container.  The containers will be filled completely and then capped promptly.  The pH container will be filled with unfiltered sample water. The alkalinity container will be filled with filtered sample water.  [The dissolved oxygen [and Eh ] container[s] will not be used for other analyses.]

Coliform Bacteria

Unfiltered sample water for coliform bacteria will be collected in laboratory supplied sterilized and pre-treated plastic containers.  The containers will be partially filled, leaving a one-inch head space.  The sample container will be kept unopened until the moment it is to be filled and care will be taken to prevent contamination of the rim or inside of the container.  More specifically, neither hands, gloves, tubing or anything else other than atmospheric air and the sample water will be allowed to contact the inside or rim of the container or the inside and rim of the cap.

Total Organic Carbon

Sample containers for total organic carbon (TOC) analyses are prepared with H2SO4 by the laboratory and will be filled to about 95% capacity without rinsing or over filling.

Total Phosphorus

Sample containers for total phosphorus analysis will be prepared in advance by the laboratories with H2SO4 as a preservative.  The containers will be filled approximately 95% full with unfiltered water.  Containers will not be rinsed or overfilled at anytime in the field.  Samples will be checked with pH paper in the field to verify that the pH has been lowered to less than or equal to pH = 2.

Sulfide

Sample containers for sulfide analysis will be prepared in advance by the laboratories with zinc acetate and sodium hydroxide as a preservatives.  The containers will be filled approximately 95% full with unfiltered water. Containers will not be rinsed or overfilled at anytime in the field.  Samples will be checked with pH paper in the field to verify that the pH has been raised to greater than or equal to pH = 9.

Radium, Gross Alpha, Gross Beta

Sample containers for radium, gross alpha, and gross beta analysis will be prepared in advance by the laboratories with HNO3 as a preservative.  This will insure that samples will be acidified as soon as they are collected.  Containers will be filled approximately 95% full.  Containers will not be rinsed or overfilled at anytime in the field.  Samples will be checked with pH paper in the field to verify that the pH has been lowered to less than or equal to pH = 2.

4.4 Field Blanks, Replicates And Split Samples

Sample blanks, will be collected to detect background or method contamination.  Replicate samples [and split samples] will be collected to evaluate variability in analytical methods.  QA/QC samples will be collected at sampling points suspected to have relatively higher levels of contamination to provide meaningful information for blank or duplicate sample evaluation.  All QA/QC samples will be collected in the same type of container as the corresponding primary samples.  All QA/QC samples will be assigned identification aliases on the sample bottle label and on the chain of custody sheet to avoid alerting laboratories that the sample is a blank or replicate sample.  The true identity of the QA/QC samples will be recorded in the field sampling log.

The collection schedule for QA/QC samples will be as follows:

one trip blank (composed of three replicate vials) for each cooler of VOC samples

one field methods (equipment) blank each day by each field sampling crew (or one field blank for every tenth primary sample if it results in more blanks collected)

one field ambient air blank each day by each field sampling crew (or one field blank for every tenth primary sample if it results in more blanks collected)

at least one replicate set for every ten sets of samples collected

at least one surrogate spike for each ten sets of samples collected (surrogate spikes will be prepared by an alternate laboratory [specify name] but submitted to appear as a normal primary field sample to the laboratory performing the analysis [specify laboratory name])

For each type of QA/QC sample, containers will be prepared and submitted for the following analyses:

trip blank: [purgeable halocarbons, purgeable aromatics]

field methods (equipment) blank: [purgeable halocarbons, purgeable aromatics, trace metals, non-volatile organics, dioxins and furans, and total coliform bacteria.]

field ambient air blank: [purgeable halocarbons, purgeable aromatics, trace metals]

replicates: all analytical parameters

surrogate spikes: all analytical parameters

Field Blank Samples

Methods that will be used for preparing field blank samples are described below.

Trip blanks for VOCs will be filled and sealed by [the primary volatile organics analytical laboratory] with laboratory-controlled, [HPLC-grade], organic-free water.  The 40 ml, purge and trap, blank sample vials will travel with the actual sample vials to and from the field in the cooler, to the well head, etc., so that the blanks are exposed to precisely the same conditions as the actual samples. The bottle blanks will not be opened until they are analyzed in the laboratory along with the actual VOC samples they have accompanied.

Ambient air field blanks will be filled in the field.  VOC vials will be filled with laboratory-controlled, [HPLC-grade], organic-free water.  Trace metal containers will be filled with laboratory-prepared [triple distilled] water.  Containers will be opened and placed or held as closely as practical to the point (vertical positioning will be respected) at which actual sample containers are opened and filled.  The sample blank containers will be filled with the laboratory-supplied water by the same personnel and at approximately the same time as the primary (actual) samples are being collected.  The sample blank water in each container will be exposed to the air on site for an amount of time equivalent to that for filling and closing a primary sample container.

Field equipment/methods blanks will be collected in the field for trace metals, VOCs, non-volatile organics, and dioxins and furans.  Sample containers used for each blank will be the same as for the actual analysis of sample water for these parameter groups.  All containers shall be pre-cleaned within the laboratory’s QA/QC program in the same manner as primary sample bottles.  The sample blank containers will be filled in the field.  Laboratory-controlled, [HPLC-grade], organic-free water will be used to fill all organic blank samples.  Trace metals blanks will be filled with laboratory-prepared, triply distilled water.  The same preservatives will be added to both the methods blank and the primary samples.

{Collection of field equipment/methods blank samples should be conducted to simulate actual field sampling methods in a manner that would detect the presence of background or cross-contamination of samples from the ambient environment, preservatives or sampling equipment.  An effort should be made to have the blank sample water contact all the interfaces and preservatives (where applicable) that the sample water will contact.  These may include the sampling mechanism, ambient air, sample container and, when applicable, tubing, filtration membranes and preservatives.}

Sample blank water will be pumped out of a short section of (mock up) well casing by the sampling pump fitted with the same tubing used in the previously sampled well [assuming there is not a permanent sampling pump installation] and into the sample blank containers.  Blanks for filtered samples will be collected by passing the blank sample water through the filtration device and the same type of filters used for collecting the primary samples.

Trip blanks, consisting of a set of three pre-filled 40 ml purge and trap vials will accompany each cooler containing VOC samples. An ambient air field blank and a field equipment/methods blank sample will be collected sometime during the first day of each sampling event (round of sampling) and at every tenth sampling point.  [Sample documentation should indicate that the ambient air field blank samples need only be analyzed when the corresponding field equipment/methods blank detects contamination provided that no holding times would be exceeded.]

Field Replicate Samples

One field replicate sample set will be collected for every ten primary sampling sets.  Field replicate samples of actual ground water will be collected for the following parameters: [?]  The [state number (#) of replicates to be collected] replicate samples will be collected by sequentially filling all [#] containers as close together in time as practical with a sampling stream that is as steady and continuous as practical. The sequence number (first, second, etc.) and time filled will be listed in the field notebook.  The time that each individual container was filled will be listed on the container and on the Sample Identification - field chain of Custody Record (SI-FCCR) in the same manner as primary samples. [Here state which laboratory will receive which sequence numbers of each parameter type.]

Field Split Samples

Field split samples of actual ground water will be collected for the following parameters: [?]  The [state number (#) of split samples to be collected] split samples will be collected by filling the [#] subsample containers from a single homogeneous sample water [stream (divided just before discharge into sample containers)] [container] at the same time.  [Here state which laboratory will receive which split samples.]  [One field split samples will be collected for every ten primary sampling sets]  {Editorial note: Do not split VOC samples.}

5.0 DOCUMENTATION OF SAMPLING EVENT

{For technical guidance, refer to page 92 of the MPCA Ground Water Sampling Guidance document: Chapter Four, Section 45: “DOCUMENTATION OF SAMPLING EVENT”}

This sampling protocol includes the use of forms shown in Appendix A4; they are designed for documentation of field activities and collection of field data.  They also provide a means to verify whether or not this protocol was followed during a number of key steps in the ground water sampling event.  To fully implement the protocol verification facility of these forms, all entries on both sides of the forms will be completed before leaving the sampling point.  This includes filling in all blanks and circling or checking all choices, e.g., “yes” or “no” choices on the following forms:

Purging and Sampling Rate Test Form

Water-level Data Form

Well Purging/Field Water Quality Measurements Form

Ground Water Sampling Information Form

Sample Identification - Field Chain of Custody Record (SI-FCCR)

The following exceptions are allowed on all forms:

( Columns with blank headings don’t require an entry.

( Ditto marks or continuation arrows may be used in any column to indicate “same as above”; N/A or a horizontal line may be used to indicate “not applicable.”

( “Comment” fields may be filled in with a horizontal line to imply that nothing that could impact data or the validity of data was observed.

( The Project Name/# and Organization performing the work can be entered in advance.

( The IGWIS fields “Facility ID” and Station ID” can be filled out after leaving the sampling point.

Other exceptions include the following:

( Forms 1, 2, 3 and 5: only rows needed to document required tests, measurements, calibration, etc., will be filled.

( Form 1 will be implemented before initial well sampling but only once every two years.  The most recent test form will be submitted for each event.  Only columns with a check mark at the top need be filled.

( {Form 3: If your protocol does not include measuring all field water quality parameters listed on the form, then list that exception here.}

( Form 5 (SI-FCCR): the entire header block (upper one-sixth of the form) may be filled out in advance except for the “hazardous materials expected” field.

5.1 Sample Identification

The Sample Identification - Field Chain of Custody Record (SI-FCCR) in Appendix A4 will be completed as described above in Section 5.0, “Documentation of Sampling Event”.  All primary and QA/QC samples collected at a given sampling point over a discrete interval of time will be assigned the same sample event ID #.  This number is used to link that set of containers together and associate them with all of the information contained on the SIF.

The SI-FCCR will be at least a two-part (carbonless copy) form.  When samples are transferred to an analytical laboratory, the laboratory will receive only the laboratory part(s) of the form.  Information from the “Sampling Point”, “Location”, “Field Sample Event ID #” and “Sample Type” columns does not transfer to the laboratory part(s) of the form and, therefore, will not be disclosed to the laboratory.  {This feature is designed to hide the identity of quality assurance samples from laboratories.  If the protocol preparer does not have this type of multi-part carbonless form available, the protocol text could be modified to state that “these columns will be blocked out when making photocopies for laboratories.”}

Each SI-FCCR will contain a unique record number printed in the upper margin on the right side of the form.  The container’s row # appended to the record # on the form uniquely identifies each sample container (unique container ID #).  In the case of a multi-container set, such as a set of three associated VOC vials - the set is uniquely identified.  {Use of this identification system and the container labeling scheme listed below allows the MPCA data base (IGWIS) to receive data from the laboratory by direct electronic transfer without tipping off the laboratories as to the identity of QA/QC samples.}

Each sample container will be labeled with the following information using a waterproof marker on firmly affixed, water-resistant labels:

( unique container ID # (SI-FCCR #-row #) {may want to specify pre-printed labels that match SI-FCCR #}

( sample collection Date

( sample collection Time

( initials of person collecting sample

( analyses required {may want to specify pre-printed label}

( preservation method {may want specify pre-printed label when preserved at lab}

{may want to include sampling organization name on a pre-printed label}

Container information will be placed on labels at the sampling point at the time of sample collection with the following exceptions.  For containers receiving preservatives in advance, “analyses required” and “preservation method” will be entered onto labels by laboratory staff.  For containers receiving preservatives in the field, “preservation method” will be entered at the time individual containers are filled.

5.2 Chain Of Custody

A chain-of-custody record (SI-FCCR) will be initiated in the field at the time of sampling; a copy will accompany each set of samples (cooler) shipped to any laboratory.

Each time responsibility for custody of the samples changes, the new and previous custodians will sign the record and denote the date and time.  A copy of the signed record will be made by the receiving laboratory.  The final signed SI-FCCR will be submitted with analytical results in the Sampling and Analysis Report.

Field Chain of Custody Documentation

All signatures related to sample custody will be made in ink on the SI-FCCR in a timely fashion.  One or more signatures will be entered to identify the person or persons who are collecting the samples.  Each time the custody of a sample or group of samples is transferred, a signature, date and time will be entered to document the transfer.  The signatures, date and time will be entered at the time of transfer; the row # will be used to define which bottles were transferred.  A sample will be considered to be in custody if it is in any one of the following states:

in actual physical possession

in view, after being in physical possession

in physical possession and locked up so that no one can tamper with it

in a secured area, restricted to authorized personnel

A secured area such as a locked storage shed or locked vehicle specified in the “comments” column, may be used for temporary storage.  When using such an area, the time, date, and location of the secured area will be recorded in the “relinquished by” space.  The time at which an individual regains custody will then be recorded in the “received by” space.

Sampling personnel will receive copies of sampling plans prior to the commencement of the sampling event.  Pre-study briefings will be held to apprise participants of the objectives, sample locations, and chain-of-custody procedures to be followed.  After samples are collected under chain of custody tracking, a de-briefing will be held in the field to verify the adherence to the chain-of-custody procedures and to determine whether additional samples are required.

Chain of Custody During Shipping and Transfer of Samples

When samples are shipped, the person sealing the shipping container will enter the time, date and their signature on the SI-FCCR.  The laboratory part of the SI-FCCR will be enclosed in the container; the top page (first part) will be retained for the project manager’s file.  A post office receipt, bill of lading, or similar document from the shipper will be retained as part of the permanent chain-of-custody documentation.

One or more custody seals will be affixed over the opening of the shipping container in a manner that precludes opening the container without breaking the seal(s).  The container seal(s) will be inscribed with the signature of the person sealing the container and the date and time sealed.

The receiving laboratory will be notified in advance of chain-of-custody procedures that must be followed for a group of samples.  The laboratory will be instructed to note whether or not the container seal(s) are intact and sign in the appropriate blank on the SI-FCCR at the time of receipt.  They will also be instructed to keep a copy and return the original form to the [project manager].

5.3 Field Sampling Log

A daily field log of sampling activities will be kept by the leader of the field sampling crew.  This record or log will supplement information entered on the SIF.  At a minimum, the log will contain a record of the following items:

( list of field personnel present

( field conditions as described below  in Section 5.5, “Field Conditions”

( a summary of how samples were transferred/transported to laboratories

( description of exceptions to this protocol including specification of which samples may have been impacted by exception(s) (see below)

( For each well sampled:

( the unique SI-FCCR # used to identify samples

( well name and Minnesota unique well number

( date and time that sampling began and ended

( list of primary and QA/QC samples sent to each laboratory

( {if needed, include an alias cross-reference list for QA/QC samples}

5.4 Exceptions To Sampling Protocol

This protocol defines the procedures to be followed during this sampling event.  Exceptions to this protocol will be noted on the SIF and detailed in the Field Sampling Log (see above);  The section titled “Exceptions to Protocol” in the Sampling and Analysis Report will include the following details for each exception:

( the reason for the exception

( the identification of all samples and individual parameters that may have been impacted either in terms of the quantitative or legal integrity of their reported values

( the significance of the potential impacts to the integrity of each parameter for each sample

If there has been any potentially significant impact on sample integrity, then the potential impact for each parameter for each sample affected will be footnoted whenever the results are reported or referred to in the Sampling and Analysis Report.

5.5 Field Conditions

Field conditions during the sampling event will be recorded on the SIF (using the “comment” field on the reverse side, if necessary).  The Sampling and Analysis Report will include a statement regarding the likelihood that any unusual field conditions had a significant impact on the integrity of results.  Field conditions reported will include but not be limited to the following:

( air temperature

( wind speed and direction

( precipitation/moisture

( ambient odors

( airborne dust

6.0 SAMPLE PRESERVATION, HANDLING AND TRANSPORT

{For technical guidance, refer to page 96 of the MPCA Ground Water Sampling Guidance document:, Chapter Four, Section 4.6: “SAMPLE PRESERVATION, HANDLING AND TRANSPORT”}

This section describes procedures that will be followed between the time samples are collected and the time they are either shipped or delivered to an analytical laboratory.

6.1 Sample Preservation

Samples will be preserved as shown in Table A-1.  All Chemical preservatives, added to containers in the laboratory or field will be produced and controlled within the laboratory’s QA/QC program as reflected in the Lab-QAPjP.  Field supplies of preservatives and sample containers with pre-dosed preservatives will be discarded and replaced with fresh preservatives no later than 14 days after receipt from the laboratory.

All samples will be thermally preserved in the field immediately after sample collection by placing the samples in an insulated ice chest containing uncontaminated [ Blue Ice].  {Regular ice may be used if blue ice is unavailable.  If so, particular care will be taken to assure that paper work and sample labels are not damaged by water.  The regular ice will be placed inside uncontaminated leak-proof plastic containers and the chain of custody record will be placed inside a Zip Lock™  bag.}  The ice chest temperature will be checked [by measuring the temperature of the water within the temperature blank container] and recorded just before transporting samples and upon receipt at the laboratory, to verify whether or not samples are kept refrigerated at approximately 4 degrees C.

6.2 Sample Handling And Transport

All ice chests shipped will be accompanied by an SI-FCCR form and contain a complete address and return address both inside and out.  The samples will be kept at approximately 4 degrees C during transport to laboratories.  Before transporting samples, field personnel will perform the following tasks:

Verify that laboratory personnel will be present to receive samples when they arrive.

Verify that laboratory personnel understand chain of custody and sample storage/preservation requirements.

Check labeling and documentation to ensure sample identity will be clear to laboratory personnel.

Hand deliver or ship samples in a manner that ensures samples will remain cool (about 4 degrees Celsius) until received by laboratory personnel.

Maintain the chain-of-custody according to procedures described above.

Table A - 1: Sample Containers, Filling Method, Preservation and Holding Times

{note: this is only an example; the protocol developer is responsible for laboratory coordination on these items}

|  | BOTTLE2 |
| --- | --- |
|  | HOLDING |
| PARAMETER1 | VOLUME/TYPE | FILL METHOD3 | PRESERVATION4 | TIME |
| MAJOR & MINOR IONS | 1L P | No head space | Cool | 28 days |
| NITRATE | 250 ml P | Leave head space | H2SO4/pH<2 Lab, Cool | 28 days |
| CYANIDE | 500 ml P | Leave head space | NaOH/pH>12 Lab, Cool | 14 days |
| TRACE METALS (unfiltered) | 500 ml P | Leave head space | HNO3/pH<2 Lab, Cool | 6 months |
| (mercury) |
| 28 days |
| TRACE METALS (filtered) | 500 ml P | Filter [0.45 micron] | HNO3/pH<2 Lab, Cool | 6 months |
| Leave head space |
| (mercury) |
| 28 days |
| CHROMIUM VI (unfiltered) | 125 ml P | No head space | Cool | 24 hours |
| CHROMIUM VI (filtered) | 125 ml P | Filter [0.45 micron] | Cool | 24 hours |
| No head space |
| MISCELLANEOUS | 1 L P | No head space | Cool |
|  | (TDS and TSS) |
| 7 days |
| (specific conductance) |
| 28 days |
| (turbidity) |
| 48 hours |
| VOLATILE ORGANICS | 3 x 40 ml | Positive meniscus | HCl/pH<2 Field, Cool | 14 days to |
|  | P & T |
|  | analysis |
| purgeable halocarbons |
| purgeable aromatics |
| non-halogenated volatiles |
| NON-VOLATILE ORGANICS | 2 x 1L AG | No head space | Cool | 7 days/extraction |
| 40 days/analysis |
| base-neutral/acid |
| extractable organics |
| phthalate esters |
| phenols |
| polynucleararomatic |
| hydrocarbons |
| chlorinated herbicides |
| organochlorinated |
| pesticides & PCBs |
| organophosphorus |
| pesticides |
| acid herbicides |
| carbamate pesticides |
| DIOXINS AND | 1L AG | No head space | Cool | 7 days/extraction |
| DIBENZO FURANS |
| 40 days/analysis |

Table A - 1: Sample Containers, Filling Method, Preservation and Holding Times

(continued)

{note: this is only an example; the protocol developer is responsible for laboratory coordination on these items}

|  | BOTTLE2 |
| --- | --- |
|  | HOLDING |
| PARAMETER1 | VOLUME/TYPE | FILL METHOD3 | PRESERVATION4 | TIME |
| EQUILIBRIUM GEOCHEMISTRY | 2x 1 L P | Fill from bottom | Cool | 2 hours |
| pH |
| (do not filter for pH) |
| alkalinity |
| Filter [0.45 micron] |
| [dissolved oxygen5] |
| [Eh] |
| TOTAL COLIFORM BACTERIA | 125 ml P | Leave head space | Cool | 6 hours |
| TOTAL ORGANIC CARBON | 1 L G | Leave head space | H2SO4/pH<2 Lab, Cool | 48 hours |
| TOTAL PHOSPHORUS | 125 ml P | Leave head space | H2SO4/pH<2 Lab, Cool | 28 days |
| SULFIDE | 250 ml P | Leave head space | Zn(C2H3O2)2*2H2O | 7 days |
|  | & NaOH/pH>9 Lab, Cool |
|  | RADIUM, GROSS ALPHA, | 1 Gallon P | Leave head space | HNO3/pH<2 Lab | 6 months |
| GROSS BETA |

(1)  PARAMETER NAMES/GROUPS

Some of these parameter names {e.g., “trace metals”} actually represent a set of several or many individual analytes.  Specific analytes for each parameter/bottle type are listed in Appendix A1.  {Some laboratories may request separate containers (with preservatives) for anions and cations.}

(2) BOTTLE  TYPE

L: 	liters;

ml: 	milliliters;

P: 	polyethylene;

P & T:	40 ml purge and trap vial fitted with a Teflon( septum;

G: 	glass bottle fitted with Teflon(-lined cap

GG:	glass bottle fitted with glass stopper

AG:	amber glass bottle fitted with Teflon(-lined cap

(3) FILL METHOD

Positive meniscus:	fill container completely with zero head space resulting in a positive meniscus with no air bubbles in container, add acid and cap container quickly;

No head space:	fill container completely; container will not be rinsed; overfilling will be minimized.

Leave head space:	fill container about 90 to 95 % full - do not allow preservative (if present) to be diluted by overfilling container

Fill from bottom:	fill container completely from the bottom of container using tubing; allow several bottle-volumes of water to overflow before sealing bottle

Filter [0.45 micron]:	filter in-line with positive pressure through a filter with [0.45] micron pore size.

(4) PRESERVATION

Cool:	place container inside sealed Zip-Lock bag; place in cooler with sufficient ice to quickly bring temperature down to 4 degrees C and hold at approximately 4 degrees C until received by laboratory personnel

HNO3/pH<2:	add a predetermined amount of high-purity HNO3 to sample to bring the sample pH down to 2 or less;

HCL/pH<2:	add a predetermined amount of high-purity HCL to sample to bring the sample pH down to 2 or below;

NaOH/pH>12: 	add a predetermined amount of high-purity NaOH to sample to bring the sample pH up to 12 or above; (for Cyanide, use 50% NaOH solution and add ascorbic acid if oxidizing agents are present)

Zn(C2H3O2)2*2H2O:	predetermined amount added by laboratory staff to prevent oxidation of sulfide

Field:	preservative added in the field by field personnel

Lab:	preservative added to container in laboratory before going into the field

(5) DISSOLVED OXYGEN

For Winkler method, if holding time might exceed 2 hours, field staff will make arrangements with the laboratory to prepare a separate 1 L glass stoppered (GG) bottle by adding preservatives in the field immediately after sample collection.

Table A - 2: Order of Purging and Sampling of Wells

ANALYTE

PURGING/SAMPLING SEQUENCE #	WELL NAME	CRITERIA*	   SUITE**

{THIS TABLE MUST BE SAMPLING SITE/EVENT SPECIFIC}

{* For the “CRITERIA” column, specify sequence criteria with descriptive terms such as “background well”, “previously clean”, far from contamination source”, “moderately contaminated”, “very contaminated”, etc.}

{** For some sampling projects, the number or type of containers that need to be filled and analyzed may vary from one well to the next.  When that is the case, Table A-1 should be duplicated and modified to show two or more lists of containers (representing the analytical suites).  Each list should be assigned an identifying name or number such as “Table A-1, List a”, “Table A-1, List b”, etc.  Reference that identifier in the column above titled  “ANALYTE SUITE”. }

Table A - 3: Estimated Sample Collection Depths, Purging Rates and Sampling Rates for Individual Wells

SAMPLE COLLECTION	PURGING		SAMPLING

WELL NAME	DEPTH (FT. BELOW LS)	RATE		RATE

{THIS TABLE MUST BE SAMPLING SITE SPECIFIC}

Figure A - 1: Location of Sampling Points

{Create a map showing locations of all sampling points}

APPENDIX A1: SELECTED ANALYTICAL PARAMETERS, METHOD NUMBERS AND REPORTING LIMITS

{In order to create this appendix, edit (customize) Appendix B from the main body of the MPCA Ground Water Sampling Guidance Document or insert a table of parameters required by the applicable program.  Indicate what analytical method and reporting limit will apply for each parameter.  Appendix B was created in a computer spreadsheet and should be available on diskette along with the Appendix A text.  While editing an electronic copy of Appendix B, unwanted parameters can quickly be deleted.  Selected analytical methods can easily be "selected" by selecting appropriate cells and formatting them as "shaded".}  {It is the responsibility of the end user to check the list of analytical parameters, methods and practical quantitation limits to verify that they are appropriate for the particular site and sampling event of interest.}

APPENDIX A2: EQUIPMENT DESCRIPTIONS AND SPECIFICATIONS

{Provide descriptions, serial numbers, materials types (where relevant) and specifications for all field equipment potentially affecting sample integrity or involved in field measurements or calibration.}

APPENDIX A3: PURGING AND SAMPLING EQUIPMENT INSPECTION AND MAINTENANCE SCHEDULE

{All preventative maintenance procedures and schedules for purging- and sampling-related equipment or supplies should be defined in this Appendix.  Provide a scenario-specific schedule}

APPENDIX A4: EXAMPLE FORMS

Form GWS #1: Purging and Sampling Rate Test Form

Form GWS #2: Water-level Data Form

Form GWS #3: Well Purging/Field Water Quality Measurements Form

Form GWS #4: Ground Water Sampling Information Form

Form GWS #5: Sample Identification -  Field Chain of Custody Record

{Form identification numbers (GWS #1 - GWS #5) are located in the lower right hand corner of the forms.

At the time of this writing, the Ground Water Sampling Information Form (SIF) and the Sample Identification - Field Chain of Custody Record (SI-FCCR) have been designed in close coordination with the Minnesota Pollution Control Agency Integrated Ground Water Information System (IGWIS).  The IGWIS sample component data entry interface and acceptable data entry code choices were designed to correspond directly to these forms to facilitate the data entry process.  A number of the data entry fields on these forms are required IGWIS fields.  In addition, a substantial number of QC checks are built into the forms.  For these reasons, and others, protocol developers are strongly encouraged to use these forms in their protocol.

At the time of this writing, the IGWIS Station ID is constructed by placing a hyphen between a two-digit county code and the six-digit Minnesota unique well number.  Since the Minnesota unique well number now appears on many wells, it is advisable to record it while at the wellhead where it can be directly verified.  Place the six-digit Minnesota unique well number in the right-hand portion of the “Station ID” blank on forms 2-4 even if you don’t know the county code; you can add the extra two digits later.

The following recommendations are made for protocol developers that may have a desire to reduce the number of forms used or substitute other forms. For IGWIS data collection, following and documenting adherence to a sampling protocol and other purposes, Form GWS #4, the Ground Water Sampling Information Form (SIF) is the most important.  It is recommended that no substitutions be made for it.  Form GWS #5, the Sample Identification - Field Chain of Custody Record also has some important features built into it that may make its use essential for a number of regulatory programs.  For example, it is  designed to facilitate direct electronic transfer of data from laboratories into IGWIS without disclosing the identity of blank and duplicate samples to the laboratories.

Form GWS #5 is designed to be used as a two-part (sheets GWS #5A and GWS #5B) form to allow use of all features (see Chapter 4 of the Sampling Guidance document for details).  However, sheet “A” of Form GWS #5 can be used alone as a conventional chain of custody sheet.  It is anticipated that the MPCA may produce multi-part copies of form GWS #5 with pre-printed, “unique” record #s and “carbonless copy” transfer material between sheets A and B.}

**************************************************

Insert five double-sided field forms here

**************************************************

Please note: the following blank pages of Appendix A4 indicate where forms such as GWS#1-GWS#5 would normally be placed in a sampling protocol.  High resolution “originals” of forms GWS#1-GWS#5 have been placed in the pocket located inside the back cover of the Minnesota Pollution Control Agency Ground Water Sampling Guidance document.  The forms in the pocket  were designed for use as photocopy masters.  You may want to suppress the printing of these blank pages.  However, you may also want to be careful not to skip Appendix A5 which follows the blank pages.

APPENDIX A5: SUPPLEMENT TO FIELD WATER QUALITY MEASUREMENT PROCEDURES

{Procedural details for maintenance, calibration and operation of  water quality instruments should be defined in this appendix.  Include required procedures from Instrument manuals, etc.}