# Introduction

This example (sometimes referred to as a model ordinance) was originally developed as an educational aid for Minnesota Pollution Control Agency (MPCA) staff.  It is based on the best parts of existing Minnesota municipal ordinances, advice from agency staff, information available on the Internet and the assistance of various resource people in the greater community.  It represents what we consider the best of the best ideas in storm water management, and will allow communities developing storm water ordinances to avoid the problems that other growing communities have encountered. This example is a “work in progress.”  It will be periodically updated, as significant information becomes available.

As storm water management becomes a more widely understood aspect of environmental protection, interest in best practices has grown.  The MPCA staff realized that this model ordinance should be made available to the public.  It is our hope that it will serve to inform the public and shape storm water management practices in communities.

To all of those who have assisted us in this effort, we offer our sincere thanks.

For more information or your thoughts on this model ordinance, contact Gary Rott, Metro District Community and Area-Wide Section, (651) 296-9260 or toll-free/TDD (800) 657-3864.

EXAMPLE OF AN

URBAN STORM WATER POLLUTION CONTROL ORDINANCE

FOR NEW DEVELOPMENTS

Table of Contents:

Section 1.0  Purpose

Section 2.0  Scope

Section 3.0.  Definitions

Section 4.0  Storm Water Pollution Control Plan

4.1  General Policy on Storm Water Runoff Rates

4.2  The Storm Water Pollution Control Plan and the Grading Plan

4.3  Inspections of the Storm Water Pollution Control Plan Measures

4.4  Minimum Requirements of the Storm Water Pollution Control Plan

4.5  General Storm Water Pollution Control Plan Criteria

4.6  Minimum Storm Water Pollution Control Measures and Related Inspections

4.7  Permanent Storm Water Pollution Controls

4.8  Minimum Design Standards for Storm Water Wet Detention Facilities

4.9  Minimum Protection for Natural Wetlands

4.10  Vegetated Buffer Protection for Rivers and Streams

4.11  Additional Special Trout Stream and Outstanding Resource Value Water Requirements

4.12)  Models/Methodologies/Computations

Section 5.0.  Review

5.1  Permit Required

5.2  Denial

Section 6.0.  Modification of Plan

6.1  Records Retention

#### Section 7.0 Financial Securities

7.1  Maintaining the Financial Security

7.2  Proportional Reduction of the Financial Security

7.3  Action Against the Financial Security

7.4   Returning the Financial Security

#### Section 8.0  Notification of Failure of the Storm Water Pollution Control Plan

8.1  Notification by the City

8.2  Erosion Off-Site

8.3  Erosion into Streets, Wetlands or Water Bodies

8.4  Failure to Do Corrective Work

Section 9.0  Variance

9.1)  Variance Request

9.2)  Variance Response

Section 10.0.  Enforcement.

10.1)  Penalties

Section 11.0  Right of Entry and Inspection

11.1)  Powers

Section 12.0  Abrogation and Greater Restrictions

Section 13.0  Severability.

Section 14.0.  Effective Date

Created by Staff

EXAMPLE OF AN

URBAN STORM WATER POLLUTION CONTROL ORDINANCE

FOR NEW DEVELOPMENTS

The City Council ordains:

Section 1.0  Purpose. The purpose of this ordinance is to control or eliminate storm water pollution along with soil erosion and sedimentation within the city. It establishes standards and specifications for conservation practices and planning activities, which minimize storm water pollution, soil erosion and sedimentation.

Section 2.0  Scope. Except where a variance is granted, any person, firm, sole proprietorship, partnership, corporation, state agency, or political subdivision proposing a land disturbance activity within the city shall apply to the city for the approval of the storm water pollution control plan. No land shall be disturbed until the plan is approved by the city and conforms to the standards set forth herein.

Section 3.0.  Definitions. For the purposes of this ordinance, the following terms, phrases, words, and their derivatives must have the meaning stated below. When not inconsistent with the context, words used in the present tense include the future tense, words in the plural number include the singular number, and words in the singular number include the plural number. The words “shall” and “must” are always mandatory and not merely directive.

3.010  Applicant  Any person or entity that applies for a building permit, subdivision approval, or a permit to allow land disturbing activities.  Applicant also means that person's agents, employees, and others acting under this person's direction.

3.011  Best Management Practices (BMP’s)  Erosion and sediment control and water quality management practices that are the most effective and practicable means of controlling, preventing, and minimizing degradation of surface water, including construction-phasing, minimizing the length of time soil areas are exposed, prohibitions, and other management practices published by state or designated area-wide planning agencies. (Examples of BMP’s can be found in the current versions of the Minnesota Pollution Control Agency’s publications, “Protecting Water Quality in Urban Areas,” and, “Storm-Water and Wetlands: Planning and Evaluation Guidelines for Addressing Potential Impacts of Urban Storm-Water and Snow-Melt Runoff on Wetlands,” the United States Environmental Protection Agency’s, “Storm Water Management for Construction Activities: Developing Pollution Prevention Plans and Best Management Practices,” (as a reference for BMP’s) and the Minnesota Department of Transportation’s, “Erosion Control Design Manual.”)

3.012  Buffer  A protective vegetated zone located adjacent to a natural resource, such as a water of the state, that is subject to direct or indirect human alteration.  The width of a buffer strip is the width along each bank of a stream.  Therefore a 30 foot wide stream with 100 foot buffer strips has a total width of 230 feet.  Acceptable buffer vegetation includes preserving existing predevelopment vegetation and/or planting locally distributed native Minnesota trees, shrubs and grassy vegetation.  Alteration of such areas is strictly limited.  Buffer areas are designated with permanent signs. (Commentary: As a plant species selection guide of what species not to plant, the Minnesota Department of Natural Resources’ Minnesota Rules chapter 6216 contains a list of exotic prohibited, regulated, unlisted and unregulated plant species.)

3.013  Developer  A person, firm, corporation, sole proprietorship, partnership, state agency, or political subdivision thereof engaged in a land disturbance activity.

3.014  Discharge  The conveyance, channeling, runoff, or drainage, of storm water, including snowmelt, from a construction site.

3.015  Energy Dissipation  This refers to methods employed at pipe outlets to prevent erosion. Examples include, but are not limited to; aprons, riprap, splash pads, and gabions that are designed to prevent erosion.

3.016  Erosion   Any process that wears away the surface of the land by the action of water, wind, ice, or gravity. Erosion can be accelerated by the activities of people and nature.

3.017  Erosion Control  Refers to methods employed to prevent erosion. Examples include soil stabilization practices, horizontal slope grading, temporary or permanent cover, and construction phasing.

3.018  Erosion and Sediment Practice Specifications or Practice  The management procedures, techniques, and methods to control soil erosion and sedimentation as officially adopted by either the city, county or local watershed group, whichever is more stringent.

3.019  Exposed Soil Areas  All areas of the construction site where the vegetation (trees, shrubs, brush, etc.) has been removed. This includes topsoil stockpile areas, borrow areas and disposal areas within the construction site.  It does not include stockpiles or surcharge areas of sand, gravel, concrete or bituminous.

3.020  Filter Strips  A vegetated section of land designed to treat runoff as overland sheet flow. They may be designed in any natural vegetated form from a grassy meadow to a small forest. Their dense vegetated cover facilitates pollutant removal and infiltration.

3.021  Final Stabilization  Means that all soil disturbing activities at the site have been completed, and that a uniform perennial vegetative cover with a density of seventy-five (75) percent of the cover for unpaved areas and areas not covered by permanent structures has been established or equivalent permanent stabilization measures have been employed. (Examples of vegetative cover practices can be found in the current version of the Minnesota Department of Transportation’s publication, “Supplemental Specifications to the (Year) Standard Specifications for Construction.” (Simply sowing grass seed is not considered stabilization.)

3.022  Hydric Soils  Soils that are saturated, flooded, or ponded long enough during the growing season to develop anaerobic conditions in the upper part.

3.023  Hydrophytic Vegetation  Macrophytic (large enough to be observed by the naked eye) plant life growing in water, soil or on a substrate that is at least periodically deficient in oxygen as a result of excessive water content.

3.024  Impervious Surface  A constructed hard surface that either prevents or retards the entry of water into the soil, and causes water to run off the surface in greater quantities and at an increased rate of flow than existed prior to development. Examples include rooftops, sidewalks, patios, driveways, parking lots, storage areas, and concrete, asphalt, or gravel roads.

3.025  Land Disturbance Activity  Any land change that may result in soil erosion from water or wind and the movement of sediments into or upon waters or lands within this government’s jurisdiction, including clearing & grubbing, grading, excavating, transporting and filling of land. Within the context of this rule, land disturbance activity does not mean:

A.)  Minor land disturbance activities such as home gardens and an individual’s home

landscaping, repairs, and maintenance work.

B.)  Construction, installation, and maintenance of electric, telephone, and cable television,

utility lines or individual service connection to these utilities, which result in creating

under five thousand (5,000) square feet of exposed soil.

C.)  Tilling, planting, or harvesting of agricultural, horticultural, or silvicultural crops.

D.)  Installation of fence, sign, telephone, and electric poles and other kinds of posts or poles

which result in creating under five thousand (5,000) square feet of exposed soil.

E.)  Emergency work to protect life, limb, or property and emergency repairs, unless the

land disturbing activity would have otherwise required an approved erosion and sediment

control plan, except for the emergency.  If such a plan would have been required, then the

disturbed land area shall be shaped and stabilized in accordance with the city’s

requirements as soon as possible.

3.026  Ordinary High Water Mark  This is generally the boundary elevation where the vegetation changes from predominately aquatic (Where “aquatic” broadly means that the vegetation can survive moist conditions.) to terrestrial. This elevation delineates the highest water level, which has been maintained for a sufficient period of time to leave evidence upon the landscape, commonly that point where the natural vegetation changes from predominantly aquatic to predominantly terrestrial.  Water often reaches this elevation in spring.  For rivers and streams the ordinary high water mark is usually the top of the bank.  It is less well defined for lakes and wetlands.  The definition in Minnesota Statute 103G.005, subdivision 14 says that the ". . . “Ordinary high water level” means the boundary of waterbasins, watercourses, public waters, and public waters wetlands, and:

(1) the ordinary high water level is an elevation delineating the highest water level that has

been maintained for a sufficient period of time to leave evidence upon the landscape,

commonly the point where the natural vegetation changes from predominantly aquatic to

predominantly terrestrial;

(2) for watercourses, the ordinary high water level is the elevation of the top of the bank of the

channel; and

(3) for reservoirs and flowages, the ordinary high water level is the operating elevation of the

normal summer pool.

The term “ordinary high water mark” is further defined in Minnesota Rule 6120.2500, subpart 11.  Ordinary high water marks are determined by the Minnesota Department of Natural Resources’ area hydrologist.

3.027  Paved Surface  A constructed hard, smooth surface made of asphalt, concrete or other pavement material. Examples include, but are not limited to, roads, sidewalks, driveways and parking lots.

3.028  Permanent Cover  Means “final stabilization.” Examples include grass, gravel, asphalt, and concrete.

3.029  Runoff Coefficient  The average annual fraction of total precipitation that is not infiltrated into or otherwise retained by the soil, concrete, asphalt or other surface upon which it falls that will appear at the conveyance as runoff.

3.030  Sediment  The product of an erosion process; solid material both mineral and organic, that is in suspension, is being transported, or has been moved by water, air, or ice, and has come to rest on the earth's surface either above or below water level.

3.031  Sedimentation  Sedimentation means the process or action of depositing sediment  caused by erosion.

3.032  Sediment Control  The methods employed to prevent sediment from leaving the development site. Sediment control practices include silt fences, sediment traps, earth dikes, drainage swales, check dams, subsurface drains, pipe slope drains, storm drain inlet protection, and temporary or permanent sedimentation basins.

3.033  Soil  The unconsolidated mineral and organic material on the immediate surface

of the earth.  For the purposes of this document stockpiles of sand, gravel, aggregate, concrete or bituminous materials are not considered “soil” stockpiles.

3.034  Stabilized  The exposed ground surface after it has been covered by sod, erosion control blanket, riprap, or other material that prevents erosion from occurring. Simply sowing grass seed is not considered stabilization.

3.035  Storm Water  Under Minnesota Rule 7077.0105, subpart 41b storm water, “means precipitation runoff, storm water runoff, snow melt runoff, and any other surface runoff and drainage.” (According to the Federal Code of Regulations under 40 CFR 122.26 [b][13], “Storm water means storm water runoff, snow melt runoff and surface and drainage.”). Storm water does not include construction site dewatering.

3.036  Storm Water Pollution Control Plan  A joint storm water and erosion and sediment control plan that is a document containing the requirements of Section 4, that when implemented will decrease soil erosion on a parcel of land and off-site nonpoint pollution.

3.037  Structure  Anything manufactured, constructed or erected which is normally attached to or positioned on land, including portable structures, earthen structures, roads, parking lots, and paved storage areas.

3.038  Subdivision  Any tract of land divided into building lots for private, public, commercial, industrial, etc. development.  Minnesota Rule 6120.2500, subpart 17 defines subdivision as,

”. . . land that is divided for the purpose of sale, rent, or lease, including planned unit development.”

3.039  Temporary Protection  Short term methods employed to prevent erosion. Examples of such protection include; straw, mulch, erosion control blankets, wood chips, and erosion netting.

3.040  Urban  Of, relating to, characteristic of, constituting a city.

3.041  Vegetated or Grassed Swales  A vegetated earthen channel that conveys storm water, while treating the storm water by biofiltration. Such swales remove pollutants by both filtration and infiltration.

3.042  Waters of the State  As defined in Minnesota Statutes section 115.01, subdivision 22 the term “. . . "waters of the state" means all streams, lakes, ponds, marshes, watercourses, waterways, wells, springs, reservoirs, aquifers, irrigation systems, drainage systems and all other bodies or accumulations of water, surface or underground, natural or artificial, public or private, which are contained within, flow through, or border upon the state or any portion thereof.” (Commentary: According to Minnesota Rules 7050.0130, subpart A, Disposal systems or treatment works operated under either a Minnesota Pollution Control Agency permit or an agency certificate of compliance are not considered “waters of the state.”  Under Minnesota Rules 7050.0130, subpart F, constructed wetlands designed for wastewater treatment are not “waters of the state.”  Also see the definition of “wetlands.”)

3.043  Wet Detention Facility  A permanent man-made structure for the temporary storage of runoff that contains a permanent pool of water.

3.044  Wetlands  As defined in Minnesota Rules 7050.0130, subpart F, “. . . "wetlands" are those areas that are inundated or saturated by surface water or groundwater at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions.  Wetlands generally include swamps, marshes, bogs, and similar areas.  Constructed wetlands designed for wastewater treatment are not waters of the state.  Wetlands must have the following attributes:

A.)  A predominance of hydric soils;

B.)  Inundated or saturated by surface water or groundwater at a frequency and duration

sufficient to support a prevalence of hydrophytic vegetation typically adapted for life in a

saturated soil condition; and

C.)  Under normal circumstances support a prevalence of such vegetation.”  (Commentary:

Two quick references of what is an existing identified wetland are the National Wetlands

Inventory maps distributed by the U.S. Department of the Interior’s Fish and Wildlife

Service and the Minnesota Department of Natural Resources’ maps of protected waters and

wetlands.)

Section 4.0  Storm Water Pollution Control Plan.  Every applicant for a building permit, subdivision approval, or a permit to allow land disturbing activities must submit a storm water pollution control plan to the city engineer. No building permit, subdivision approval, or permit to allow land disturbing activities shall be issued until the city approves this plan. At a minimum these pollution abatement control practices must conform to those in the current version of the Minnesota Pollution Control Agency’s publication, “Protecting Water Quality in Urban Areas.”

4.1  General Policy on Storm Water Runoff Rates.  For rivers and strams storm water discharge rates must not increase over the predevelopment two (2) year, ten (10) year and one hundred (100) year peak storm discharge rates, based on the last ten (10) years of how that land was used.  Also accelerated channel erosion must not occur as a result of the proposed activity.  For wetlands volume control is generally more important.

4.2  The Storm Water Pollution Control Plan and the Grading Plan.  The storm water pollution control plan’s measures, the limit of disturbed surface and the location of buffer areas shall be marked on the approved grading plan, and identified with flags, stakes, signs etc. on the development site before work begins.

4.3  Inspections of the Storm Water Pollution Control Plan Measures.  At a minimum such inspections shall be done weekly and after every storm event that is large enough to result in run off from the site by either the city, developer or the developer’s designated representative

4.4  Minimum Requirements of the Storm Water Pollution Control Plan.

A. )  The name and address of the applicant and the location of the activity.

B.)  Project description: the nature and purpose of the land disturbing activity and the

amount of grading, utilities, and building construction involved.

C.)  Phasing of construction: time frames and schedules for the project’s various aspects.

D.)  A map of the existing site conditions: existing topography, property information, steep

slopes, existing drainage systems/patterns, type of soils, waterways, wetlands, vegetative

cover, one hundred (100) year flood plain boundaries, locations of existing and future

buffer strips and labeling the portions of the site that are within trout stream or Outstanding

Resource Value Water watersheds.

#### E.)  A site construction plan that includes the location of the proposed land disturbing

activities, stockpile locations, erosion and sediment control plan, construction schedule, and

the plan for the maintenance and inspections of the storm water pollution control measures.

F.)  Adjacent areas: neighboring streams, lakes, residential areas, roads, etc., which might

be affected by the land disturbing activity.

G.)  Designate the site’s areas that have the potential for serious erosion problems.

H.)  Erosion and sediment control measures: the methods that will be used to control erosion and sedimentation on the site, both during and after the construction process.

I.)  Permanent stabilization: how the site will be stabilized after construction is completed,

including specifications, time frames or schedules.

J.)  Calculations: any that were made for the design of such items as sediment basins, wet

detention basins, diversions, waterways, infiltration zones and other applicable practices.

4.5  General Storm Water Pollution Control Plan Criteria.  The plan shall address the following:

A.)  Stabilizing all exposed soils and soil stockpiles and the related time frame or schedule.

B.)  Establishing permanent vegetation and the related time frame or schedule.

C.)  Preventing sediment damage to adjacent properties and other designated areas such as

streams, wetlands, lakes and unique vegetation (e.g., oak groves, rare and endangered

species habitats.)

D.)  Scheduling for erosion and sediment control practices.

E.)  Where permanent and temporary sedimentation basins will be located.

F.)  Engineering the construction and stabilization of steep slopes.

G.)  Measures for controlling the quality and quantity of storm water leaving a site.

H.)  Stabilizing all waterways and outlets.

I.)  Protecting storm sewers from the entrance of sediment.

J.) What precautions will be taken to contain sediment when working in or crossing water

bodies.

K.)  Restabilizing utility construction areas as soon as possible.

L.)  Protecting paved roads from sediment and mud brought in from access routes.

M.)  Disposing of temporary erosion and sediment control measures.

N.)  How the temporary and permanent erosion and sediment control practices will be

maintained.

O.)  How collected sediment and floating debris will be disposed of.

4.6  Minimum Storm Water Pollution Control Measures and Related Inspections.  These minimum control measures are required where bare soil is exposed.  Due to the diversity of individual construction sites, each site will be individually evaluated.  Where additional control measures are needed, they will be specified at the discretion of the city engineer.  The city will determine what action is necessary to prevent excessive erosion from occurring on the site.

A.)  All grading plans and building site surveys must be reviewed by the city for

effectiveness of erosion control measures in the context of the site topography and drainage.

B.)  Sediment control measures must be properly installed by the builder before construction

activity begins. Such structures may be adjusted during dry weather to accommodate short

term activities, such as those that require the passage of very large vehicles. As soon as this

activity is finished or before rainfall, the erosion and sediment control structures must be

returned to the configuration specified by the city. A sediment control inspection must then

be scheduled, and passed before a footing inspection will be done.

C.)  Diversion of channeled runoff around disturbed areas, if practical, or the protection

of the channel.

D.)  Easements. If a storm water management plan involves directing some or all of the

site’s runoff, the applicant or his designated representative shall obtain from adjacent

property owners any necessary easements or other property interests concerning the flowing

of such water.

E.)  The scheduling of the site’s activities to lessen their impact on erosion and sediment

Creation, so as to minimize the amount of exposed soil.

F.)  Control runoff as follows (Either 1 and 2 or 1 and 3):

1.)  Unless precluded by moderate or heavy snow cover (Mulching can take place if a

light snow cover is present.), stabilize all exposed inactive disturbed soil areas within

one hundred (100) feet of any water of the state, or with in one hundred (100) feet any

conveyance (curb, gutter, storm sewer inlet, drainage ditch, etc.) to a water of the state

with sod, seed or weed free mulch.  This must be done, if the developer will not work

the area for seven (7) days on slopes greater than three (3) feet horizontal to one (1) foot

vertical (3:1), fourteen (14) days on slopes ranging from 3:1 to 10:1 and twenty-one (21)

days for flatter slopes.

2.)  For disturbed areas greater than five (5) acres construct temporary or permanent

sedimentation basins. Sedimentation basins must have a minimum surface area equal

to at least 1% of the area draining to basin, and be constructed in accordance with

accepted design specifications including access for operations and maintenance. Basin

discharge rates must also be controlled to prevent erosion in the discharge channel.

a.)  The applicant is required to obtain a National Pollutant Discharge Elimination

System/State Disposal System (NPDES/SDS) construction storm water permit from

the Minnesota Pollution Control Agency for any project that disturbs five (5) acres

or more of land.

3.)  For disturbed areas less than five (5) acres sedimentation basins are encouraged,

but not required, unless specifically required by the city engineer. The applicant shall

install erosion and sediment controls at locations directed by the city. Minimum

requirements include silt fences, rock check dams, or other equivalent control measures

along slopes. Silt fences are required along channel edges to reduce sediment reaching

channel. Silt fences, rock check dams, etc. must be regularly inspected and

maintained.

G.)  Sediment basins related to impervious surface area. Where a project's ultimate

development replaces surface vegetation with one (1) or more acres of cumulative

impervious surface, and all runoff has not been accounted for in a local unit of government's

existing storm water management plan or practice, the runoff must be discharged to a wet

sedimentation basin prior to entering waters of the state.

1.)  At a minimum the work must conform with the current version of the Minnesota

Pollution Control Agency’s publication, “Protecting Water Quality in Urban Areas,” and

the current requirements found in the same agency’s NPDES/SDS permits for storm water

associated with construction activities.

#### H.)  Generally, sufficient silt fence will be required to hold all sheet flow runoff generated at

an individual site, until it can either infiltrate or seep through silt fence’s pores.

I.)  Temporary stockpiling of fifty (50) or more cubic yards of excess soil on any lot or other

vacant area will not be allowed without issuance of a grading permit for the earth moving

activity in question.

J.)  For soil stockpiles greater than ten (10) cubic yards the toe of the pile must be more

than twenty-five (25) feet from a road, drainage channel or storm water inlet.  If such

stockpiles will be left for more than seven (7) days, they must be stabilized with mulch,

vegetation, tarps or other means. If left for less than seven (7) days, erosion from stockpiles

must be controlled with silt fences or rock check dams.

1.)  If for any reason a soil stockpile of any size is located closer than twenty-five (25)

feet from a road, drainage channel or storm water inlet, and will be left for more than

seven (7) days, it must be covered with tarps or controlled in some other manner

K.)   All sand, gravel or other mining operations taking place on the development site shall

have a National Pollutant Discharge Elimination System General Storm Water permit for

industrial activities and all required Minnesota Department of Natural Resources permits.

L.)  Temporary rock construction entrances may be required wherever vehicles enter and

exit a site.

M.)  Parking is prohibited on all bare lots and all temporary construction entrances, except

where street parking is not available. Gravel entrances are to be used for deliveries only as

per the development contract.

#### N.)  Streets must be cleaned and swept whenever tracking of sediments occurs and before

sites are left idle for weekends and holidays. Establishment of a regular sweeping schedule

is encouraged.

O.)  Water (impacted by the construction activity) removed from the site by pumping must

be treated by temporary sedimentation basins, geotextile filters, grit chambers, sand filters,

up-flow chambers, hydro-cyclones, swirl concentrators or other appropriate controls. Such

water shall not be discharged in a manner that causes erosion or flooding of the site,

receiving channels, adjacent property or a wetland.

P.)  All storm drain inlets must be protected during construction until control measures

are in place with either silt fence or an equivalent barrier that meets accepted design

criteria, standards and specifications as contained in the latest version of the Minnesota

Pollution Control Agency’s publication, ”Protecting Water Quality in Urban Areas.”

Q.)  Catch basins. All newly installed and rehabilitated catch basins must be provided

with a sump area for collecting coarse-grained material. Such basins must be cleaned when

they are half filled with material.

R.)  Roof drain leaders. All newly constructed and reconstructed buildings must route roof

drain leaders to pervious areas (not natural wetlands) where the runoff can infiltrate. The

discharge rate shall be controlled so that no erosion occurs in the pervious areas.

S.)  Follow-up inspections must be performed by the city on a regular basis to ensure that

erosion and sediment control measures are properly installed and maintained. In all cases

the inspectors will attempt to work with the developer and/or builder to maintain proper

erosion and sediment control at all sites.

1.)  In cases where cooperation is withheld, construction stop orders may be issued by the

city, until erosion and sediment control measures meet specifications.  A second erosion

and sediment control/grading inspection must then be scheduled and passed before the

final inspection will be done.

T.)  Removal of more than one (1) acre of topsoil shall not be done, unless written

permission is given by the city engineer.  Excessive removal of topsoil can cause

significant soil erosion problems.

U.)  Inspection and maintenance. All storm water pollution control management facilities

must be designed to minimize the need of maintenance, to provide easy vehicle and

personnel access for maintenance purposes and be structurally sound. These facilities must

have a plan of operation and maintenance that ensures continued effective removal of the

pollutants carried in storm water runoff. The city or its designated representative shall

inspect all storm water management facilities during construction, during the first year of

operation and at least once every five (5) years thereafter. The city will keep all inspection

records on file for a period of six (6) years. It shall be the responsibility of the applicant to

obtain any necessary easements or other property interests to allow access to the storm

water management facilities for inspection and maintenance purpose.

4.7  Permanent Storm Water Pollution Controls.

A.)  The applicant shall either install, construct, or pay the city fees for all storm water

management facilities necessary to manage increased runoff, so that the discharge rates

from storm water treatment basins so that the predevelopment (2) year, ten (10) year, and

one hundred (100) year peak storm discharge rates are not increased. These predevelopment

rates shall be based on the last ten (10) years of how that land was used. Accelerated

channel erosion must not occur as a result of the proposed land disturbing or development

activity. An applicant may also make an in-kind or a monetary contribution to the

development and maintenance of community storm water management facilities designed to

serve multiple land disturbing and development activities undertaken by one or more

persons, including the applicant.

B.)  All calculations and information used in determining these peak storm discharge rates

shall be submitted along with the storm water pollution control plan.

C.)  The applicant shall consider reducing the need for storm water management facilities by

incorporating the use of natural topography and land cover such as natural swales and

depressions as they exist before development to the degree that they can accommodate the

additional flow of treated (e.g., settled) water without compromising the integrity or quality

of the wetland or pond.  (Commentary: The sensitivity of a wetland to degradation varies

with the type of vegetation.  Sedge meadows, open bogs and swamps, coniferous bogs,

calcareous fens, low prairies, lowland hardwood swamps, and seasonally flooded basins

are highly sensitive to degradation. Flood plain forests, reed canary grass meadows,

shallow (reed canary grass, cattail, giant reed or purple loosestrife) marshes are only

slightly sensitive to  degradation.  See the current version of the Minnesota Pollution

Control Agency’s publication “Storm-Water and Wetlands: Planning and Evaluation

Guidelines for Addressing Potential Impacts of Urban Storm-Water and Snow-Melt Runoff

on Wetlands” for details.)

D.)  The following storm water management practices must be investigated in developing

the storm water management part of the storm water pollution control plan in the following

descending order of preference:

1.) Protect and preserve as much natural or vegetated area on the site as possible,

minimizing impervious surfaces, and directing runoff to vegetated areas rather than to

adjoining streets, storm sewers and ditches.

2.)  Flow attenuation of treated storm water by use of open vegetated swales and natural

depressions;

3.)  Storm water wet detention facilities (including percolation facilities); and

4.)  A combination of successive practices may be used to achieve the applicable

minimum control requirements specified in subsection (A) above.  The applicant shall

provide justification for the method selected.

4.8  Minimum Design Standards for Storm Water Wet Detention Facilities.  At a minimum these facilities must conform to the most current technology as reflected in the current version of the Minnesota Pollution Control Agency’s publication, “Protecting Water Quality in Urban Areas” and the current requirements found in the same agency’s NPDES permits for storm water associated with construction activities.

4.9  Minimum Protection for Natural Wetlands.

A.)  Runoff must not be discharged directly into wetlands without appropriate quality (e.i.,

treated) and quantity runoff control, depending on the individual wetland’s vegetation

sensitivity. See the current version of the Minnesota Pollution Control Agency’s

publication, “Storm-Water and Wetlands: Planning and Evaluation Guidelines for

Addressing Potential Impacts of Urban Storm-Water and Snow-Melt Runoff on Wetlands”

for guidance. (Commentary: The sensitivity of a wetland to degradation varies with

vegetation type.  Sedge meadows, open  bogs and  swamps, coniferous bogs, calcareous

fens, low prairies, lowland hardwood  swamps, and seasonally flooded basins are highly

sensitive to degradation, while flood plain forests, reed canary grass meadows, shallow

(reed canary grass, cattail, giant reed or purple loosestrife) marshes are only slightly

sensitive to degradation.)

B.)  Wetlands must not be drained or filled, wholly or partially, unless replaced by either

restoring or creating wetland areas of at least equal public value. Compensating for the

impact by replacing or providing substitute wetland resources or environments with those

of at least equal public value. Compensation, including the replacement ratio and quality of

replacement should be consistent with the requirements outlined in the rules adopted by the

Board of Water and Soil Resources to implement the Wetland Conservation Act of 1991

including any and all amendments to it.

C.)  Work in and around wetlands must be guided by the following principles in descending

order of priority:

1.)  Avoid both the direct and indirect impact of the activity that may destroy or diminish

the wetland.

2.)  Minimize the impact by limiting the degree or magnitude of the wetland related

activity and its implementation.

3.)  Rectify the impact by repairing, rehabilitating, or restoring the affected wetland

environment with one of at least equal public value.

4.)  Reduce or eliminate the adverse impact over time by preservation and maintenance

operations during the life of the activity.

4.10  Vegetated Buffer Protection for Rivers, Streams and Wetlands.

A.)  At the minimum a one hundred (100) foot wide protective buffer strip (forty (40) feet

for wetlands) of, if possible predevelopment vegetation shall be left along each bank,

providing a tree canopy in the buffer zone closest to the channel.  Buffer width shall be

increased at least two (2) feet (four (4) feet for wetlands) for every one (1) percent of slope

of the surrounding land.  (Commentary: When new buffer vegetation is planted, “native”

vegetation is preferred, since some non-native plant species can out compete native species

and create an undesirable  mono-culture of decreased environmental value.  Useful

references are the Minnesota Pollution Control Agency’s  publications “Buffer Zones” and

“Soil Bioengineering.”)

1.)  Detailed buffer design is usually site specific.  Therefore the city engineer can

require a larger buffer that the minimum.

2.)  For newly constructed buffer sites the design criteria should follow common

principles and the example of nearby natural areas.  The site should be examined for

existing buffer zones and mimic the slope structure and vegetation as much as possible.

Buffer design and protection during construction should do any or all of the following:

slow water runoff, trap sediment, enhance water infiltration, trap fertilizers, pesticides,

pathogens, heavy metals, trap blowing snow and soil, and act as corridors for wildlife.

How much stress is put on these functions will determine the buffer zone’s final

configuration.  (Commentary: Native Minnesota plant species have root systems and

growth characteristics that are well suited to buffer functions. root systems and growth

characteristics that are well suited to buffer functions.  Byway of  comparison, deep

rooted native grasses have a root system that is about ten times greater that soy beans or

corn.  Useful guides for starting the species selection includes the Minnesota Department

of Transportation’s seeding manual, and their “Plant Selection  Matrix” CD ROM.

Good plant species design stresses diversity and allows plant succession and zoning of

species from wet soil preference to drier upland species.)  Useful guides for starting

the plant selection include Minnesota Department of Transportation’s seeding manual

and their “Plant Selection Matrix” CD ROM.  Good plant species design stresses

diversity and allows plant succession and zoning of the species from wet soil species to

drier upland species.)

a.)  The Minnesota Department of Natural Resources requires permits when

vegetation is introduced downgrade of a water’s “ordinary high water mark.”  The

Minnesota Department of Natural Resources’ area hydrologist defines the ordinary

high water mark.  Planting permits are obtained from the Minnesota Department

of Natural Resources regional fisheries office.

3.)  The applicant and/or developer shall maintain the buffer strip for the first year.  After

that the city, or a party designated by the city, shall maintain the buffer strip.

(Commentary: Even after a buffer strip is established it will require periodic inspection

and possibly maintenance to ensure that it is functioning properly.  Otherwise siltation

and channeling may short-circuit the strip’s function.)

4.)  Drain tiles will short-circuit the benefits of vegetated buffer strips.  Therefore drain

tiles on the development site should be identified and rendered inoperable.

5.)  Buffer strips can be made into perpetual conservation easements.

6.)  Buffer strips shall be marked as such with permanent signs.

B.)  Water courses used solely for drainage, such as road side ditches, are exempt from this

provision.

4.11  Additional Special Trout Stream and Outstanding Resource Value Water Requirements.

A.)  For discharges directly to or to tributaries directly to Minnesota Department of

Natural Resources designated trout streams, and Minnesota Pollution Control Agency

designated Outstanding Resource Value Waters there shall be no increase in either the

volume or rate of discharge from any design storm with a statistical recurrence interval of

less than ten (10) years (i.e., for the two (2) year, five (5) year, etc. storm events), unless

diversion is not practical and/or the soil is not suitable for storm water infiltration

techniques. This pertains to discharges directly to or upstream of such waters.

(Commentary: The intent is to encourage either storm water infiltration or diversion, since

urban trout streams are a unique resource and therefore deserve special consideration.

Residential development increases the total volume of runoff resulting from a given storm.

Since there is a larger volume of water to deal with, limiting the rate of storm runoff to

predevelopment rates means that high flows (and therefore scouring velocities) will persist

for longer periods of time than during predevelopment conditions. This increases channel

erosion.  Infiltration or diversion deals with this increased scouting problem by lessening

the volume of runoff and therefore the duration of the scouring velocities.  In the case of

trout streams, increasing the inputs of warm storm water increases the impact of thermal

shocks.  Since trout are temperature sensitive, increasing thermal shocks adversely impacts

trout habitat. )

1.)  The phrase, “tributaries directly to,” refers to tributaries within at least one Minnesota

Department of Natural Resources Division of Waters minor watershed of the designated

water.  At its discretion the city may extend this area of protection.

2.)  The phrase, “soil not suitable for storm water infiltration techniques,” means soils with

permeability values less that Group C soils (less than 2.5 inches per hour) as defined by

the U.S. Department of Agriculture’s Natural Resources Conservation Service and a high

water table is not present.

B.)  During construction temporary sedimentation basins are required for disturbed areas

over one (1) acre.

C.)  Storm water treatment devices that remove oil and floatable material (e.g., basin outlets

with submerged entrances) must be part of BMP systems.

D.)  Where feasible lightly used vehicle traffic areas such as overflow parking lots should

use pervious surfaces where feasible.

# E.)  If the proposed project site includes a tributary that currently experiences erosion and/or

# sedimentation problems, the applicant shall work with the city to include channel

# modifications in the project that will also address the existing erosion and/or sedimentation

# problem.

#### H.)  Permanent buildings erected on sites that border directly on and all tributaries to a

Minnesota Department of Natural Resources designated trout stream and/or a Minnesota

Pollution Control Agency designated Outstanding Resource Value Water must not be

occupied until the permanent vegetative cover has been established.  Such cover must meet

this permit’s definition of “final stabilization.”

I.)  The applicant shall consider methods for reducing the amount of impervious surface

on the site. (Commentary: A useful publication is “Better Site Design: A Handbook for

### Changing Development Rules in Your Community” available from the Center for

Watershed Protection in Ellicott City, Maryland.)  Suggestions include:

1.)  Disking in compost or in some other manner increasing the porosity of the soil that

will be come covered by lawns.  (Commentary: The movement of heavy vehicles

associated with construction activities compacts the soil, and thus decreases its ability

to absorb water.  This is true even for some types of sandy soils.  The common grasses

chosen for lawns do not have a deep enough root system to overcome construction

vehicle related soil compaction problems.)

2.)  Reduced road widths.

3.)  Eliminating paving in the center of cul de sacs.

4.)  Reducing sidewalk widths.

5.)  Allowing and providing for shared parking.

6.)  Installing semipermeable/permeable or porous paving.

7.)  Vegetated swales instead of curb and gutter.

8.)  Filter strips

9.)  “Green” (vegetated) roofs.

4.12)  Models/Methodologies/Computations.  Hydrologic models and design methodologies used for the determining runoff characteristics and analyzing storm water management structures must be approved by the city engineer. Plans, specifications and computations for storm water management facilities submitted for review must be sealed and signed by a registered professional engineer. All computations must appear in the plans submitted for review, unless otherwise approved by the city engineer.

Section 5.0.  Review.  The city engineer shall review the storm water pollution control plan. This review must be completed within fourteen (14) days of receiving the plan from the developer.

5.1  Permit Required.  If the city determines that the storm water pollution control plan meets the requirements of this ordinance, the city shall issue a permit valid for a specified period of time, that authorizes the land disturbance activity contingent on the implementation and completion of this plan.

5.2  Denial.  If the city determines that the storm water pollution control plan does not meet the requirements of this ordinance, the city shall not issue a permit for the land disturbance activity.

A.) All land use and building permits for the site in question must be suspended until the

developer has an approved storm water pollution control plan.

Section 6.0.  Modification of Plan.  An approved storm water pollution control plan may be modified on submission of a written application for modification to the city, and after written approval by the city engineer. In reviewing such an application, the city engineer may require additional reports and data.

6.1  Records Retention.  The city shall retain the written records of such modifications for at least five (5) years.

Section 7.0 Financial Securities.  The applicant shall provide security for the performance of the work described and delineated on the approved grading plan involving the storm water pollution control plan and any storm water and pollution control plan related remedial work in an amount of $3,000 per gross acre or $1,000 for each single or twin family home, whichever is greater. This security must be available prior to commencing the project.  The form of the securities must be:

7.011  The first $500 (in U.S. currency) or fifteen percent (15%), whichever is greater, of this financial security must be by cash deposit to the city.

7.012  Deposit, either with the city, a responsible escrow agent, or trust company, at the option of the city, money, an irrevocable letter of credit, negotiable bonds of the kind approved for securing deposits of public money or other instruments of credit from one or more financial institutions, subject to regulation by the state and federal government wherein said financial institution pledges that the funds are on deposit and guaranteed for payment.  The type of security must be of a type acceptable by the city.

7.013  The city may request a greater financial security, if the city considers that the development site is especially prone to erosion or the resource to be protected is especially valuable.

7.1  Maintaining the Financial Security.  If at anytime during the course of the work this amount falls below 50% of the required deposit, the developer shall make another deposit in the amount necessary to restore the deposit to the required amount.

A.)  If the developer does not bring the financial security back up to the required amount

within seven (7) days after notification by the city that the amount has fallen below 50%

of the required amount the, city may:

1.)  Withhold the scheduling of inspections and/or the issuance of a Certificate of

Occupancy.

2.)  Revoke any permit issued by the city to the applicant for the site in question and any

other of the applicant’s sites within the city’s jurisdiction.

7.2  Proportional Reduction of the Financial Security.  When more than half of the

development’s maximum exposed soil area achieves final stabilization, the city can reduce the total required amount of the financial security by half, if recommended by the city engineer.

7.3  Action Against the Financial Security.  The city may act against the financial security if any of the conditions listed below exist. The city shall use funds from this security to finance any corrective or remedial work undertaken by the city or a contractor under contract to the city and to reimburse the city for all direct cost incurred in the process of remedial work including, but not limited to, staff time and attorney's fees.

A.)  The developer ceases land disturbing activities and/or filling and abandons the work

site prior to completion of the grading plan.

B.)  The developer fails to conform to any city approved grading plan and/or the storm water

pollution control plan as approved by the city.

C.)  The techniques utilized under the storm water pollution control plan fail within one

year of installation.

D.)  The developer fails to reimburse the city for corrective action taken under Section 8.

7.4   Returning the Financial Security.  Any unspent amount of the financial security deposited with the city for faithful performance of the storm water pollution control plan and any storm water and pollution control plan related remedial work must be released one full year after the completion of the installation of all such measures and the establishment of final stabilization.

Section 8.0  Notification of Failure of the Storm Water Pollution Control Plan  The city shall notify the developer, when the city is going to act on the financial securities part of this ordinance.

8.1  Notification by the City.  The initial contact will be to a party or parties listed on the application and/or the storm water pollution control plan. Forty-eight (48) hours after notification by the city or seventy-two (72) hours after the failure of erosion control measures, whichever is less the city, at its discretion, may begin corrective work.  Such notification should be in writing, but if it is verbal, a written notification should follow as quickly as practical.

8.2  Erosion Off-Site.  If erosion breaches the perimeter of the site, the applicant shall immediately develop a cleanup and restoration plan, obtain the right-of-entry from the adjoining property owner, and implement the cleanup and restoration plan within forty-eight (48) hours of obtaining the adjoining property owner's permission.  In no case, unless written approval is received from the city, shall more than seven (7) calendar days go by without corrective action being taken. If in the discretion of the city, the applicant does not repair the damage caused by the erosion, the city may do the remedial work required and charge the cost to the applicant.

8.3  Erosion into Streets, Wetlands or Water Bodies.  If eroded soils (including tracked soils from construction activities) enter or appear likely to enter streets, wetlands, or other water bodies, prevention strategies, cleanup and repair must be immediate. The applicant shall provide all traffic control and flagging required to protect the traveling public during the cleanup operations.

8.4  Failure to Do Corrective Work.  When an applicant fails to conform to any provision of this policy within the time stipulated, the city may take the following actions:

A.)  Withhold the scheduling of inspections and/or the issuance of a Certificate of

Occupancy.

B.)  Revoke any permit issued by the city to the applicant for the site in question or any

other of the applicant’s sites within the city’s jurisdiction.

C.)  Direct the correction of the deficiency by city forces or by a separate contract. The

issuance of a permit constitutes a right-of-entry for the city or its contractor to enter

upon the construction site for the purpose of correcting deficiencies in erosion control.

D.)  All costs incurred by the city in correcting storm water pollution control deficiencies

must be reimbursed by the applicant. If payment is not made within thirty (30) days after

costs are incurred by the city, payment will be made from the applicant’s financial

securities as described in Section 7.

E.)  If there is an insufficient financial amount, in the applicant’s financial securities as

described in Section 7, to cover the costs incurred by the city, then the city may assess

the remaining amount against the property. As a condition of the permit, the owner shall

waive notice of any assessment hearing to be conducted by the city, concur that the benefit

to the property exceeds the amount of the proposed assessment, and waive all rights by

virtue of Minnesota Statute 429.081 to challenge the amount or validity of assessment.

Section 9.0  Variance.  In any case where, upon application of the responsible person or persons, the city finds that by reason of exceptional circumstances, strict conformity with this ordinance would be unreasonable, impractical, or not feasible under the circumstances; the city in its discretion may grant a variance therefrom upon such conditions as it may prescribe for prevention, control, or abatement of pollution in harmony with the general purposes of this ordinance.

9.1)  Variance Request.  The variance request must be in writing.

9.2)  Variance Response.  The variance response must be in writing, and include the justification for either granting or denying the requested variance.

9.3)  Time Limit.  The variance shall become void one (1) year after being granted, unless used.

9.4)  Revocation.  If any of the variance’s conditions are violated, the city may revoke the variance.

Section 10.0.  Enforcement.  The city shall be responsible enforcing this ordinance.

10.1  Penalties.  Any person, firm, or corporation failing to comply with or violating any of these regulations, shall be deemed guilty of a misdemeanor and be subject to a fine or imprisonment or both. All land use and building permits must be suspended until the developer has corrected the violation. Each day that a separate violation exists shall constitute a separate offense.

Section 11.0  Right of Entry and Inspection.

11.1)  Powers.  The applicant shall allow the city and their authorized representatives, upon presentation of credentials to:

#### A.)  Enter upon the permitted site for the purpose of obtaining information, examination of

records, conducting investigations, surveys or investigations.

B.)  Bring such equipment upon the permitted development as is necessary to conduct such

surveys and investigations.

C.)  Examine and copy any books, papers, records, or memoranda pertaining to activities

or records required to be kept under the terms and conditions of this permitted site.

D.)  Inspect the storm water pollution control measures required by the city.

E.)  Sample and monitor any items or activities pertaining to permits issued by the city.

Section 12.0  Abrogation and Greater Restrictions.  It is not intended to repeal, abrogate, or impair any existing easements, covenants, or deed restrictions.  However, where this ordinance imposes greater restrictions, the provisions of this ordinance shall prevail.  All other ordinances inconsistent with this ordinance are hereby repealed to the extent of the inconsistency only.

Section 13.0  Severability.  The provisions of this ordinance are severable, and if any provisions of this ordinance, or application of any provision of this ordinance to any circumstance, is held invalid, the application of such provision to other circumstances, and the remainder of this ordinance must not be affected thereby.

Section 14.0.  Effective Date.  This ordinance will take effect and be in force after its passage and official publication.

Extra Information

Minnesota Statute § 429.081

429.081 Appeal to district court.

Within 30 days after the adoption of the assessment, any person aggrieved, who is not precluded by failure to object prior to or at the assessment hearing, or whose failure to so object is due to a reasonable cause, may appeal to the district court by serving a notice upon the mayor or clerk of the municipality.  The notice shall be filed with the court administrator of the district court within ten days after its service.  The municipal clerk shall furnish appellant a certified copy of objections filed in the assessment proceedings, the assessment roll or part complained of, and all papers necessary to present the appeal.  The appeal shall be placed upon the calendar of the next general term commencing more than five days after the date of serving the notice and shall be tried as other appeals in such cases.  The court shall either affirm the assessment or set it aside and order a reassessment as provided in section 429.071, subdivision 2.  If appellant does not prevail upon the appeal, the costs incurred shall be taxed by the court and judgment entered therefor.  All objections to the assessment shall be deemed waived unless presented on such appeal.  This section provides the exclusive method of appeal from a special assessment levied pursuant to this chapter.

HIST: 1953 c 398 s 8; 1961 c 525 s 9; 1978 c 749 s 2; 1980 c 607 art 11 s 3; 1Sp1986 c 3 art 1 s 82

Copyright 1998 by the Office of Revisor of Statutes, State of Minnesota.

Minnesota Department of Natural Resources Area Hydrologist Offices

Bemidji (Region 1)

Bemidji Area Counties:  Beltrami and Lake of the Woods

Detroit Lakes Area Counties:  Becker, Clay, Mahnomen and Norman

Douglas-Pope Area Counties (Office in Fergus Falls):  Douglas and Pope

Fergus Falls Area Counties:  Grant, Otter Tail, Stevens, Traverse and Wilkin

Hubbard Area Counties (Office in Bemidji):  Cass (Western part), Clearwater, and Hubbard

Thief River Falls Area Counties:  Kittson, Marshall, Pennington, Polk, Red Lake and Roseau

Grand Rapids (Region 2)

Eveleth Area County:  Saint Louis (Except the southern part)

Grand Rapids Area Counties:  Cass (Eastern part), Itasca and Koochiching

Two Harbors Area Counties:  Carlton, Cook, Lake and Saint Louis (Cities of Duluth,

Hermantown, Proctor and Midway Township)

Brainerd (Region 3)

Brainerd Area Counties:  Cass (Eastern part) and Crow Wing

Cambridge Area Counties:  Chisago, Isanti and Pine

Little Falls Area Counties:  Morrison, Todd, Wadena

Mille Lacs Area Counties (Office in Brainerd):  Aikin, Kanabec and Mille Lacs

Sauk Rapids Area Counties:  Stearns and Benton

Sherburne-Wright Area Counties (Office in Saint Cloud):  Sherburne, Wright

Minnesota Department of Natural Resources Area Hydrologist Offices (Continued)

New Ulm (Region 4)

Hutchinson Area Counties:  Brown, McLeod, Meeker, Nicollet and Sibley

Mankato Area Counties:  Blue Earth, Faribault, Le Sueur, Martin and Waseca

Marshall Area Counties:  Lac qui Parle, Lincoln, Lyon, Pipestone, Redwood and Yellow

Medicine

Spicer Area Counties:  Big Stone, Chippewa, Kandiyohi, Renville and Swift

Windom Area Counties:  Cottonwood, Jackson, Murray, Nobles, Rock and Watonwan

Rochester (Region 5)

Rochester Area Counties:  Dodge, Fillmore, Freeborn, Mower, Olmsted, Rice and Steele

Lake City Area Counties:  Goodhue, Houston, Wabasha, Winona

Saint Paul (Region 6)

Counties;  Anoka, Carver, Dakota, Hennepin, Ramsey, Scott and Washington.

Minnesota Department of Natural Resources Regional Fisheries Offices

##### Bemidji Regional Fisheries Office (Region 1)

Counties:  Becker, Beltrami, Cass (Northwestern part), Clay, Clearwater, Douglas, Grant, Hubbard, Kittson, Lake of the Woods, Mahnomen, Marshall, Norman, Otter Tail, Pennington, Polk, Pope, Red Lake, Roseau, Stevens, Wadena (Northern half), and Wilkin

###### Grand Rapids Regional Fisheries Office (Region 2)

Counties:  Carlton, Cass (Northeastern part), Cook, Itasca, Koochiching, Lake, Saint Louis,

###### Brainerd Regional Fisheries Office (Region 3)

Counties:  Aitkin, Benton, Cass (Southern part), Chisago, Crow Wing, Isanti, Kanabec, Mille Lacs, Morrison, Pine, Sherburne, Todd, Stearns, Wadena (Southern half) and Wright

###### New Ulm Regional Fisheries Office (Region 4)

Counties: Big Stone, Blue Earth, Brown, Chippewa, Cottonwood, Faribault, Jackson, Kandiyohi, Lac qui Parle, Le Sueur, Lincoln, Lyon, Martin, McLeod, Meeker, Murray, Nicollet, Nobles, Pipestone, Redwood, Renville, Rice, Rock, Sibley, Swift, Traverse, Watonwan, Waseca and Yellow Medicine,

###### Rochester Regional Fisheries Office (Region 5)

Counties: Dodge, Fillmore, Freeborn, Goodhue, Houston, Mower, Olmsted, Steele, Wabasha and Winona

###### Saint Paul Regional Fisheries Office (Region 6)

Counties: Anoka, Carver, Dakota, Hennepin, Ramsey, Scott and Washington