INSTRUCTION SHEET FOR SANITARY SEWER EXTENSION

AND/OR CHANGES PERMIT APPLICATION

(Please refer to the NOV 98 Version of the SSE Application)

WARNING:  NO SEWER CONSTRUCTION FOR THE REFERENCED EXTENSION MAY BE UNDERTAKEN UNTIL YOU ARE IN RECEIPT OF THE REQUIRED PERMIT(S) ISSUED BY THIS AGENCY AND AS DEFINED BY LAW UNDER MINNESOTA STATE STATUTE 115.07, SUBDIVISION 3.

PLEASE NOTE:  When submitting projects located in the seven county metropolitan area, a copy of the completed Minnesota Pollution Control Agency (MPCA) application and a location map must be submitted to the Metropolitan Council Environmental Services (MCES) for review.  MCES phone contacts are Don Bluhm at (651) 602-1116, and Kyle Colvin at (651) 602-1151.

PERMITTEE:  The entity responsible for the Sanitary Sewer Extension system.

Sewage Treatment Plant:  The Wastewater Treatment Facility or Sanitary Sewer District that will treat the additional flow and BOD for the project.

Title of Plans and Specs:  The project title as listed on the Plans and Specs.  On projects submitted for the Metro area, it should be the same title as submitted to MCES for approval.

Developer/Owner:  The owner of the properties included in the permit.

Technical Agent or Consulting Engineer:  The engineer or consulting firm overseeing the project.

Design of Gravity Sanitary Sewer:  Include total length of pipe and diameter of pipe or pipes.

Design of Pump Stations:  If applicable include associated information.

Specifications of Current Wastewater Treatment Facility (WWTF)

1) Average wet weather design flow (AWW)             ____________MGD
	AWW from the original facility design.

2) Annual average daily flow (past 12 months)          ____________MGD

3) Average Design Flow (if AWW not available)       ____________MGD

Estimated Flow Increase: In millions of gallons per day (MGD).

Initial phase: What will the increase in flow be for the initial phase?

Ultimate:  What will the increase in flow be for the ultimate project?

The initial phase flow should represent the design average wet weather flow from the completed project as proposed in this application.  The ultimate flow should represent the design average wet weather flow from the proposed development and any areas that will ultimately be served by the proposed sewer extension.  Average wet weather flow is the daily average flow for the wettest thirty (30) consecutive days.

Basis for estimate:  What did you base the calculations on?  Include numbers used in calculations.  (Calculations should be based on Recommended Standards for Wastewater Facilities for the Great Lakes States, also known as Ten States Standards).

Estimated BOD5 Increase:  In pounds per day (#/day)

Initial phase: What will the increase in BOD be for the initial phase?

Ultimate:  What will the increase in BOD be for the ultimate project?  Include numbers used in calculations.  (Calculations should be based Ten State Standards)

Nature of Area to be Served by the Proposed Sewer Extension:

Residential:  Number of New Homes to be served by the project (both initial and ultimate) and number of existing homes.

Commercial/Industrial (Describe): Describe commercial and/or industrial properties to be served by the project (both initial and ultimate).

Other:  Any other entities served by the project or ultimately.

Will the proposed sewer project be designed and constructed as described in Standard Utilities Specifications prepared by the City Engineers Association of Minnesota?  Yes or No.  If yes, it is not necessary to include specification with application package.

Has this project been reviewed in a previous EAW?  Yes or No.  If yes, note the name of the project reviewed in the EAW and date, the responsible governmental unit, and the date of negative declaration?

Determination of the need for an Environmental Assessment Worksheet (EAW):  Is the ultimate design average daily flow for the proposed project greater than 1,000,000 gallons per day?  Yes or No. If yes, the preparation of an EAW is mandatory for this project.

CERTIFICATION AND SIGNATURE:  Space is allowed for three signatures.  A responsible party for the Engineering or Consulting Firm in charge of the project must sign if applicable (See A).  A Principal Executive officer or ranking executive official for the city must sign unless it is a private permit (See C).  If it is a privately owned Wastewater Treatment Facility (WWTF) the CEO must sign (See A).  If a city is applying which is part of a Sanitary Sewer District, both parties must sign (See C).  If the WWTF is operated by a contractor (Government Owned Contractor Operated, GOCO), both entities must sign (See D).

REMEMBER:  The fee for a Sanitary Sewer Extension Permit is listed on the second page of the Transmittal Form.  Please submit your check with the application and make the check payable to:  MN Pollution Control Agency.

Submit ONE set of plans and specifications with the application package.

Questions?  Call Don Perwien, MPCA Engineer, at (651) 296-7762.